## 2BD SD DUPLEX
MAIN BUILDING
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
Generally
Information
The work in this section comprises of concrete work, reinforcement, sawn formwork and blockwork. The contractor is however refered to the Architectural Drawings for details and scope of the works to be executed in this section
Plant
Allow for bringing to site all necessary plant required for executing this section of work and for their subsequent removal from site when no longer required
Allow for maintianing on site all plant required for this section of work
Site Preparartion
A | Excavate oversite to remove vegetable soil average 150mm deep. | 145 | m2 | 100 | 14500
Excavation and Earthwork
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 54 | m3 | 750 | 40500
C | Ditto Pit for column bases | 48 | m3 | 1200 | 57600
D | Excavate and backfill for working space starting from reduced level and not exceeding 2.00m deep. | 73 | m3 | 750 | 54750
E | Deposit excavated materials in temporary spoil heaps average distance 30.00m from excavavtion | 102 | m3 | 450 | 45900
Disposal of Water
F | Allow for keeping the surface of the site and the excavavtion free from surface water |  | item
Disposal of Excavated Materials
G | Remove Surplus excavated materials from site | 29 | m3 | 450 | 13050
| Carried to Collection |  |  |  | 226300
SUBSTRUCTURE CONT'D
Filling
A | Return, fill and consolidate selected excavated material around foundation. | 73 | m3 | 300 | 21900
B | Approved laterite earth filling to make up level well rammed and consolidated in layers | 36 | m3 | 2500 | 90000
C | 250mm thick approved rock hardcore filling well rammed and consolidated. | 36 | m2 | 4500 | 162000
Surface Treatment
D | Level and Compact buttom of excavation | 95 | m2 | 80 | 7600
E | Dieldrex 20" anti-termites to surfaces of excavation | 321 | m2 | 120 | 38520
E10: In situ concrete
Plain in-situ concrete 1:4:8-20mm aggregate in:
F | 50mm blinding under bases and Bed | 2 | m3 | 25000 | 50000
Plain in-situ concrete 1:3:6-20mm aggregate in:
G | 225mm thick in foundation trenches | 15 | m3 | 28000 | 420000
H | 150mm thick in ground floor slab and steps | 21 | m3 | 30000 | 630000
Reinforced insitu concrete mix (1:2;4-20mm agg) mix to develop a minimum work cube strength of 21N/mm2 at 28 days filled into formwork and well packed arround reinforcement ( both measured separetely )
J | 250-500mm thick column base | 13 | m3 | 30000 | 390000
K | Square and rectangular section olumns | 1 | m3 | 30000 | 30000
High yield deformed bars to BS 4449 inncluding all bends, hooks, tying wire distance block and ordinary spacer
L | 12mm diameter bar in column bases | 0.585 | kg | 285000 | 166725
M | 10-16mm diameter bar in column | 0.192 | kg | 285000 | 54720
| Carried to Collection |  |  |  | 2061465
SUBSTRUCTURE CONT'D
E20: Formwork for in situ concrete
Sawn formwork to:
A | Edges of bed, 150mm high | 44 | m | 285 | 12540
B | Vertical side of columns | 17 | m2 | 1900 | 32300
C | Sides of column bases | 40 | m | 1900 | 76000
| Faces of step, 150mm high | 4 | m | 285 | 1140
Blockwork
D | 225mm hollow sandcrete blockwork in cement mortar (1:3) including filling hollow solid with weak concrete as work progresses | 58 | m2 | 4500 | 261000
Damp proof membrane
E | 0.26mm Visquenn polythene damp proof membrane lapped 150mm at all welted joints, laid on hardcore | 135 | m2 | 200 | 27000
F | ADD-For Additional work in Foundation |  |  |  | 300000
| Carried to collection |  |  | N | 709980
COLLECTION
| page /1 |  |  | 226300
| page /2 |  |  | 2061465
| page /3 |  |  | 709980
SUBSTRUCTURE
| Carried to Summary |  |  | N | 2997745
Element Nr. 2
FRAME
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
D | Beam 0.03 - 0.10m2 sectional area | 15 | m3 | 30000 | 450000
E | Square and rectangular section columns | 5 | m3 | 30000 | 150000
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
F | 10 - 16mm diameter in columns in straight and bent bars | 2.14 | ton | 285000 | 609900
G | 10 - 12mm diameter in beams. | 1.46 | ton | 285000 | 416100
Formwork
Sawn formwork to:
H | sides and soffits of beams | 131 | m2 | 1900 | 248900
J | Vertical sides of columns | 94 | m2 | 1900 | 178600
FRAME
| carried to Summary |  |  | N | 2053500
Element Nr. 3
SUSPENDED FLOOR
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
D | 150mm thick floor slab | 20 | m3 | 30000 | 600000
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
E | 12mm diameter in Floor slab in straight and bent bars | 1.68 | ton | 285000 | 478800
Formwork
Sawn formwork to:
F | soffit of suspended floor slab | 136 | m2 | 1900 | 258400
G | Edge of suspended floor slab. | 61 | m | 285 | 17385
SUSPENDED FLOORS
| Carried to Summary |  |  | N | 1354585
Element Nr. 4
STAIRCASES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
D | Staircases | 3 | m3 | 30000 | 90000
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
E | 16mm diameter in Floor slab in straight and bent bars | 0.02 | ton | 285000 | 5700
F | 12mm ditto | 0.29 | ton | 285000 | 82650
G | 10mm ditto | 0.01 | ton | 285000 | 2850
| TO COLLECTION |  |  | N | 181200
STAIRCASES CONT'D
Formwork
Sawn formwork to:
A | Sloping soffit of staircases | 11 | m2 | 1900 | 20900
B | Sides of String. | 4 | m2 | 1900 | 7600
C | Soffits of landing | 3 | m2 | 1900 | 5700
D | Sides of risers. | 25 | m | 285 | 7125
E | Sides of Landing | 4 | m | 285 | 1140
F | Good quality wrought iron staircase and balcony railing | 24 | m | 10500 | 252000
VETRIFIED TILES
600 x 300 x 10mm unglazed vetrified ceramic floor tiles to B.S. 1281 in approved pattern fixed with tile adhensive, butt jointed and pointed in matching grout
G | Landings | 3 | m2 | 4000 | 12000
H | Tread 100mm-300mm wide | 26 | m | 1200 | 31200
J | Riser 150mm high | 25 | m | 600 | 15000
K | 100mm high skirting | 46 | m | 800 | 36800
Cement and sand (1:6)
L | 42mm thick screeded bed to receive tiles landing | 3 | m | 1200 | 3600
M | 42mm thick screeded bed to receive tiles tread | 25 | m | 1200 | 30000
N | 15mm backing for riser | 25 | m | 900 | 22500
PAINTING AND DECORATION
Prepare and apply full coats of emulsion paints on rendered walls:
P | Sloping soffit of staircases | 11 | m2 | 850 | 9350
Q | Soffit of landing | 3 | m2 | 850 | 2550
R | Sides and soffit of bream | 6 | m2 | 850 | 5100
S | Sloping string of staircases | 1 | m2 | 850 | 850
| TO COLLECTION BELOW |  |  | N | 463415
COLLECTION
| Page No. 6 |  |  |  | 181200
| Page No. 7 |  |  |  | 463415
| Carried to Collection |  |  | N | 644615
Element Nr. 5
ROOF
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Roof covering
Colorek longspan corrugated aluminium roofing sheets from aproved manufacturers in approved colour with deep trough '5' corrugations with one corrugation side laps (measured net and no allowance made for laps), fixed in accordance with the manufacturer's instructions.
D | 0.55mm sloping roof covering | 166 | m3 | 3335 | 553610
E | 0.70mm thick ridges; 600mm girth. | 67 | m3 | 2000 | 134000
F | Ditto gutter. | 38 | m3 | 2000 | 76000
G | Ditto eave angles; 300mm girth. | 54 | m3 | 600 | 32400
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
H | Roof beam | 15 | m3 | 30000 | 450000
J | 100mm thick roof slab and upstand | 1 | m3 | 30000 | 30000
| TO COLLECTION |  |  | N | 1276010
Roof Cont'd
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
A | 10-16mm diameter in roof beam in straight and bent bars | 1.34 | ton | 285000 | 381900
B | 12mm ditto in roof slab and upstand | 0.12 | ton | 285000 | 34200
C | Insitu cast concrete fascia cut to approved profile including formwork and reinforcemrent, 600mm high. | 54 | ton | 12500 | 675000
Formwork
Sawn formwork to:
D | Sides and soffit of roof beam. | 131 | m2 | 1900 | 248900
E | Soffits of roof slab | 11 | m2 | 1900 | 20900
F | Edges of suspended roof slab | 12 | m | 285 | 3420
Sawn hardwood timber treated with solignum or other equal and approved
G | 50 x 50mm noggings at 600mm centres | 578 | m | 250 | 144500
H | 50 x 75mm purlins at 900mm centres | 645 | m | 300 | 193500
J | 50 x 100mm tie beam. | 188 | m | 385 | 72380
K | 50 x 150mm rafters at 1500mm centres | 429 | m | 385 | 165165
L | 50 x 150mm struts | 756 | m | 385 | 291060
Protection
M | Protect all works in this section untill completion |  | Item
| TO COLLECTION |  |  | N | 2230925
COLLECTION
| Page No. 8 |  |  |  | 1276010
| Page No. 9 |  |  |  | 2230925
ROOF
| Carried to Collection |  |  | N | 3506935
Element Nr. 6
WALLS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
D | 230mm wall | 216 | m2 | 3500 | 756000
E | 150mm wall | 270 | m2 | 3000 | 810000
E10: In situ concrete
Vibrated Concrete mix ratio 1:2:4
F | Lintels | 3 | m3 | 30000 | 90000
G | Precast concrete window sill size 300x50mm thick, chamfered on one side and fixed on blockwall with cement and sand morter (see architect's detail) | 147 | m | 1500 | 220500
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
H | 16mm diameter bars | 0.18 | ton | 285000 | 51300
E20: Formwork for in situ concrete
Sawn formwork to:
J | Sides and soffits of lintels | 41 | m2 | 1900 | 77900
Protection
K | Protect all works in this section untill completion |  | item
EXTERNAL WALLS
| Carried to Summary |  |  | N | 2005700
Element Nr. 7
WINDOWS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Aluminium Glazed Works.
Supply and fix the following powder coated aluminium window glazed with 5mm thick tinted glass with insect screen complete with sub-frames ironmongery and all necessary accessories, including cutting and pinning lugs to concrete and blockwork surround with pointing one side in mastic.
C | Sliding window with upper fixed lighting to suit opening size 1200x1200mm high overall. | 26 | Nr | 43200 | 1123200
D | Ditto, but size 600mmx600mm | 4 | Nr | 10080 | 40320
E | Ditto, in three compartment, one part 900x4300 and other two parts each 900x1200. | 1 | Nr | 168000 | 168000
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 1331520
Element Nr. 8
DOORS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
STEEL DOOR
Double swing HPI or other equal and approved security steel door with multiple entry locking system to suit opening:
D | Swing door size 1200x2100 high overall | 2 | Nr | 65000 | 130000
E | Single swing double leaf door with louvre grill to suit opening opening size 900 x 2100mm | 12 | Nr | 55000 | 660000
STEEL DOOR
F | Flush polished timber door complete with sub-frames, linnigs, architraves and all necessary ironmongery to suit opening size 750 x 2100mm high overall | 6 | Nr | 50000 | 300000
INTERNAL DOORS
| Carried to Summary |  |  | N | 1090000
Element Nr. 9
JOINERY
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Wardrobes
D | in-built veneered wardrobe size 1800 x 3000 x600mm deep complete with hanger, drawers and top locker | 2 | Nr | 75000 | 150000
E | Ditto, but size 2325 x 3000 x 600mm do | 2 | Nr | 75000 | 150000
F | Store shelf size 1950 x 2400 | 2 | Nr | 12500 | 25000
kitchen cabinet
G | in-built veneered kitchen cabinet floor unit with treated plywood top 600 x 900 mm high | 13 | m | 18750 | 243750
H | Ditto, but wall unit size 600 x 600mm deep | 13 | m | 16500 | 214500
| Protect all works in this section untill completion |  | item
| Element Nr. 9 Joinery Work carried to collection |  |  |  | 783250
Element Nr. 10
WALL FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 722 | m2 | 850 | 613700
E | Ditto not exceeding 300mm girth including dressing around that arises. | 318 | m | 255 | 81090
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
F | 304x 152 x 6mm coloured glazed cushioned edge tilling ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement. (tiles to be obtained from IBERO or equal and approved) | 198 | m2 | 4000 | 792000
G | Ditto not exceeding 300mm girth | 100 | m | 540 | 54000
H | Ditto 150mm high borders | 59 | m | 270 | 15930
J | Plastic edge trim to ceramic wall tiles | 59 | m | 255 | 15045
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
K | 12mm screeded backings | 213 | m2 | 850 | 181050
L | Ditto, n.e 300mm wide | 59 | m | 255 | 15045
| Carried to Collection |  |  | N | 1767860
WALL FINISHES CONT'D
M60: Painting/Clear finishing
A | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting (m/s) | 524 | m2 | 2100 | 1100400
B | Prepare and apply two finishing coats of emulsion paint on rendered wal | 524 | m2 | 900 | 471600
C | Ditto not exceeding 300mm girth | 100 | m | 300 | 30000
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 213 | m2 | 900 | 191700
E | Ditto, n.e 300mm wide | 199 | m | 300 | 59700
M60: Painting/Clear finishing
Prepare and apply two finishing coats of textcote paint on
F | Walls | 213 | m2 | 900 | 191700
G | Ditto, n.e 300mm wide | 199 | m | 300 | 59700
Protection
H | Protect all works in this section untill completion |  | item
| Carried to collection |  |  | N | 2104800
COLLECTION
| page /19 |  |  | 1767860
| page /20 |  |  | 2104800
| Element NR 10,WALL FINISHESCarried to summary |  |  | N | 3872660
Element Nr. 11
FLOOR FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic
D | 600 x 600 x 10mm glazed vitrified floor tiles fixed to screeded bed (m/s) | 208 | m2 | 4000 | 832000
E | ditto skirting 100mm high | 108 | m | 400 | 43200
F | 355 x 330 x 8mm Non-slip ceramic floor tiles fixed to screeded bed (m/s) | 48 | m2 | 4000 | 192000
Protection
G | Protect all works in this section untill completion |  | item
| Element NR 11,FLOOR FINISHESCarried to summary |  |  | N | 1067200
Element Nr. 12
CEILING FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M20: Plastered/Rendered/Roughcast/ Coatings
D | 15mm thick rendering finished fair and smooth on: Soffit of suspended floor slab | 110 | m2 | 850 | 93500
PVC Ceilling Linings
E | 100 x 4mm PVC Ceiling fittings on hardwoonoggins (m/s) including all accessories | 124 | m2 | 1900 | 235600
M60: Painting/Clear finishing
F | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting | 110 | m2 | 2500 | 275000
Protection
G | Protect all works in this section untill completion |  | item
| Element NR 12,CEILING FINISHESCarried to summary |  |  | N | 604100
Element Nr. 13
PLUMBING AND ENGINEERING INSTALLATIONS
RAINWATER, SANITARY AND COLD WATER INSTALLATIONS
Water supply and Waste water installation
A | Allow a provisional sum for sanitary, hot, cold, soil waste water and fire hydrant pipework installatios with connection tp mains, executed complete |  | sum |  | 500000
Sanitary Appliances
Supply, assemble and fix the following sanitary appliances and accessories, including all joints to cold water supply and discharge pipes.
B | Complete set of Ideal Standard Sanitary wares comprising ofacrylic bath tub, shower tray, wash hand basin and water closet, and chrome accessories | 6 | nr | 75000 | 450000
C | Stainless steel sink with single bowl and double drainer complete with all necessary fittings | 2 | nr | 18500 | 37000
D | Ariston water heater 15 Ltr | 4 | nr | 27000 | 108000
E | Wall Mirror cabinet complete with shaver outlets and all necessary accessories | 5 | nr | 12000 | 60000
| Element NR 13,PLUMBING INSTALLATION Carried to summary |  |  | N | 1155000
ELEMENT NR 14
E;ECTRICAL INSTALLATIONS
Provide and install the following equipments, fittings and accessories as indicated in the drawings and related specification. Wiring devise and accessories shal include all conduits, conduit filling wiring, termination earth, etc from panel board, the respective devises
Main Installation
A | Connection to public mains by NEPA including provision and installation of 3-phase electricity meter | 1 | nr | 150000 | 150000
Equipment
Supply and install the followings
B | 63A ELCB | 2 | nr | 18500 | 37000
C | 100A 8 ways TPN&E MCB Distribution Baord | 2 | nr | 27500 | 55000
Incoming Services
D | 35mmx 4 core pvc/swa/pvc copper conductor partly drawn in exposed pvc pipe sleeve attached to feeder pillar and partly buried underground, sleeves and excavation | 85 | m | 1500 | 127500
E | 16mm single core pvc insulated copper pvc insulated aluminium conductor in conduit passed through blockwork/concrete (Measured net) | 85 | m | 5000 | 425000
Final Subcircuit
The following finalsubcircuit executed in Upvc concealed conduit and pvc insulated copper conductor system
F | 15A lighting point | 42 | nr | 2500 | 105000
G | 15A switch point | 28 | nr | 2500 | 70000
H | 13A switch socket point | 20 | nr | 2500 | 50000
| Carried to Collection |  |  | N | 1019500
ELECTRICAL INSTALLATIONS continued ...
A | 15A Air condition switch points and outlets | 4 | nr | 2500 | 10000
B | 20A Water Heater switch points and outlets | 4 | nr | 2500 | 10000
C | Televison, Data and Telephone Points | 6 | nr | 2500 | 15000
D | Cooker control unit (30A) | 2 | nr | 3500 | 7000
Supply and Install the followings EEC Standard fittings and accessories to Engineers approval (provisional)
E | 1 x 60w wall bracket light fittings | 20 | nr | 3500 | 70000
F | 1 x 60w LED Ceiling mounted fitting | 12 | nr | 3000 | 36000
G | 1 x 60w wardrobe light fitting | 4 | nr | 1500 | 6000
H | 1 x 60w ingelec light fitting | 6 | nr | 2500 | 15000
J | 1 x 60w mirror light fitting with shaver outlet | 4 | nr | 1500 | 6000
K | New Clime Ceilling Fan complete with regulator | 12 | nr | 5000 | 60000
L | 1 x 36 x 1200mm flourescent fittings with prismatic diffuser | 2 | nr | 7500 | 15000
M | 2x 40w dining rise/fall lighting | 2 | nr | 7500 | 15000
N | 3 x60w lounge pendant light fitting complete with dimmer | 6 | nr | 2500 | 15000
P | 1x 70w security bulk head light fittings | 8 | nr | 5000 | 40000
Q | 1x25w expelair extractor fan | 2 | nr | 7500 | 15000
R | 5A 1-gang 1-way switch | 10 | nr | 1500 | 15000
S | 5A 1-gang 2-way switch | 8 | nr | 1500 | 12000
T | 5A 1-gang 3-way switch | 2 | nr | 1500 | 3000
U | 5A 2-gang 2-way switch | 8 | nr | 1500 | 12000
| Carried to Collection |  |  | N | 377000
ELECTRICAL INSTALLATIONS continued ...
A | 13A Single switch socket | 10 | nr | 2500 | 25000
B | 13A double switch socket | 8 | nr | 3500 | 28000
C | 15A SP (A/C) switch socket outlet. | 4 | nr | 5000 | 20000
D | 20A Water heater switch outlets | 4 | nr | 7500 | 30000
E | 30A Cooker control unit | 2 | nr | 7500 | 15000
F | Telephone Outlet | 6 | nr | 1500 | 9000
G | Television Outlet | 6 | nr | 1500 | 9000
Builders Work
Cut away and make good all builders work disturbed after electrician complete execution of the followings
H | Lighting and Switch Point | 78 | nr | 500 | 39000
J | Socket outlets points and the likes | 22 | nr | 500 | 11000
K | Equipment and control gears and the likes | 4 | nr | 500 | 2000
| Carried to Collection |  |  | N | 188000
COLLECTION
| page /20 |  |  | 1019500
| page /21 |  |  | 377000
| page /22 |  |  | 188000
| Element NR 14,ELECTRICAL INSTALLATION Carried to summary |  |  | N | 1584500
SUMMARY
| PRELIMNARIES |  |  | 615000
| SUBSTRUCTURE |  |  | 2997745
| FRAME |  |  | 2053500
| SUSPENDED SLAB |  |  | 1354585
| STAIRCASES |  |  | 644615
| ROOF |  |  | 3506935
| WALL |  |  | 2005700
| WINDOWS |  |  | 1331520
| DOOR |  |  | 1090000
| JOINERY |  |  | 783250
| WALL FINISHES |  |  | 3872660
| FLOOR FINISHES |  |  | 1067200
| CEILING FINISHES |  |  | 604100
| PLUMBING INSTALLATIONS |  |  | 1155000
| ELECTRICAL INSTALLATIONS |  |  | 1584500
| EXTERNAL WORKS |  |  | 2000000
2BEDROOM SEMI DETACHED DUPLEX
| Carried to General Summary |  | N | 26666310

## 3BD BUNGALOW
MAIN BUILDING
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
Generally
Information
The work in this section comprises of concrete work, reinforcement, sawn formwork and blockwork. The contractor is however refered to the Architectural Drawings for details and scope of the works to be executed in this section
Plant
Allow for bringing to site all necessary plant required for executing this section of work and for their subsequent removal from site when no longer required
Allow for maintianing on site all plant required for this section of work
Site Preparartion
A | Excavate oversite to remove vegetable soil average 150mm deep. | 158 | m2 | 100 | 15800
Excavation and Earthwork
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 62 | m3 | 750 | 46500
C | Ditto Pit for column bases | 0 | m3 | 1200 | 0
D | Excavate and backfill for working space starting from reduced level and not exceeding 2.00m deep. | 0 | m3 | 750 | 0
E | Deposit excavated materials in temporary spoil heaps average distance 30.00m from excavavtion | 0 | m3 | 450 | 0
Disposal of Water
F | Allow for keeping the surface of the site and the excavavtion free from surface water |  | item
Disposal of Excavated Materials
G | Remove Surplus excavated materials from site | 31 | m3 | 450 | 13950
| Carried to Collection |  |  |  | 76250
SUBSTRUCTURE CONT'D
Filling
A | Return, fill and consolidate selected excavated material around foundation. | 31 | m3 | 300 | 9300
B | Approved laterite earth filling to make up level well rammed and consolidated in layers | 88 | m3 | 2500 | 220000
C | 250mm thick approved rock hardcore filling well rammed and consolidated. | 38 | m2 | 4500 | 171000
Surface Treatment
D | Level and Compact buttom of excavation | 72 | m2 | 80 | 5760
E | Dieldrex 20" anti-termites to surfaces of excavation | 250 | m2 | 120 | 30000
E10: In situ concrete
Plain in-situ concrete 1:4:8-20mm aggregate in:
F | 50mm blinding under bases and Bed | 0 | m3 | 25000 | 0
Plain in-situ concrete 1:3:6-20mm aggregate in:
G | 225mm thick in foundation trenches | 17 | m3 | 28000 | 476000
H | 150mm thick in ground floor slab and steps | 23 | m3 | 30000 | 690000
Reinforced insitu concrete mix (1:2;4-20mm agg) mix to develop a minimum work cube strength of 21N/mm2 at 28 days filled into formwork and well packed arround reinforcement ( both measured separetely )
J | 250-500mm thick column base | 0 | m3 | 30000 | 0
K | Square and rectangular section olumns | 0 | m3 | 30000 | 0
High yield deformed bars to BS 4449 inncluding all bends, hooks, tying wire distance block and ordinary spacer
L | 12mm diameter bar in column bases | 0 | kg | 285000 | 0
M | 10-16mm diameter bar in column | 0 | kg | 285000 | 0
| Carried to Collection |  |  |  | 1602060
SUBSTRUCTURE CONT'D
E20: Formwork for in situ concrete
Sawn formwork to:
A | Edges of bed, 150mm high | 82 | m | 285 | 23370
B | Vertical side of columns | 0 | m2 | 1900 | 0
C | Sides of column bases | 0 | m | 1900 | 0
D | Faces of step, 150mm high | 259 | m | 285 | 73815
Blockwork
E | 225mm hollow sandcrete blockwork in cement mortar (1:3) including filling hollow solid with weak concrete as work progresses | 153 | m2 | 4500 | 688500
Damp proof membrane
F | 0.26mm Visquenn polythene damp proof membrane lapped 150mm at all welted joints, laid on hardcore | 156 | m2 | 200 | 31200
G | ADD-For Additional work in Foundation |  |  |  | 200000
| Carried to collection |  |  | N | 1016885
COLLECTION
| page /1 |  |  | 76250
| page /2 |  |  | 1602060
| page /3 |  |  | 1016885
SUBSTRUCTURE
| Carried to Summary |  |  | N | 2695195
Element Nr. 2
ROOF
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Roof covering
Colorek longspan corrugated aluminium roofing sheets from aproved manufacturers in approved colour with deep trough '5' corrugations with one corrugation side laps (measured net and no allowance made for laps), fixed in accordance with the manufacturer's instructions.
D | 0.55mm sloping roof covering | 202 | m3 | 3335 | 673670
E | 0.70mm thick ridges; 600mm girth. | 68 | m3 | 2000 | 136000
F | Ditto gutter. | 21 | m3 | 2000 | 42000
G | Ditto eave angles; 300mm girth. | 55 | m3 | 600 | 33000
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
H | Roof beam | 3 | m3 | 30000 | 90000
J | Precast/insitu concrete fascia cut to approved shape and pattern including formwork and reinforcement | 63 | m | 12500 | 787500
| TO COLLECTION |  |  | N | 1762170
Roof Cont'd
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
A | 10-16mm diameter in roof beam in straight and bent bars | 0.36 | ton | 285000 | 102600
B | 12mm ditto in roof slab and upstand | 0 | ton | 285000 | 0
C | Insitu cast concrete fascia cut to approved profile including formwork and reinforcemrent, 600mm high. | 0 | m | 12500 | 0
Formwork
Sawn formwork to:
D | Sides and soffit of roof beam. | 25 | m2 | 1900 | 47500
E | Soffits of roof slab | 0 | m2 | 1900 | 0
F | Edges of suspended roof slab | 0 | m | 285 | 0
Sawn hardwood timber treated with solignum or other equal and approved
G | 50 x 50mm noggings at 600mm centres | 452 | m | 250 | 113000
H | 50 x 75mm purlins at 900mm centres | 1081 | m | 300 | 324300
J | 50 x 100mm tie beam. | 151 | m | 385 | 58135
K | 50 x 150mm rafters at 1500mm centres | 1134 | m | 385 | 436590
L | 50 x 150mm struts | 2808 | m | 385 | 1081080
Protection
M | Protect all works in this section untill completion |  | Item
| TO COLLECTION |  |  | N | 2163205
COLLECTION
| Page No. 8 |  |  |  | 1762170
| Page No. 9 |  |  |  | 2163205
ROOF
| Carried to Collection |  |  | N | 3925375
Element Nr. 3
WALLS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
D | 230mm wall | 236 | m2 | 3500 | 826000
E | 150mm wall | 4 | m2 | 3000 | 12000
E10: In situ concrete
Vibrated Concrete mix ratio 1:2:4
F | Lintels | 2 | m3 | 30000 | 60000
G | Precast concrete window sill size 300x50mm thick, chamfered on one side and fixed on blockwall with cement and sand morter (see architect's detail) | 0 | m | 1500 | 0
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
H | 16mm diameter bars | 0.25 | ton | 285000 | 71250
E20: Formwork for in situ concrete
Sawn formwork to:
J | Sides and soffits of lintels | 29 | m2 | 1900 | 55100
Protection
K | Protect all works in this section untill completion |  | item
EXTERNAL WALLS
| Carried to Summary |  |  | N | 1024350
Element Nr. 4
WINDOWS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Aluminium Glazed Works.
Supply and fix the following powder coated aluminium window glazed with 5mm thick tinted glass with insect screen complete with sub-frames ironmongery and all necessary accessories, including cutting and pinning lugs to concrete and blockwork surround with pointing one side in mastic.
C | Sliding window with upper fixed lighting to suit opening size 1500x1200mm high overall. | 2 | Nr | 50400 | 100800
D | Ditto, but size 1200mmx1200mm | 8 | Nr | 40320 | 322560
E | Ditto, but size 1200mmx1200mm | 5 | Nr | 10080 | 50400
Burglary proof
J | Fabricate and install burglary proof consisting of 50 x 25mm frame with 16mm diameter H.T steel bars welded horizontally at 150mm centres and braced at the middle with 50 x 2mm thick flat bar to suit various opening sizes. | 17 | m2 | 10500 | 178500
Protection
K | Protect all works in this section untill completion |  | item
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 652260
Element Nr. 5
DOORS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
STEEL DOOR
Double swing HPI or other equal and approved security steel door with multiple entry locking system to suit opening:
D | Swing door size 1200x2100 high overall | 1 | Nr | 65000 | 65000
E | Single swing door size 900 x 2100mm high | 1 | Nr | 55000 | 55000
Wooden Door
Approved polished timber flush doors complete with sub-frames, linnings, architraves and all necessary ironmongery to suit opening:
D | Size 900x2100 high overall | 4 | Nr | 60000 | 240000
D | Size 750x2100 high overall | 5 | Nr | 50000 | 250000
Protection
K | Protect all works in this section untill completion |  | item
INTERNAL DOORS
| Carried to Summary |  |  | N | 610000
Element Nr. 6
JOINERY
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Wardrobes
D | in-built veneered wardrobe size 3000 x 2850 x600mm deep complete with hanger, drawers and top locker | 1 | Nr | 75000 | 75000
E | Ditto, but size 1325 x 2850 x 600mm do | 1 | Nr | 33125 | 33125
F | Store shelf size 2700 x 2850 x 600 | 1 | Nr | 67500 | 67500
kitchen cabinet
G | in-built veneered kitchen cabinet 3650m long floor unit with granite top 600 x 600 mm high | 1 | m | 91250 | 91250
H | Ditto, but wall unit size 600 x 600mm deep | 6 | m | 90000 | 540000
Protection
| Protect all works in this section untill completion |  | item
| Element Nr. 9 Joinery Work carried to collection |  |  |  | 806875
Element Nr. 7
WALL FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 826 | m2 | 850 | 702100
E | Ditto not exceeding 300mm girth including dressing around that arises. | 135 | m | 255 | 34425
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
F | 304x 152 x 6mm coloured glazed cushioned edge tilling ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement. (tiles to be obtained from IBERO or equal and approved) | 114 | m2 | 4000 | 456000
G | Ditto not exceeding 300mm girth | 29 | m | 540 | 15660
H | Ditto 150mm high borders | 40 | m | 270 | 10800
J | Plastic edge trim to ceramic wall tiles | 40 | m | 255 | 10200
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
K | 12mm screeded backings | 114 | m2 | 850 | 96900
L | Ditto, n.e 300mm wide | 29 | m | 255 | 7395
| Carried to Collection |  |  | N | 1333480
WALL FINISHES CONT'D
M60: Painting/Clear finishing
A | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting (m/s) | 743 | m2 | 2100 | 1560300
B | Prepare and apply two finishing coats of emulsion paint on rendered wal | 743 | m2 | 900 | 668700
C | Ditto not exceeding 300mm girth | 135 | m | 300 | 40500
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 128 | m2 | 900 | 115200
E | Ditto, n.e 300mm wide | 80 | m | 300 | 24000
M60: Painting/Clear finishing
Prepare and apply two finishing coats of textcote paint on
F | Walls | 51 | m2 | 900 | 45900
G | Ditto, n.e 300mm wide | 80 | m | 300 | 24000
H | 300 x 150 x 60mm thick cracked tiles fixed with white cement on screeded backing (m/s). | 77 | m2 | 4000 | 308000
J | Precast cement and sand decorative morter moulding fixed along the perimeter of building. | 54 | m2 | 1500 | 81000
Protection
K | Protect all works in this section untill completion |  | item
| Carried to collection |  |  | N | 2867600
COLLECTION
| page /19 |  |  | 1333480
| page /20 |  |  | 2867600
| Element NR 10,WALL FINISHESCarried to summary |  |  | N | 4201080
Element Nr. 8
FLOOR FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic
D | 600 x 600 x 10mm glazed vitrified floor tiles fixed to screeded bed (m/s) | 104 | m2 | 4000 | 416000
E | ditto skirting 100mm high | 88 | m | 600 | 52800
F | 355 x 330 x 8mm Non-slip ceramic floor tiles fixed to screeded bed (m/s) | 24 | m2 | 4000 | 96000
External floor Tiles
Vetrified Floor tiles
G | 600 x 600 x 8mm thick unglazed vetrified floor tiles fixed to screeded bed on steps externally. (m/s). | 5 | m2 | 4000 | 20000
H | ditto, but 150mm faces of steps . | 19 | m | 600 | 11400
Beds
J | 40mm cement and sand screeded bed to receive vetrified floor tiles. | 149 | m | 1200 | 178800
Protection
K | Protect all works in this section untill completion |  | item
| Element NR 11,FLOOR FINISHESCarried to summary |  |  | N | 775000
Element Nr. 9
CEILING FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M20: Plastered/Rendered/Roughcast/ Coatings
D | Plaster of paris suspended decorative ceiling finish | 51 | m2 | 5000 | 255000
E | Ditto, cornices | 53 | m | 2100 | 111300
PVC Ceilling Linings
E | 100 x 4mm PVC Ceiling fittings on hardwoonoggins (m/s) including all accessories | 77 | m2 | 1900 | 146300
M60: Painting/Clear finishing
F | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting | 51 | m2 | 2500 | 127500
G | Prepare and apply three coat of emulsion paint on rendered screeding ceiling soffit. | 51 | m2 | 2500 | 127500
Protection
H | Protect all works in this section untill completion |  | item
| Element NR 12,CEILING FINISHESCarried to summary |  |  | N | 767600
Element Nr. 10
PLUMBING AND ENGINEERING INSTALLATIONS
RAINWATER, SANITARY AND COLD WATER INSTALLATIONS
Water supply and Waste water installation
A | Allow a provisional sum for sanitary, hot, cold, soil waste water and fire hydrant pipework installatios with connection tp mains, executed complete |  | sum |  | 500000
Sanitary Appliances
Supply, assemble and fix the following sanitary appliances and accessories, including all joints to cold water supply and discharge pipes.
B | Complete set of Ideal Standard Sanitary wares comprising ofacrylic bath tub, shower tray, wash hand basin and water closet, and chrome accessories | 4 | nr | 75000 | 300000
C | Stainless steel sink with single bowl and double drainer complete with all necessary fittings | 1 | nr | 25000 | 25000
D | Ariston water heater 15 Ltr | 3 | nr | 27000 | 81000
E | Wall Mirror cabinet complete with shaver outlets and all necessary accessories | 4 | nr | 12000 | 48000
| Element NR 13,PLUMBING INSTALLATION Carried to summary |  |  | N | 954000
ELEMENT NR 11
E;ECTRICAL INSTALLATIONS
Provide and install the following equipments, fittings and accessories as indicated in the drawings and related specification. Wiring devise and accessories shal include all conduits, conduit filling wiring, termination earth, etc from panel board, the respective devises
Main Installation
A | Connection to public mains by NEPA including provision and installation of 3-phase electricity meter | 1 | nr | 150000 | 150000
Equipment
Supply and install the followings
B | 63A ELCB | 1 | nr | 18500 | 18500
C | 100A 1 ways TPN&E MCB Distribution Baord | 1 | nr | 27500 | 27500
Final Subcircuit
The following finalsubcircuit executed in Upvc concealed conduit and pvc insulated copper conductor system
D | 15A lighting point | 22 | nr | 2500 | 55000
E | 15A switch point | 13 | nr | 2500 | 32500
F | 13A switch socket point | 6 | nr | 2500 | 15000
G | 15A Air condition switch point and outlets. | 4 | nr | 2500 | 10000
H | 20A water heater control switch points and outlets. | 4 | nr | 3500 | 14000
J | Television, data and telephone points. | 4 | nr | 2500 | 10000
K | 30A cooker control unit | 1 | nr | 3500 | 3500
| Carried to Collection |  |  | N | 336000
ELECTRICAL INSTALLATIONS continued ...
Supply and Install the followings EEC Standard fittings and accessories to Engineers approval (provisional)
A | 1 x 60w wall bracket light fittings | 11 | nr | 3500 | 38500
B | 1 x 60w LED Ceiling mounted fitting | 1 | nr | 3000 | 3000
C | 1 x 60w wardrobe light fitting | 2 | nr | 1500 | 3000
D | 1 x 60w ingelec light fitting | 5 | nr | 1500 | 7500
E | 1 x 60w mirror light fitting with shaver outlet | 2 | nr | 2500 | 5000
F | New Clime Ceilling Fan complete with regulator | 5 | nr | 7500 | 37500
G | 1 x 36w x 600mm flourescent fittings with prismatic diffuser | 1 | nr | 5000 | 5000
H | 1 x 18w x 600mm flourescent fittings with prismatic diffuser | 3 | nr | 5000 | 15000
J | 2x 40w dining rise/fall lighting | 1 | nr | 7500 | 7500
K | 3 x60w lounge pendant light fitting complete with dimmer | 4 | nr | 3500 | 14000
L | 1x 70w security bulk head light fittings | 9 | nr | 3500 | 31500
M | 1x25w expelair extractor fan | 2 | nr | 7500 | 15000
N | 5A 1-gang 1-way switch | 7 | nr | 1500 | 10500
P | 5A 1-gang 2-way switch | 3 | nr | 1500 | 4500
Q | 13Amp single switch socket | 6 | nr | 1500 | 9000
R | 13Amp double switch socket | 1 | nr | 2500 | 2500
S | 15Amp Air condition outlet | 2 | nr | 3000 | 6000
T | 20A Water heater switch. | 3 | nr | 4500 | 13500
| Carried to Collection |  |  | N | 228500
ELECTRICAL INSTALLATIONS continued ...
A | 30A Cooker control unit | 1 | nr | 5500 | 5500
B | Telephone Outlet | 4 | nr | 1500 | 6000
C | Television Outlet | 6 | nr | 1500 | 9000
Builders Work
Cut away and make good all builders work disturbed after electrician complete execution of the followings
D | Lighting and Switch Point | 22 | nr | 500 | 11000
E | Socket outlets points and the likes | 13 | nr | 500 | 6500
F | Equipment and control gears and the likes | 3 | nr | 500 | 1500
| Carried to Collection |  |  | N | 39500
COLLECTION
| page /20 |  |  | 336000
| page /21 |  |  | 228500
| page /22 |  |  | 39500
| Element NR 14,ELECTRICAL INSTALLATION Carried to summary |  |  | N | 604000
SUMMARY
| PRELIMNARIES |  |  | 435000
| SUBSTRUCTURE |  |  | 2695195
| ROOF |  |  | 3925375
| WALL |  |  | 1024350
| WINDOWS |  |  | 652260
| DOOR |  |  | 610000
| JOINERY |  |  | 806875
| WALL FINISHES |  |  | 4201080
| FLOOR FINISHES |  |  | 775000
| CEILING FINISHES |  |  | 767600
| PLUMBING INSTALLATIONS |  |  | 954000
| ELECTRICAL INSTALLATIONS |  |  | 604000
| EXTERNAL WORKS |  |  | 2500000
2BEDROOM SEMI DETACHED DUPLEX
| Carried to General Summary |  | N | 19950735

## 4BD BUNGALOW
MAIN BUILDING
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
Generally
Information
The work in this section comprises of concrete work, reinforcement, sawn formwork and blockwork. The contractor is however refered to the Architectural Drawings for details and scope of the works to be executed in this section
Plant
Allow for bringing to site all necessary plant required for executing this section of work and for their subsequent removal from site when no longer required
Allow for maintianing on site all plant required for this section of work
Site Preparartion
A | Excavate oversite to remove vegetable soil average 150mm deep. | 268 | m2 | 100 | 26800
Excavation and Earthwork
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 100 | m3 | 750 | 75000
C | Ditto Pit for column bases | 0 | m3 | 1200 | 0
D | Excavate and backfill for working space starting from reduced level and not exceeding 2.00m deep. | 0 | m3 | 750 | 0
E | Deposit excavated materials in temporary spoil heaps average distance 30.00m from excavavtion | 0 | m3 | 450 | 0
Disposal of Water
F | Allow for keeping the surface of the site and the excavavtion free from surface water |  | item
Disposal of Excavated Materials
G | Remove Surplus excavated materials from site | 52 | m3 | 450 | 23400
| Carried to Collection |  |  |  | 125200
SUBSTRUCTURE CONT'D
Filling
A | Return, fill and consolidate selected excavated material around foundation. | 48 | m3 | 300 | 14400
B | Approved laterite earth filling to make up level well rammed and consolidated in layers | 99 | m3 | 2500 | 247500
C | 250mm thick approved rock hardcore filling well rammed and consolidated. | 66 | m2 | 4500 | 297000
Surface Treatment
D | Level and Compact buttom of excavation | 118 | m2 | 80 | 9440
E | Dieldrex 20" anti-termites to surfaces of excavation | 409 | m2 | 120 | 49080
E10: In situ concrete
Plain in-situ concrete 1:4:8-20mm aggregate in:
F | 50mm blinding under bases and Bed | 0 | m3 | 25000 | 0
Plain in-situ concrete 1:3:6-20mm aggregate in:
G | 225mm thick in foundation trenches | 27 | m3 | 25000 | 675000
H | 150mm thick in ground floor slab and steps | 41 | m3 | 28000 | 1148000
Reinforced insitu concrete mix (1:2;4-20mm agg) mix to develop a minimum work cube strength of 21N/mm2 at 28 days filled into formwork and well packed arround reinforcement ( both measured separetely )
J | 250-500mm thick column base | 0 | m3 | 28000 | 0
K | Square and rectangular section olumns | 0 | m3 | 28000 | 0
High yield deformed bars to BS 4449 inncluding all bends, hooks, tying wire distance block and ordinary spacer
L | 12mm diameter bar in column bases | 0 | kg | 285000 | 0
M | 10-16mm diameter bar in column | 0 | kg | 285000 | 0
| Carried to Collection |  |  |  | 2440420
SUBSTRUCTURE CONT'D
E20: Formwork for in situ concrete
Sawn formwork to:
A | Edges of bed, 150mm high | 74 | m | 285 | 21090
B | Vertical side of columns | 0 | m2 | 1900 | 0
C | Sides of column bases | 0 | m | 1900 | 0
D | Faces of step, 150mm high | 4 | m | 285 | 1140
Blockwork
E | 225mm hollow sandcrete blockwork in cement mortar (1:3) including filling hollow solid with weak concrete as work progresses | 185 | m2 | 4500 | 832500
Damp proof membrane
F | 0.26mm Visquenn polythene damp proof membrane lapped 150mm at all welted joints, laid on hardcore | 271 | m2 | 200 | 54200
G | ADD-For Additional work in Foundation |  |  |  | 200000
| Carried to collection |  |  | N | 1108930
COLLECTION
| page /1 |  |  | 125200
| page /2 |  |  | 2440420
| page /3 |  |  | 1108930
SUBSTRUCTURE
| Carried to Summary |  |  | N | 3674550
Element Nr. 2
ROOF
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Roof covering
Colorek longspan corrugated aluminium roofing sheets from aproved manufacturers in approved colour with deep trough '5' corrugations with one corrugation side laps (measured net and no allowance made for laps), fixed in accordance with the manufacturer's instructions.
D | 0.55mm sloping roof covering | 318 | m3 | 3335 | 1060530
E | 0.70mm thick ridges; 600mm girth. | 58 | m3 | 2000 | 116000
F | Ditto gutter. | 18 | m3 | 2000 | 36000
G | Ditto eave angles; 300mm girth. | 69 | m3 | 600 | 41400
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
H | Roof beam | 8 | m3 | 30000 | 240000
J | Precast/insitu concrete fascia cut to approved shape and pattern including formwork and reinforcement | 69 | m | 12500 | 862500
| TO COLLECTION |  |  | N | 2356430
Roof Cont'd
Reinforcement
High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space.
A | 10-16mm diameter in roof beam in straight and bent bars | 0.48 | ton | 285000 | 136800
B | 12mm ditto in roof slab and upstand | 0 | ton | 285000 | 0
C | Insitu cast concrete fascia cut to approved profile including formwork and reinforcemrent, 600mm high. | 0 | m | 12500 | 0
Formwork
Sawn formwork to:
D | Sides and soffit of roof beam. | 98 | m2 | 1900 | 186200
E | Soffits of roof slab | 0 | m2 | 1900 | 0
F | Edges of suspended roof slab | 0 | m | 285 | 0
Sawn hardwood timber treated with solignum or other equal and approved
G | 50 x 50mm noggings at 600mm centres | 736 | m | 250 | 184000
H | 50 x 75mm purlins at 900mm centres | 334 | m | 300 | 100200
J | 50 x 100mm tie beam. | 218 | m | 385 | 83930
K | 50 x 150mm rafters at 1500mm centres | 443 | m | 385 | 170555
L | 50 x 150mm struts | 842 | m | 385 | 324170
Protection
M | Protect all works in this section untill completion |  | Item
| TO COLLECTION |  |  | N | 1185855
COLLECTION
| Page No. 8 |  |  |  | 2356430
| Page No. 9 |  |  |  | 1185855
ROOF
| Carried to Collection |  |  | N | 3542285
Element Nr. 3
WALLS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
D | 230mm wall | 435 | m2 | 3500 | 1522500
E | 150mm wall | 7 | m2 | 3000 | 21000
E10: In situ concrete
Vibrated Concrete mix ratio 1:2:4
F | Lintels, 0.03 - 0.10m2 cross sectiona area | 4 | m3 | 30000 | 120000
F | Raised column bases | 1 | m3 | 30000 | 30000
F | Round column curved, radius 150mm | 1 | m3 | 30000 | 30000
F | Rectangular column, 0.03 - 0.10m2 sectiona area | 1 | m3 | 30000 | 30000
Precast Concrete
L | Precast concrete mouldings and capitols on columns and perimeter of building | 9 | 9 | 9500 | 85500
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
H | 10-12mm diameter in columns in straight and bent bars in raised column base | 0.045 | ton | 285000 | 12825
H | 10-16mm diameter bars in columns | 0.38 | ton | 285000 | 108300
H | 10-16mm diameter bars in lintels | 0.24 | ton | 285000 | 68400
E20: Formwork for in situ concrete
Sawn formwork to:
J | Sides and soffits of lintels | 50 | m2 | 1900 | 95000
J | Sides of raised column base | 4 | m2 | 1900 | 7600
J | Vertical Sides of round column | 10 | m2 | 1900 | 19000
J | Vertical Sides of rectangular columns | 10 | m2 | 1900 | 19000
Protection
K | Protect all works in this section untill completion |  | item
EXTERNAL WALLS
| Carried to Summary |  |  | N | 2169125
Element Nr. 4
WINDOWS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Aluminium Glazed Works.
Supply and fix the following powder coated aluminium window glazed with 5mm thick tinted glass with insect screen complete with sub-frames ironmongery and all necessary accessories, including cutting and pinning lugs to concrete and blockwork surround with pointing one side in mastic.
C | Sliding window with upper fixed lighting to suit opening size 1800x1200mm high overall. | 1 | Nr | 60480 | 60480
D | Ditto, but size 1500mmx1200mm | 2 | Nr | 100800 | 201600
D | Ditto, but size 1200mmx1200mm | 13 | Nr | 40320 | 524160
E | Ditto, but size 1200mmx1200mm | 5 | Nr | 10080 | 50400
Burglary proof
J | Fabricate and install burglary proof consisting of 50 x 25mm frame with 16mm diameter H.T steel bars welded horizontally at 150mm centres and braced at the middle with 50 x 2mm thick flat bar to suit various opening sizes. | 26 | m2 | 10500 | 273000
Protection
K | Protect all works in this section untill completion |  | item
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 1109640
Element Nr. 5
DOORS
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
STEEL DOOR
Double swing HPI or other equal and approved security steel door with multiple entry locking system to suit opening:
D | Swing door size 1200x2100 high overall | 1 | Nr | 65000 | 65000
E | Single swing door size 900 x 2100mm high | 9 | Nr | 55000 | 495000
Aluminium Door
E | Aluminium sliding door size 1500x1200 high | 1 | Nr | 50400 | 50400
Wooden Door
Approved polished timber flush doors complete with sub-frames, linnings, architraves and all necessary ironmongery to suit opening:
D | Size 750x2100 high overall | 5 | Nr | 50000 | 250000
Protection
K | Protect all works in this section untill completion |  | item
INTERNAL DOORS
| Carried to Summary |  |  | N | 860400
Element Nr. 6
JOINERY
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Wardrobes
D | in-built veneered wardrobe size 2475 x 2850 x600mm deep complete with hanger, drawers and top locker | 4 | Nr | 75000 | 300000
kitchen cabinet
G | in-built veneered kitchen cabinet 3650m long floor unit with granite top 600 x 600 mm high | 1 | m | 91250 | 91250
H | Ditto, but wall unit size 600 x 600mm deep | 6 | m | 90000 | 540000
Protection
| Protect all works in this section untill completion |  | item
| Element Nr. 9 Joinery Work carried to collection |  |  |  | 931250
Element Nr. 7
WALL FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 631 | m2 | 850 | 536350
E | Ditto not exceeding 300mm girth including dressing around that arises. | 160 | m | 255 | 40800
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
F | 304x 152 x 6mm coloured glazed cushioned edge tilling ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement. (tiles to be obtained from IBERO or equal and approved) | 141 | m2 | 4000 | 564000
G | Ditto not exceeding 300mm girth | 63 | m | 3000 | 189000
H | Ditto 150mm high borders | 50 | m | 270 | 13500
J | Plastic edge trim to ceramic wall tiles | 50 | m | 255 | 12750
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
K | 12mm screeded backings | 166 | m2 | 850 | 141100
L | Ditto, n.e 300mm wide | 70 | m | 255 | 17850
| Carried to Collection |  |  | N | 1515350
WALL FINISHES CONT'D
M60: Painting/Clear finishing
A | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting (m/s) | 490 | m2 | 2100 | 1029000
B | Prepare and apply two finishing coats of emulsion paint on rendered wal | 490 | m2 | 900 | 441000
C | Ditto not exceeding 300mm girth | 160 | m | 300 | 48000
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 166 | m2 | 900 | 149400
E | Ditto, n.e 300mm wide | 70 | m | 300 | 21000
M60: Painting/Clear finishing
Prepare and apply two finishing coats of textcote paint on
F | Walls | 166 | m2 | 900 | 149400
G | Ditto, n.e 300mm wide | 91 | m | 750 | 68250
F | Ditto,concrete fascia | 42 | m2 | 2500 | 105000
F | Raised column base and columns surfaces | 31 | m2 | 2500 | 77500
J | Precast cement and sand decorative morter moulding fixed along the perimeter of building. | 69 | m2 | 1500 | 103500
Protection
K | Protect all works in this section untill completion |  | item
| Carried to collection |  |  | N | 2192050
COLLECTION
| page /19 |  |  | 1515350
| page /20 |  |  | 2192050
| Element NR 10,WALL FINISHESCarried to summary |  |  | N | 3707400
Element Nr. 8
FLOOR FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic
D | 600 x 600 x 10mm glazed vitrified floor tiles fixed to screeded bed (m/s) | 201 | m2 | 4000 | 804000
E | ditto skirting 100mm high | 186 | m | 600 | 111600
F | 355 x 330 x 8mm Non-slip ceramic floor tiles fixed to screeded bed (m/s) | 13 | m2 | 4000 | 52000
Beds
J | 40mm cement and sand screeded bed to receive vetrified floor tiles. | 242 | m | 1200 | 290400
Protection
K | Protect all works in this section untill completion |  | item
| Element NR 11,FLOOR FINISHESCarried to summary |  |  | N | 1258000
Element Nr. 9
CEILING FINISHES
Generally
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
M20: Plastered/Rendered/Roughcast/ Coatings
D | Plaster of paris suspended decorative ceiling finish | 66 | m2 | 5000 | 330000
E | Ditto, cornices | 53 | m | 2100 | 111300
PVC Ceilling Linings
E | 100 x 4mm PVC Ceiling fittings on hardwoonoggins (m/s) including all accessories | 152 | m2 | 1900 | 288800
M60: Painting/Clear finishing
F | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting | 66 | m2 | 2250 | 148500
G | Prepare and apply three coat of emulsion paint on rendered screeding ceiling soffit. | 66 | m2 | 900 | 59400
Protection
H | Protect all works in this section untill completion |  | item
| Element NR 12,CEILING FINISHESCarried to summary |  |  | N | 938000
Element Nr. 10
PLUMBING AND ENGINEERING INSTALLATIONS
RAINWATER, SANITARY AND COLD WATER INSTALLATIONS
Water supply and Waste water installation
A | Allow a provisional sum for sanitary, hot, cold, soil waste water and fire hydrant pipework installatios with connection tp mains, executed complete |  | sum |  | 400000
Sanitary Appliances
Supply, assemble and fix the following sanitary appliances and accessories, including all joints to cold water supply and discharge pipes.
B | Complete set of Ideal Standard Sanitary wares comprising ofacrylic bath tub, shower tray, wash hand basin and water closet, and chrome accessories | 4 | nr | 75000 | 300000
C | Stainless steel sink with single bowl and double drainer complete with all necessary fittings | 1 | nr | 18500 | 18500
D | Ariston water heater 15 Ltr | 4 | nr | 27000 | 108000
E | Wall Mirror cabinet complete with shaver outlets and all necessary accessories | 5 | nr | 12000 | 60000
| Element NR 13,PLUMBING INSTALLATION Carried to summary |  |  | N | 886500
ELEMENT NR 11
E;ECTRICAL INSTALLATIONS
Provide and install the following equipments, fittings and accessories as indicated in the drawings and related specification. Wiring devise and accessories shal include all conduits, conduit filling wiring, termination earth, etc from panel board, the respective devises
Main Installation
A | Connection to public mains by NEPA including provision and installation of 3-phase electricity meter | 1 | nr | 150000 | 150000
Equipment
Supply and install the followings
B | 63A ELCB | 1 | nr | 18500 | 18500
C | 100A 1 ways TPN&E MCB Distribution Baord | 1 | nr | 27500 | 27500
Final Subcircuit
The following finalsubcircuit executed in Upvc concealed conduit and pvc insulated copper conductor system
D | 5A lighting point | 33 | nr | 2500 | 82500
E | 5A switch point | 19 | nr | 2500 | 47500
F | 13A switch socket point | 9 | nr | 2500 | 22500
G | 15A Air condition switch point and outlets. | 2 | nr | 2500 | 5000
H | 20A water heater control switch points and outlets. | 5 | nr | 3500 | 17500
J | Television, data and telephone points. | 5 | nr | 2500 | 12500
K | 30A cooker control unit | 1 | nr | 3500 | 3500
| Carried to Collection |  |  | N | 387000
ELECTRICAL INSTALLATIONS continued ...
Supply and Install the followings EEC Standard fittings and accessories to Engineers approval (provisional)
A | 1 x 60w wall bracket light fittings | 19 | nr | 3500 | 66500
B | 1 x 60w LED Ceiling mounted fitting | 23 | nr | 3000 | 69000
C | 1 x 60w wardrobe light fitting | 4 | nr | 1500 | 6000
D | 1 x 60w ingelec light fitting | 5 | nr | 1500 | 7500
E | 1 x 60w mirror light fitting with shaver outlet | 9 | nr | 2500 | 22500
F | New Clime Ceilling Fan complete with regulator | 9 | nr | 7500 | 67500
G | 1 x 36w x 600mm flourescent fittings with prismatic diffuser | 1 | nr | 5000 | 5000
J | 2x 40w dining rise/fall lighting | 1 | nr | 7500 | 7500
K | 3 x60w lounge pendant light fitting complete with dimmer | 5 | nr | 3500 | 17500
L | 1x 70w security bulk head light fittings | 12 | nr | 3500 | 42000
M | 1x25w expelair extractor fan | 1 | nr | 7500 | 7500
N | 5A 1-gang 1-way switch | 6 | nr | 1500 | 9000
P | 5A 1-gang 2-way switch | 3 | nr | 1500 | 4500
Q | 13Amp single switch socket | 6 | nr | 1500 | 9000
R | 13Amp double switch socket | 1 | nr | 2500 | 2500
S | 15Amp Air condition outlet | 4 | nr | 3000 | 12000
T | 20A Water heater switch. | 1 | nr | 4500 | 4500
| Carried to Collection |  |  | N | 360000
ELECTRICAL INSTALLATIONS continued ...
A | 30A Cooker control unit | 1 | nr | 5500 | 5500
B | Telephone Outlet | 6 | nr | 1500 | 9000
C | Television Outlet | 6 | nr | 1500 | 9000
Builders Work
Cut away and make good all builders work disturbed after electrician complete execution of the followings
D | Lighting and Switch Point | 33 | nr | 500 | 16500
E | Socket outlets points and the likes | 19 | nr | 500 | 9500
F | Equipment and control gears and the likes | 3 | nr | 500 | 1500
| Carried to Collection |  |  | N | 51000
COLLECTION
| page /20 |  |  | 387000
| page /21 |  |  | 360000
| page /22 |  |  | 51000
| Element NR 14,ELECTRICAL INSTALLATION Carried to summary |  |  | N | 798000
SUMMARY
| PRELIMNARIES |  |  | 485000
| SUBSTRUCTURE |  |  | 3674550
| ROOF |  |  | 3542285
| WALL |  |  | 2169125
| WINDOWS |  |  | 1109640
| DOOR |  |  | 860400
| JOINERY |  |  | 931250
| WALL FINISHES |  |  | 3707400
| FLOOR FINISHES |  |  | 1258000
| CEILING FINISHES |  |  | 938000
| PLUMBING INSTALLATIONS |  |  | 886500
| ELECTRICAL INSTALLATIONS |  |  | 798000
| EXTERNAL WORKS |  |  | 2500000
2BEDROOM SEMI DETACHED DUPLEX
| Carried to General Summary |  | N | 22860150

## 3BD SD DUPLEX
MAIN BUILDING
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
Generally
Information
The work in this section comprises of concrete work, reinforcement, sawn formwork and blockwork. The contractor is however refered to the Architectural Drawings for details and scope of the works to be executed in this section
Plant
Allow for bringing to site all necessary plant required for executing this section of work and for their subsequent removal from site when no longer required
Allow for maintianing on site all plant required for this section of work
Site Preparartion
A | Excavate oversite to remove vegetable soil average 150mm deep. | 189 | m2 | 100 | 18900 | 189
Excavation and Earthwork
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 70 | m3 | 750 | 52500 | 70
C | Ditto Pit for column bases | 62 | m3 | 1200 | 74400 | 62
D | Excavate and backfill for working space starting from reduced level and not exceeding 2.00m deep. | 95 | m3 | 750 | 71250 | 95
E | Deposit excavated materials in temporary spoil heaps average distance 30.00m from excavavtion | 102 | m3 | 450 | 45900 | 102
Disposal of Water
F | Allow for keeping the surface of the site and the excavavtion free from surface water |  | item
Disposal of Excavated Materials
G | Remove Surplus excavated materials from site | 38 | m3 | 450 | 17100 | 38
| Carried to Collection |  |  |  | 280050
SUBSTRUCTURE CONT'D
Filling
A | Return, fill and consolidate selected excavated material around foundation. | 95 | m3 | 300 | 28500 | 95
B | Approved laterite earth filling to make up level well rammed and consolidated in layers | 47 | m3 | 2500 | 117500 | 47
C | 250mm thick approved rock hardcore filling well rammed and consolidated. | 47 | m2 | 4500 | 211500 | 47
Surface Treatment
D | Level and Compact buttom of excavation | 124 | m2 | 80 | 9920 | 124
E | Dieldrex 20" anti-termites to surfaces of excavation | 417 | m2 | 120 | 50040 | 417
E10: In situ concrete
Plain in-situ concrete 1:4:8-20mm aggregate in:
F | 50mm blinding under bases and Bed | 3 | m3 | 25000 | 75000 | 3
Plain in-situ concrete 1:3:6-20mm aggregate in:
G | 225mm thick in foundation trenches | 20 | m3 | 28000 | 560000 | 20
H | 150mm thick in ground floor slab and steps | 27 | m3 | 30000 | 810000 | 27
Reinforced insitu concrete mix (1:2;4-20mm agg) mix to develop a minimum work cube strength of 21N/mm2 at 28 days filled into formwork and well packed arround reinforcement ( both measured separetely )
J | 250-500mm thick column base | 17 | m3 | 30000 | 510000 | 17
K | Square and rectangular section olumns | 1 | m3 | 30000 | 30000 | 1
High yield deformed bars to BS 4449 inncluding all bends, hooks, tying wire distance block and ordinary spacer
L | 12mm diameter bar in column bases | 0.761 | kg | 285000 | 216885 | 0.761
M | 10-16mm diameter bar in column | 0.25 | kg | 285000 | 71250 | 0.25
| Carried to Collection |  |  |  | 2690595
SUBSTRUCTURE CONT'D
E20: Formwork for in situ concrete
Sawn formwork to:
A | Edges of bed, 150mm high | 57 | m | 285 | 16245 | 57
B | Vertical side of columns | 22 | m2 | 1900 | 41800 | 22
C | Sides of column bases | 52 | m | 1900 | 98800 | 52
| Faces of step, 150mm high | 5 | m | 285 | 1425 | 5
Blockwork
D | 225mm hollow sandcrete blockwork in cement mortar (1:3) including filling hollow solid with weak concrete as work progresses | 75 | m2 | 4500 | 337500 | 75
Damp proof membrane
E | 0.26mm Visquenn polythene damp proof membrane lapped 150mm at all welted joints, laid on hardcore | 176 | m2 | 200 | 35200 | 176
F | ADD-For Additional work in Foundation |  |  |  | 300000
| Carried to collection |  |  | N | 830970
COLLECTION
| page /1 |  |  | 280050
| page /2 |  |  | 2690595
| page /3 |  |  | 830970
SUBSTRUCTURE
| Carried to Summary |  |  | N | 3801615
Element Nr. 2
FRAME
Information
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item
Plant
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item
Concrete Work
Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately
D | Beam 0.03 - 0.10m2 sectional area | 21 | m3 | 30000 | 630000 | 15 | 21 | 1.4
|  | 0 |  |  |  |  | 0
E | Square and rectangular section columns | 7 | m3 | 30000 | 210000 | 5 | 7
|  | 0 |  |  |  |  | 0
| Reinforcement | 0 |  |  |  |  | 0
|  | 0 |  |  |  |  | 0
| High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space. | 0 |  |  |  |  | 0
|  | 0 |  |  |  |  | 0
F | 10 - 16mm diameter in columns in straight and bent bars | 2.996 | ton | 285000 | 853860 | 2.14 | 2.996
|  | 0 |  |  |  |  | 0
G | 10 - 12mm diameter in beams. | 2.044 | ton | 285000 | 582540 | 1.46 | 2.044
|  | 0 |  |  |  |  | 0
| Formwork | 0 |  |  |  |  | 0
|  | 0 |  |  |  |  | 0
| Sawn formwork to: | 0 |  |  |  |  | 0
|  | 0 |  |  |  |  | 0
H | sides and soffits of beams | 183.4 | m2 | 1900 | 348460 | 131 | 183.4
|  | 0 |  |  |  |  | 0
J | Vertical sides of columns | 131.6 | m2 | 1900 | 250040 | 94 | 131.6
0
0
0
0
0
0
0
0
0
| FRAME | [5 empty] | 0
| carried to Summary |  |  | N | 2874900 |  | 0
| Element Nr. 3 | [5 empty] | 0
0
| SUSPENDED FLOOR | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Concrete Work | [5 empty] | 0
0
| Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately | [5 empty] | 0
0
D | 150mm thick floor slab | 28 | m3 | 30000 | 840000 | 20 | 28
0
| Reinforcement |  |  |  |  | 0
0
| High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space. | [5 empty] | 0
0
E | 12mm diameter in Floor slab in straight and bent bars | 2.352 | ton | 285000 | 670320 | 1.68 | 2.352
0
| Formwork | [5 empty] | 0
0
| Sawn formwork to: | [5 empty] | 0
0
F | soffit of suspended floor slab | 190.4 | m2 | 1900 | 361760 | 136 | 190.4
|  | 0 |  |  |  |  | 0
G | Edge of suspended floor slab. | 85.4 | m | 285 | 24339 | 61 | 85.4
0
0
0
0
0
0
0
0
| SUSPENDED FLOORS | [5 empty] | 0
| Carried to Summary |  |  | N | 1896419 |  | 0
| Element Nr. 4 | [5 empty] | 0
0
| STAIRCASES | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Concrete Work | [5 empty] | 0
0
| Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately | [5 empty] | 0
0
D | Staircases | 4.2 | m3 | 30000 | 126000 | 3 | 4.2
0
| Reinforcement | [5 empty] | 0
0
| High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space. | [5 empty] | 0
0
E | 16mm diameter in Floor slab in straight and bent bars | 0.028 | ton | 285000 | 7980 | 0.02 | 0.028
0
F | 12mm ditto | 0.406 | ton | 285000 | 115710 | 0.29 | 0.406
0
G | 10mm ditto | 0.014 | ton | 285000 | 3990 | 0.01 | 0.014
0
0
| TO COLLECTION |  |  | N | 253680 |  | 0
| STAIRCASES CONT'D | [5 empty] | 0
0
| Formwork | [5 empty] | 0
0
| Sawn formwork to: | [5 empty] | 0
0
A | Sloping soffit of staircases | 15.4 | m2 | 1900 | 29260 | 11 | 15.4
0
B | Sides of String. | 5.6 | m2 | 1900 | 10640 | 4 | 5.6
0
C | Soffits of landing | 4.2 | m2 | 1900 | 7980 | 3 | 4.2
|  | 0 |  |  |  |  | 0
0
D | Sides of risers. | 35 | m | 285 | 9975 | 25 | 35
0
E | Sides of Landing | 5.6 | m | 285 | 1596 | 4 | 5.6
0
F | Good quality wrought iron staircase and balcony railing | 33.6 | m | 10500 | 352800 | 24 | 33.6
0
| VETRIFIED TILES | [5 empty] | 0
| 600 x 300 x 10mm unglazed vetrified ceramic floor tiles to B.S. 1281 in approved pattern fixed with tile adhensive, butt jointed and pointed in matching grout | [5 empty] | 0
0
G | Landings | 4.2 | m2 | 4000 | 16800 | 3 | 4.2
0
H | Tread 100mm-300mm wide | 36.4 | m | 1200 | 43680 | 26 | 36.4
0
J | Riser 150mm high | 35 | m | 600 | 21000 | 25 | 35
0
K | 100mm high skirting | 64.4 | m | 800 | 51520 | 46 | 64.4
0
| Cement and sand (1:6) | [5 empty] | 0
L | 42mm thick screeded bed to receive tiles landing | 4.2 | m | 1200 | 5040 | 3 | 4.2
0
M | 42mm thick screeded bed to receive tiles tread | 35 | m | 1200 | 42000 | 25 | 35
0
N | 15mm backing for riser | 35 | m | 900 | 31500 | 25 | 35
0
| PAINTING AND DECORATION | [5 empty] | 0
0
| Prepare and apply full coats of emulsion paints on rendered walls: | [5 empty] | 0
P | Sloping soffit of staircases | 15.4 | m2 | 850 | 13090 | 11 | 15.4
0
Q | Soffit of landing | 4.2 | m2 | 850 | 3570 | 3 | 4.2
0
R | Sides and soffit of bream | 8.4 | m2 | 850 | 7140 | 6 | 8.4
0
S | Sloping string of staircases | 1.4 | m2 | 850 | 1190 | 1 | 1.4
0
| TO COLLECTION BELOW |  |  | N | 648781 |  | 0
| COLLECTION | [5 empty] | 0
| Page No. 6 |  |  |  | 253680 |  | 0
| Page No. 7 |  |  |  | 648781 |  | 0
0
| Carried to Collection |  |  | N | 902461 |  | 0
| Element Nr. 5 | [5 empty] | 0
0
| ROOF | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Roof covering | [5 empty] | 0
0
| Colorek longspan corrugated aluminium roofing sheets from aproved manufacturers in approved colour with deep trough '5' corrugations with one corrugation side laps (measured net and no allowance made for laps), fixed in accordance with the manufacturer's instructions. | 0 |  |  |  |  | 0
0
D | 0.55mm sloping roof covering | 232.4 | m3 | 3335 | 775054 | 166 | 232.4
0
E | 0.70mm thick ridges; 600mm girth. | 93.8 | m3 | 2000 | 187600 | 67 | 93.8
0
F | Ditto gutter. | 53.2 | m3 | 2000 | 106400 | 38 | 53.2
0
G | Ditto eave angles; 300mm girth. | 75.6 | m3 | 600 | 45360 | 54 | 75.6
0
| Concrete Work | [5 empty] | 0
0
| Reinforced insitu concrete mix (1:2:4-20mm aggregate) mix to develop a minimum work cube strength of 21N/mm2 at 28days filled into formwork and well packed around reinforcement (both measured seperately | [5 empty] | 0
0
H | Roof beam | 21 | m3 | 30000 | 630000 | 15 | 21
0
J | 100mm thick roof slab and upstand | 1.4 | m3 | 30000 | 42000 | 1 | 1.4
0
0
0
| TO COLLECTION |  |  | N | 1786414 |  | 0
| Roof Cont'd | [5 empty] | 0
0
| Reinforcement | [5 empty] | 0
0
| High yield steel bar reinforcement to BS 4449 including all bends,hooks, tying wire, distance block and ordinary space. | [5 empty] | 0
0
A | 10-16mm diameter in roof beam in straight and bent bars | 1.876 | ton | 285000 | 534660 | 1.34 | 1.876
0
B | 12mm ditto in roof slab and upstand | 0.168 | ton | 285000 | 47880 | 0.12 | 0.168
0
C | Insitu cast concrete fascia cut to approved profile including formwork and reinforcemrent, 600mm high. | 75.6 | ton | 12500 | 945000 | 54 | 75.6
0
| Formwork | [5 empty] | 0
0
| Sawn formwork to: | [5 empty] | 0
0
D | Sides and soffit of roof beam. | 183.4 | m2 | 1900 | 348460 | 131 | 183.4
0
E | Soffits of roof slab | 15.4 | m2 | 1900 | 29260 | 11 | 15.4
|  | 0 |  |  |  |  | 0
0
F | Edges of suspended roof slab | 16.8 | m | 285 | 4788 | 12 | 16.8
0
| Sawn hardwood timber treated with solignum or other equal and approved | [5 empty] | 0
0
G | 50 x 50mm noggings at 600mm centres | 809.2 | m | 250 | 202300 | 578 | 809.2
0
H | 50 x 75mm purlins at 900mm centres | 903 | m | 300 | 270900 | 645 | 903
0
J | 50 x 100mm tie beam. | 263.2 | m | 385 | 101332 | 188 | 263.2
0
K | 50 x 150mm rafters at 1500mm centres | 600.6 | m | 385 | 231231 | 429 | 600.6
0
L | 50 x 150mm struts | 1058.4 | m | 385 | 407484 | 756 | 1058.4
0
| Protection | [5 empty] | 0
0
M | Protect all works in this section untill completion |  | Item |  |  |  | 0
0
| TO COLLECTION |  |  | N | 3123295 |  | 0
0
| COLLECTION | [5 empty] | 0
0
| Page No. 8 |  |  |  | 1786414 |  | 0
0
| Page No. 9 |  |  |  | 3123295 |  | 0
0
0
| ROOF | [5 empty] | 0
| Carried to Collection |  |  | N | 4909709 |  | 0
| Element Nr. 6 | [5 empty] | 0
0
| WALLS | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| F10: Brick/Block walling | [5 empty] | 0
| Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix: | [5 empty] | 0
0
D | 230mm wall | 302.4 | m2 | 3500 | 1058400 | 216 | 302.4
0
E | 150mm wall | 378 | m2 | 3000 | 1134000 | 270 | 378
0
| E10: In situ concrete | [5 empty] | 0
0
| Vibrated Concrete mix ratio 1:2:4 | [5 empty] | 0
0
F | Lintels | 4.2 | m3 | 30000 | 126000 | 3 | 4.2
0
G | Precast concrete window sill size 300x50mm thick, chamfered on one side and fixed on blockwall with cement and sand morter (see architect's detail) | 205.8 | m | 1500 | 308700 | 147 | 205.8
0
| E30: Reinforcement for in situ concrete | [5 empty] | 0
0
| High yield deformed bars to BS 4449 in lintels | [5 empty] | 0
0
H | 16mm diameter bars | 0.252 | ton | 285000 | 71820 | 0.18 | 0.252
0
| E20: Formwork for in situ concrete | [5 empty] | 0
0
| Sawn formwork to: | [5 empty] | 0
0
J | Sides and soffits of lintels | 57.4 | m2 | 1900 | 109060 | 41 | 57.4
0
| Protection | [5 empty] | 0
0
K | Protect all works in this section untill completion |  | item |  |  |  | 0
0
0
0
0
| EXTERNAL WALLS | [5 empty] | 0
| Carried to Summary |  |  | N | 2807980 |  | 0
| Element Nr. 7 | [5 empty] | 0
0
| WINDOWS | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Aluminium Glazed Works. | [5 empty] | 0
| Supply and fix the following powder coated aluminium window glazed with 5mm thick tinted glass with insect screen complete with sub-frames ironmongery and all necessary accessories, including cutting and pinning lugs to concrete and blockwork surround with pointing one side in mastic. | [5 empty] | 0
0
C | Sliding window with upper fixed lighting to suit opening size 1200x1200mm high overall. | 36.4 | Nr | 43200 | 1572480 | 26 | 36.4
0
D | Ditto, but size 600mmx600mm | 5.6 | Nr | 10080 | 56448 | 4 | 5.6
0
E | Ditto, in three compartment, one part 900x4300 and other two parts each 900x1200. | 1.4 | Nr | 168000 | 235200 | 1 | 1.4
0
0
0
0
| WINDOWS AND EXTERNAL DOORS | [5 empty] | 0
| Carried to Summary |  |  | N | 1864128 |  | 0
| Element Nr. 8 | [5 empty] | 0
0
| DOORS | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| STEEL DOOR | [5 empty] | 0
| Double swing HPI or other equal and approved security steel door with multiple entry locking system to suit opening: | [5 empty] | 0
0
D | Swing door size 1200x2100 high overall | 2.8 | Nr | 65000 | 182000 | 2 | 2.8
0
E | Single swing double leaf door with louvre grill to suit opening opening size 900 x 2100mm | 16.8 | Nr | 55000 | 924000 | 12 | 16.8
0
| STEEL DOOR | [5 empty] | 0
0
F | Flush polished timber door complete with sub-frames, linnigs, architraves and all necessary ironmongery to suit opening size 750 x 2100mm high overall | 8.4 | Nr | 50000 | 420000 | 6 | 8.4
0
0
0
| INTERNAL DOORS | [5 empty] | 0
| Carried to Summary |  |  | N | 1526000 |  | 0
| Element Nr. 9 | [5 empty] | 0
| JOINERY | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Wardrobes | [5 empty] | 0
0
D | in-built veneered wardrobe size 1800 x 3000 x600mm deep complete with hanger, drawers and top locker | 2.8 | Nr | 75000 | 210000 | 2 | 2.8
0
E | Ditto, but size 2325 x 3000 x 600mm do | 2.8 | Nr | 75000 | 210000 | 2 | 2.8
0
F | Store shelf size 1950 x 2400 | 2.8 | Nr | 12500 | 35000 | 2 | 2.8
0
| kitchen cabinet | [5 empty] | 0
G | in-built veneered kitchen cabinet floor unit with treated plywood top 600 x 900 mm high | 18.2 | m | 18750 | 341250 | 13 | 18.2
0
H | Ditto, but wall unit size 600 x 600mm deep | 18.2 | m | 16500 | 300300 | 13 | 18.2
0
| Protect all works in this section untill completion |  | item |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Element Nr. 9 Joinery Work carried to collection |  |  |  | 1096550 |  | 0
| Element Nr. 10 | [5 empty] | 0
| WALL FINISHES | [5 empty] | 0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| Internal work | [5 empty] | 0
0
| M20: Plastered/Randered/Roughcast coatings | [5 empty] | 0
| 15mm thick cement and sand (1:4) smooth rendering to: | [5 empty] | 0
D | Walls | 1010.8 | m2 | 850 | 859180 | 722 | 1010.8
E | Ditto not exceeding 300mm girth including dressing around that arises. | 445.2 | m | 255 | 113526 | 318 | 445.2
| M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling | [5 empty] | 0
F | 304x 152 x 6mm coloured glazed cushioned edge tilling ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement. (tiles to be obtained from IBERO or equal and approved) | 277.2 | m2 | 4000 | 1108800 | 198 | 277.2
G | Ditto not exceeding 300mm girth | 140 | m | 540 | 75600 | 100 | 140
H | Ditto 150mm high borders | 82.6 | m | 270 | 22302 | 59 | 82.6
J | Plastic edge trim to ceramic wall tiles | 82.6 | m | 255 | 21063 | 59 | 82.6
| M10: Sand cement beds /Concrete/Screeds/ backings | [5 empty] | 0
| Cement and sand (1:3) in backings | [5 empty] | 0
K | 12mm screeded backings | 298.2 | m2 | 850 | 253470 | 213 | 298.2
L | Ditto, n.e 300mm wide | 82.6 | m | 255 | 21063 | 59 | 82.6
| Carried to Collection |  |  | N | 2475004 |  | 0
| WALL FINISHES CONT'D | 0 |  |  |  |  | 0
| M60: Painting/Clear finishing | [5 empty] | 0
A | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting (m/s) | 733.6 | m2 | 2100 | 1540560 | 524 | 733.6
B | Prepare and apply two finishing coats of emulsion paint on rendered wal | 733.6 | m2 | 900 | 660240 | 524 | 733.6
C | Ditto not exceeding 300mm girth | 140 | m | 300 | 42000 | 100 | 140
| External work | [5 empty] | 0
| M20: Plastered/Rendered/Roughcast/ Coatings | [5 empty] | 0
| 15mm thick cement and sand (1:4) smooth rendering to: | [5 empty] | 0
D | Walls | 298.2 | m2 | 900 | 268380 | 213 | 298.2
E | Ditto, n.e 300mm wide | 278.6 | m | 300 | 83580 | 199 | 278.6
| M60: Painting/Clear finishing | [5 empty] | 0
| Prepare and apply two finishing coats of textcote paint on | [5 empty] | 0
F | Walls | 298.2 | m2 | 900 | 268380 | 213 | 298.2
G | Ditto, n.e 300mm wide | 278.6 | m | 300 | 83580 | 199 | 278.6
| Protection | [5 empty] | 0
H | Protect all works in this section untill completion |  | item |  |  |  | 0
0
| Carried to collection |  |  | N | 2946720 |  | 0
0
0
0
0
| COLLECTION | [5 empty] | 0
0
| page /19 |  |  | 2475004 |  |  | 0
0
| page /20 |  |  | 2946720 |  |  | 0
0
0
0
0
0
0
0
| Element NR 10,WALL FINISHESCarried to summary |  |  | N | 5421724 |  | 0
| Element Nr. 11 | [5 empty] | 0
0
| FLOOR FINISHES | [5 empty] | 0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
0
| M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic | [5 empty] | 0
D | 600 x 600 x 10mm glazed vitrified floor tiles fixed to screeded bed (m/s) | 291.2 | m2 | 4000 | 1164800 | 208 | 291.2
E | ditto skirting 100mm high | 151.2 | m | 400 | 60480 | 108 | 151.2
F | 355 x 330 x 8mm Non-slip ceramic floor tiles fixed to screeded bed (m/s) | 67.2 | m2 | 4000 | 268800 | 48 | 67.2
| Protection | [5 empty] | 0
G | Protect all works in this section untill completion |  | item |  |  |  | 0
0
| Element NR 11,FLOOR FINISHESCarried to summary |  |  | N | 1494080 |  | 0
| Element Nr. 12 | [5 empty] | 0
0
| CEILING FINISHES | [5 empty] | 0
0
| Generally | [5 empty] | 0
0
| Information | [5 empty] | 0
0
A | The work in this section comprises of concrete work, reinforcement and sawn formwork. The Contractor is however referred to the Architectural drawings for details and scope of the works, to be executed in this section. |  | Item |  |  |  | 0
0
| Plant | [5 empty] | 0
0
B | Allow for bringing to site all necessary plant required for executing this section of work |  | Item |  |  |  | 0
0
C | Allow for bringing maintaining on site all plant required for thiis section of work |  | Item |  |  |  | 0
| M20: Plastered/Rendered/Roughcast/ Coatings | [5 empty] | 0
D | 15mm thick rendering finished fair and smooth on: Soffit of suspended floor slab | 154 | m2 | 850 | 130900 | 110 | 154
| PVC Ceilling Linings | [5 empty] | 0
E | 100 x 4mm PVC Ceiling fittings on hardwoonoggins (m/s) including all accessories | 173.6 | m2 | 1900 | 329840 | 124 | 173.6
| M60: Painting/Clear finishing | [5 empty] | 0
F | Prepare and apply ''plaster of parish'' on rendered walls to receive emulsion painting | 154 | m2 | 2500 | 385000 | 110 | 154
| Protection | [5 empty] | 0
G | Protect all works in this section untill completion |  | item |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Element NR 12,CEILING FINISHESCarried to summary |  |  | N | 845740 |  | 0
| Element Nr. 13 | [5 empty] | 0
| PLUMBING AND ENGINEERING INSTALLATIONS | [5 empty] | 0
| RAINWATER, SANITARY AND COLD WATER INSTALLATIONS | [5 empty] | 0
| Water supply and Waste water installation | [5 empty] | 0
0
A | Allow a provisional sum for sanitary, hot, cold, soil waste water and fire hydrant pipework installatios with connection tp mains, executed complete |  | sum |  | 500000 |  | 0
| Sanitary Appliances | [5 empty] | 0
| Supply, assemble and fix the following sanitary appliances and accessories, including all joints to cold water supply and discharge pipes. | [5 empty] | 0
B | Complete set of Ideal Standard Sanitary wares comprising ofacrylic bath tub, shower tray, wash hand basin and water closet, and chrome accessories | 8.4 | nr | 75000 | 630000 | 6 | 8.4
C | Stainless steel sink with single bowl and double drainer complete with all necessary fittings | 2.8 | nr | 18500 | 51800 | 2 | 2.8
D | Ariston water heater 15 Ltr | 5.6 | nr | 27000 | 151200 | 4 | 5.6
E | Wall Mirror cabinet complete with shaver outlets and all necessary accessories | 7 | nr | 12000 | 84000 | 5 | 7
0
| Element NR 13,PLUMBING INSTALLATION Carried to summary |  |  | N | 1417000 |  | 0
| ELEMENT NR 14 | [5 empty] | 0
| E;ECTRICAL INSTALLATIONS | [5 empty] | 0
| Provide and install the following equipments, fittings and accessories as indicated in the drawings and related specification. Wiring devise and accessories shal include all conduits, conduit filling wiring, termination earth, etc from panel board, the respective devises | [5 empty] | 0
| Main Installation | [5 empty] | 0
A | Connection to public mains by NEPA including provision and installation of 3-phase electricity meter | 1.4 | nr | 150000 | 210000 | 1 | 1.4
| Equipment | [5 empty] | 0
| Supply and install the followings | [5 empty] | 0
0
B | 63A ELCB | 2.8 | nr | 18500 | 51800 | 2 | 2.8
C | 100A 8 ways TPN&E MCB Distribution Baord | 2.8 | nr | 27500 | 77000 | 2 | 2.8
| Incoming Services | [5 empty] | 0
0
D | 35mmx 4 core pvc/swa/pvc copper conductor partly drawn in exposed pvc pipe sleeve attached to feeder pillar and partly buried underground, sleeves and excavation | 119 | m | 1500 | 178500 | 85 | 119
0
E | 16mm single core pvc insulated copper pvc insulated aluminium conductor in conduit passed through blockwork/concrete (Measured net) | 119 | m | 5000 | 595000 | 85 | 119
| Final Subcircuit | [5 empty] | 0
| The following finalsubcircuit executed in Upvc concealed conduit and pvc insulated copper conductor system | [5 empty] | 0
F | 15A lighting point | 58.8 | nr | 2500 | 147000 | 42 | 58.8
G | 15A switch point | 39.2 | nr | 2500 | 98000 | 28 | 39.2
H | 13A switch socket point | 28 | nr | 2500 | 70000 | 20 | 28
0
0
| Carried to Collection |  |  | N | 1427300 |  | 0
| ELECTRICAL INSTALLATIONS continued ... | [5 empty] | 0
A | 15A Air condition switch points and outlets | 5.6 | nr | 2500 | 14000 | 4 | 5.6
B | 20A Water Heater switch points and outlets | 5.6 | nr | 2500 | 14000 | 4 | 5.6
C | Televison, Data and Telephone Points | 8.4 | nr | 2500 | 21000 | 6 | 8.4
D | Cooker control unit (30A) | 2.8 | nr | 3500 | 9800 | 2 | 2.8
| Supply and Install the followings EEC Standard fittings and accessories to Engineers approval (provisional) | [5 empty] | 0
E | 1 x 60w wall bracket light fittings | 28 | nr | 3500 | 98000 | 20 | 28
F | 1 x 60w LED Ceiling mounted fitting | 16.8 | nr | 3000 | 50400 | 12 | 16.8
G | 1 x 60w wardrobe light fitting | 5.6 | nr | 1500 | 8400 | 4 | 5.6
H | 1 x 60w ingelec light fitting | 8.4 | nr | 2500 | 21000 | 6 | 8.4
J | 1 x 60w mirror light fitting with shaver outlet | 5.6 | nr | 1500 | 8400 | 4 | 5.6
K | New Clime Ceilling Fan complete with regulator | 16.8 | nr | 5000 | 84000 | 12 | 16.8
L | 1 x 36 x 1200mm flourescent fittings with prismatic diffuser | 2.8 | nr | 7500 | 21000 | 2 | 2.8
M | 2x 40w dining rise/fall lighting | 2.8 | nr | 7500 | 21000 | 2 | 2.8
N | 3 x60w lounge pendant light fitting complete with dimmer | 8.4 | nr | 2500 | 21000 | 6 | 8.4
P | 1x 70w security bulk head light fittings | 11.2 | nr | 5000 | 56000 | 8 | 11.2
Q | 1x25w expelair extractor fan | 2.8 | nr | 7500 | 21000 | 2 | 2.8
R | 5A 1-gang 1-way switch | 14 | nr | 1500 | 21000 | 10 | 14
S | 5A 1-gang 2-way switch | 11.2 | nr | 1500 | 16800 | 8 | 11.2
T | 5A 1-gang 3-way switch | 2.8 | nr | 1500 | 4200 | 2 | 2.8
U | 5A 2-gang 2-way switch | 11.2 | nr | 1500 | 16800 | 8 | 11.2
0
0
0
| Carried to Collection |  |  | N | 527800 |  | 0
| ELECTRICAL INSTALLATIONS continued ... | [5 empty] | 0
A | 13A Single switch socket | 14 | nr | 2500 | 35000 | 10 | 14
B | 13A double switch socket | 11.2 | nr | 3500 | 39200 | 8 | 11.2
C | 15A SP (A/C) switch socket outlet. | 5.6 | nr | 5000 | 28000 | 4 | 5.6
D | 20A Water heater switch outlets | 5.6 | nr | 7500 | 42000 | 4 | 5.6
E | 30A Cooker control unit | 2.8 | nr | 7500 | 21000 | 2 | 2.8
F | Telephone Outlet | 8.4 | nr | 1500 | 12600 | 6 | 8.4
G | Television Outlet | 8.4 | nr | 1500 | 12600 | 6 | 8.4
| Builders Work | [5 empty] | 0
| Cut away and make good all builders work disturbed after electrician complete execution of the followings | [5 empty] | 0
H | Lighting and Switch Point | 109.2 | nr | 500 | 54600 | 78 | 109.2
J | Socket outlets points and the likes | 30.8 | nr | 500 | 15400 | 22 | 30.8
K | Equipment and control gears and the likes | 5.6 | nr | 500 | 2800 | 4 | 5.6
| Carried to Collection |  |  | N | 263200
COLLECTION
| page /20 |  |  | 1427300
| page /21 |  |  | 527800
| page /22 |  |  | 263200
| Element NR 14,ELECTRICAL INSTALLATION Carried to summary |  |  | N | 2218300
SUMMARY
| PRELIMNARIES |  |  | 615000
| SUBSTRUCTURE |  |  | 3801615
| FRAME |  |  | 2874900
| SUSPENDED SLAB |  |  | 1896419
| STAIRCASES |  |  | 902461
| ROOF |  |  | 4909709
| WALL |  |  | 2807980
| WINDOWS |  |  | 1864128
| DOOR |  |  | 1526000
| JOINERY |  |  | 1096550
| WALL FINISHES |  |  | 5421724
| FLOOR FINISHES |  |  | 1494080
| CEILING FINISHES |  |  | 845740
| PLUMBING INSTALLATIONS |  |  | 1417000
| ELECTRICAL INSTALLATIONS |  |  | 2218300
| EXTERNAL WORKS |  |  | 2000000
3BEDROOM SEMI DETACHED DUPLEX
| Carried to General Summary |  | N | 35691606
| DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GENERAL SUMMARY
PRELIMINARIES AND GENERAL CLAUSES
| THREE BEDROOM SEMI-DETACHED DUPLEX | 35691606 | No | 1500 | 53537409000
| TWO BEDROOM SEMI-DETACHED DUPLEX | 26666310 | No | 1500 | 39999465000
| FOUR-BEDROOM BUNGALOW | 22860150 | No | 1500 | 34290225000
| THREE-BEDROOM BUNGALOW | 19950735 | No | 1500 | 29926102500
| SUB-TOTAL |  |  | N | 157753201500
ADD; V.A.T
EXTERNAL WORKS AND SERVICES
| Road |  |  | N
| Electrification |  |  | N
| Water Supply |  |  | N
| Fencing and Gate House and Gate |  |  | N
| Professional Fees and Supervision |  |  | N | 14562898604
|  |  |  | N | 172316100104
GENERAL CONTIGENCIES
| Allow the sum of 50,000,000.00 (Fifty Million Naira only) for unforseen additional works I aspect of the Entire Works to be expected as directed by the architect. |  |  | N | 50000000
| GRAND TOTAL |  |  | N | 172366100104