## COVER PAGE
BILL OF QUANTITIES
FOR
THE PROPOSED RESIDENTIAL DEVELOPMENT
AT
PLOT 8 ANGWA RIMI GRA KADUNA,
KADUNA STATE.
Client | Quantity Surveyor
Kogi investment and properties ltd
MAY, 2023

## Cover page (1)
MAIN BUILDING (6 BEDROOM DUPLEX)

## 6 BEDROOM duplex
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
D20: EXCAVATING AND FILLING
General Site Clearance
|  | QTY | UNIT | RATE | AMOUNT
A | Excavate oversite to remove vegetable soil average 150mm deep. | 238 | m2 | 150 | 35700
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 52 | m3 | 1500 | 78000
C | Excavate pit for column bases starting from stripped level and not exceeding 1.50m deep. | 80 | m3 | 1500 | 120000
D | Excavate for working space including back filling arround retaining walls starting from stripped level and not exceeding 1.50m deep. |  | m3 | 1500 | 0
E | Level and compact bottom of excavation to receive concrete in foundation. | 74 | m2 | 250 | 18500
F | Remove surplus excavated material from site. | 59 | m3 | 650 | 38350
G | Return, fill and consolidate selected excavated material around foundation. | 73 | m3 | 500 | 36500
H | Approved laterite earth filling to make up level well rammed and consolidated in layers of 150mm thick. | 41 | m3 | 7187 | 294667
J | 100mm thick approved rock hardcore filling well rammed and consolidated. | 118 | m2 | 6500 | 767000
K | Dieldrex 20" anti-termites to surfaces of excavation |  | m2 | 150 | 0
E10: In situ concrete
Vibrated Concrete Grade 15 in:
L | 50mm blinding under bases | 74 | m2 | 2200 | 162800
Vibrated Concrete grade 20 in
M | Foundation & steps | 13 | m3 | 62000 | 806000
N | 150mm horizontal bed | 21 | m3 | 62000 | 1302000
| Carried to Collection |  |  | N | 3659517
SUBSTRUCTURE CONT'D
Reinforced insitu concrete
Vibrated Concrete grade 25 in:
A | Column bases | 18 | m3 | 62000 | 1116000
B | Columns | 1 | m3 | 62000 | 62000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in column bases, columns.
C | 20mm diameter bar in Starter columns | 495 | kg | 600 | 297000
D | 16mm diameter bar in columns bases | 418 | kg | 600 | 250800
| 10mm diameter links and stirrups | 86 | kg | 600 | 51600
BRC Fabric mesh reinforcement to BS 4483 ref.No A.142 weighing 2.22kg/sq.m lapped 200mm at all joints in:
E | Bed | 125 | m2 | 1500 | 187500
E20: Formwork for in situ concrete
Sawn formwork to:
M | Sides of columns | 22 | m2 | 7500 | 165000
Q | Sides of steps | 5 | m2 | 7500 | 37500
Expansion Joints
R | Particle board set vertically between raft wall |  | m2 | 4500 | 0
S | Ditto between concrete bed, 350mm high |  | m2 | 4500 | 0
| Carried to collection |  |  | N | 2167400
SUBSTRUCTURE CONT'D
Sawn formwork to:
A | Edges of ground floor bed 150mm high | 49 | m | 1500 | 73500
F10: Brick/Block walling
Hollow sandcrete blockwork filled solid with vibrated concrete grade 15 and jointed in cement mortar
B | 225mm wall | 119 | m2 | 7500 | 892500
Damp Proofing
Damp proof membrane
C | 0.26mm polythene damp proof membrane lapped 450mm at all welted joints, laid on hardcore | 137 | m2 | 350 | 47950
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
D | Walls | 30 | m2 | 1600 | 48000
M60: Painting/Clear finishing
Prepare and apply two finishing coats of Dulux weather sheild paint and MC 50 wall screeding on:
E | Walls | 30 | m2 | 1000 | 30000
| Carried to collection |  |  | N | 1091950
COLLECTION
| page /1 |  |  | 3659517
| page /2 |  |  | 2167400
| page /3 |  |  | 1091950
SUBSTRUCTURE
| Carried to Summary |  |  | N | 6918867 |  | 38480.9066
Element Nr. 2
FRAME
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
A | Columns | 6 | m3 | 62000 | 372000
B | Beams | 16 | m3 | 62000 | 992000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, columns etc
D | 20mm diameter bar | 2301 | kg | 600 | 1380600
E | 16mm diameter bar | 2376 | kg | 600 | 1425600
F | 10mm diameter links and stirrups | 1042.0392 | kg | 600 | 625223.52
E20: Formwork for in situ concrete
Sawn formwork to:
G | Vertical sides of columns | 73 | m2 | 7500 | 547500
H | sides and soffits of beams | 194 | m2 | 7500 | 1455000
FRAME
| carried to Summary |  |  | N | 6797923.52 | 37808.2509
Element Nr. 3
UPPER FLOOR
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
53.1
A | Suspended floor slabs | 47 | m3 | 62000 | 2914000 |  | 313.3333
| E30: Reinforcement for in situ concrete | [6 empty] | 4151.04
High yield deformed bars to BS 4449 in concrete floor slabs
B | 12-10mm diameter bars | 5658 | kg | 600 | 3394800
E20: Formwork for in situ concrete
Sawn formwork to:
D | Horizontal soffit of suspended floor slab | 252 | m2 | 7500 | 1890000
E | Edge of slab 150mm wide | 114 | m | 1125 | 128250
UPPER FLOORS
| Carried to Summary |  |  | N | 8327050 | 46312.8476
Element Nr. 4
STAIRCASES
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
A | Staircases including landings and beams | 5 | m3 | 62000 | 310000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, staircases and landing
B | 12mm diameter bar | 325 | kg | 600 | 195000
E20: Formwork for in situ concrete
Sawn formwork to:
C | Sloping soffit of staircases / ramps | 12 | m2 | 7500 | 90000
D | Soffits of landing | 7 | m2 | 7500 | 52500
E | Sides and soffits of beam | 3 | m2 | 7500 | 22500
F | Sides of staircases / ramps including cutting and fitting to risers. | 4 | m2 | 7500 | 30000
G | Risers of steps 150mm high | 38 | m | 1125 | 42750
H | Sides of Landing | 6 | m | 1125 | 6750
| Carried to Collection |  |  | N | 749500 | 4168.5206
STAIRCASES CONT'D
M4O: Stone/Concrete/Quarry/Ceramic Tiling/Mosaic
Granite Floor Tiles
A | Landings | 7 | m2 | 9000 | 63000
B | Ditto treads of staircase 300mm wide | 37 | m | 9000 | 333000
C | Ditto risers of staircase 150mm high | 38 | m | 4500 | 171000
D | Ditto 75mm wide skirting along risers and tread | 14 | m | 2500 | 35000
M10: Sand cement/ Concrete/ Screeds/ Toppings
Cement and sand (1:3) mix:
E | 25mm thick floated bed (Landing) | 7 | m2 | 1500 | 10500
F | 15mm thick backing 150mm high (Risers) | 38 | m | 1000 | 38000
G | 25mm thick floated bed 300mm wide (Tread) | 37 | m | 1000 | 37000
H | 15mm thick backing 75mm high (Skirting) | 14 | m | 1000 | 14000
M20: Plastered/Rendered/Roughcast coatings
15mm Thick cement and sand (1:5) smooth rendering to:
J | Sloping soffit of staircases | 12 | m2 | 2500 | 30000
K | Soffit of landing | 7 | m2 | 2500 | 17500
L | Sides of staircases | 4 | m2 | 2500 | 10000
| Carried to Collection |  |  | N | 759000
STAIRCASES CONT'D
P.O.P Floating
Prepare and apply aduplan or other approved floating materials on rendered surfaces
A | Sloping soffit of staircases | 12 | m2 | 1100 | 13200
B | Soffit of landing | 7 | m2 | 1100 | 7700
C | Sides of staircases | 4 | m2 | 1100 | 4400
M60: Painting/Clear finishing
Prepare, prime and apply 3 coats of Dulux emulsion paint on:
D | Sloping soffit of staircases | 12 | m2 | 1350 | 16200
E | Soffit of landing | 7 | m2 | 1350 | 9450
F | Sides of staircases | 4 | m2 | 1350 | 5400
| Carried to Collection |  |  | N | 56350
COLLECTION
| page /6 |  |  | 749500
| page /7 |  |  | 759000
| page /8 |  |  | 56350
STAIRCASES
| Carried to Summary |  |  | N | 1564850
Element Nr. 5
ROOF
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
[8 empty] | 0.83 | 60.424
A | Beams | 8 | m3 | 62000 | 496000
B | copping | 1 | m3 | 62000 | 62000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, facia, slab, & copping.
C | 16mm diameter bars | 1024 | kg | 600 | 614400
D | 10mm diameter bars | 206 | kg | 600 | 123600
E20: Formwork for in situ concrete
Sawn formwork to:
E | Sides and soffits of roof beams | 74 | m2 | 7500 | 555000
F | Sides amd suffit of copping | 6 | m2 | 7500 | 45000
| Carried to Collection |  |  | N | 1896000
ROOF CONT'D
H72: 0.55mm longspan aluminium coloured roofing sheets or any other approved specification
A | Aluminium Long span roof covering | 113 | m2 | 7000 | 791000
B | Wall flashing 300mm girth | 22 | m | 3500 | 77000 |  |  |  |  | 0
C | Eave angle flashing 150mm girth | 11 | m | 1050 | 11550 |  |  |  |  | 0
G20: Steel trusses/Timber framing/First fixing
Sawn hardwood roof carcass treated with solignum
D | Allow provisional sum for steel roof trusses |  | item
E | 100 x 50mm rafter | 109 | m | 550 | 59950
F | 100 x 50mm tie beam | 103 | m | 550 | 56650
G | 100 x 50mm struts | 136 | m | 550 | 74800
H | 50 x 75mm hardwood purlins | 141 | m | 550 | 77550
F10: Brick/Block walling
Hollow sandcrete blockwork jointed in cement mortar
J | 225mm in parapet wall | 39 | m2 | 6500 | 253500
M20: Plastered/Rendered/Roughcast coatings
12mm Thick cement and sand (1:5) smooth rendering to:
K | Parapet wall | 78 | m2 | 2500 | 195000
L | Sides and soffits of copping | 6 | m2 | 2500 | 15000
M10: Sand cement/Concrete/Screeds/Toppings
Cement and sand (1:3) mix:
M | 50mm thick floated bed (roof slab) |  | m2 | 1200 | 0
| Carried to Collection |  |  | N | 1612000
ROOF CONT'D
H66: Bitumen felt shingling
3mm thick plasprufe or other approved bituminous felt
A | Soffit of roof slabs |  | m2 | 12000 | 0
B | Vertical sides of parapet walls/Gutter | 10 | m2 | 10000 | 100000
C | Dishing arround rainwater oulet | 2 | Nr | 6500 | 13000
M60: Texture Paint
Prepare and apply standard coat of Texture paint on
D | Parapet wall | 39 | m2 | 1350 | 52650
E | Sides and soffits of copping | 6 | m2 | 1350 | 8100
| Carried to Collection |  |  | N | 173750
COLLECTION
| page /9 |  |  | 1896000
| page /10 |  |  | 1612000
| page /11 |  |  | 173750
ROOF
| Carried to Summary |  |  | N | 3681750 | 20476.9188
Element Nr. 6
EXTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
647
A | 230mm wall | 389 | m2 | 6500 | 2528500 |  |  | 647
B | 150mm wall | 48 | m2 | 6000 | 288000
E10: In situ concrete
Reinforced Vibrated Insitu Concrete Grade 20
C | Lintels | 2 | m3 | 62000 | 124000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars | 153 | kg | 600 | 91800
E | 10mm diameter bars in links and stirrups | 122 | kg | 600 | 73200
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 30 | m2 | 7500 | 225000
Expansion Joints
G | Particle board set vertically between blockwall |  | m2 | 5000 | 0 | [5 empty] | 0
EXTERNAL WALLS
| Carried to Summary |  |  | N | 3330500 | 18523.3593
Element Nr. 7
WINDOWS AND EXTERNAL DOORS
L11: Metal windows/rooflights/screens/louvres
L10: Windows/roofing-lights/Screens/ Louvres
Single openable pannel aluminium casement window coupled with top and bottom fixed light, super skylum HDC system (mini), flyscreen, powder coated aluminium section and glazed with 5mm thick bronze tinted.
A | Window size 1200 x 6000mm high | 1 | Nr | 270000 | 270000
B | Window size 1200 x 2100mm high | 12 | Nr | 170100 | 2041200
C | Ditto 900 x 2100mm high | 6 | Nr | 127575 | 765450
D | Ditto 750 x 2100mm high | 7 | Nr | 106312.5 | 744187.5
E | Window size 1200 x 1500mm high | 2 | Nr | 121500 | 243000
F | Ditto 600 x 1500mm high | 5 | Nr | 60750 | 303750
Window Subframe
H | Window size 1200 x 6000mm high | 1 | Nr | 54450 | 54450
J | Window size 1200 x 2100mm high | 12 | Nr | 18900 | 226800
K | Ditto 900 x 2100mm high | 6 | Nr | 14175 | 85050
L | Ditto 750 x 2100mm high | 7 | Nr | 11812.5 | 82687.5
M | Window size 1200 x 2100mm high | 2 | Nr | 18900 | 37800
N | Ditto 600 x 1500mm high | 5 | Nr | 6750 | 33750
L20: Metal doors/shutters/hatches
Supply and fix 3 track , 5mm thick guage single leaf decorative aluminium sound panel door security doors externally.
Q | Door size 1200 x 2850mm high | 1 | Nr | 410000 | 410000
R | Door size 900 x 2850mm high | 2 | Nr | 320000 | 640000
R | Ditto sliding Door size 2700 x 3000mm high | 1 | Nr | 220000 | 220000
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 6158125
Element Nr. 8
INTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
A | 230mm wall | 285 | m2 | 6500 | 1852500
B | 150mm wall | 78 | m2 | 6000 | 468000
E10: In situ concrete
Reinforced Vibrated Insitu Concrete Grade 20
C | Lintels | 2 | m3 | 62000 | 124000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars | 103 | kg | 600 | 61800
E | 10mm diameter bars in links and stirrups | 83 | kg | 600 | 49800
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 20 | m2 | 7500 | 150000
INTERNAL WALLS
| Carried to Summary |  |  | N | 2706100 | 15050.6118
Element Nr. 9
INTERNAL DOORS
Wood work - doors/shutters/hatches
Supply and fix Single leaf Decorative sound imported stanley door complete with frame, architrave and accessories from approved manufacturers.
A | Door size 900x2100mm high | 8 | Nr | 160000 | 1280000
B | Ditto 750x2100mm high | 7 | Nr | 160000 | 1120000
Supply and fix 3 track , 5mm thick guage single leaf decorative aluminium sound panel door security doors internally.
Q | Door size 1200 x 2850mm high | 3 | Nr | 410000 | 1230000
R | Door size 900 x 2850mm high | 3 | Nr | 320000 | 960000
INTERNAL DOORS
| Carried to Summary |  |  | N | 4590000
Element Nr. 10
FITTINGS AND FIXTURES
N10:General fixtures/furnishing/equipment
Wardrobes obtainable from approved manufacturers"
A | Size 1600mm long x600mm deep x2500mm high | 2 | Nr | 120000 | 240000
B | Ditto 2000mm long x 600mm x 2800 high | 1 | Nr | 250000 | 250000
C | Ditto 2300mm long x 600mm x 2800 high | 1 | Nr | 280000 | 280000
D | Ditto 7100mm long x 600mm x 2800 high | 1 | Nr | 600000 | 600000
N11: Domestic kitchen fitting
Kitchen carbinets obtainable from approved manufacturers"
E | Supply and fix kitchen cabinet size 9600mm long x 600mm deep x 900mm high with wall mounted constructed of MBF quality laminated plywood complete with granite work tops | 1 | Nr | 1500000 | 1500000
F | Ditto 3000mm long x 600mm x 900 high | 1 | Nr | 370000 | 370000
L30: Stairs/Walkways/Balustrades
Supply and fix the followings approved pattern 1000mm high stainless steel:
G | Staircase handrails. | 10 | m | 35000 | 350000
H | Ditto balcony balustrades 900mm high | 13 | m | 25000 | 325000
Fabricate and fix the followings approved pattern 750mm wide steel duct cover:
J | 375mm x 9000mm high | 2 | Nr | 185000 | 370000
Pargula
K | Supply and fix pargula as per approved design at the outdoor lounge (1.2 x 4.62m) | 1 | Nr | 275000 | 275000
L | Danpalon Roof Cover
| Supply and fix steel frames danpalon covering as per approved design (3.85m long x 1.0m wide) |  | Nr | 150000 | 0
Felt
Single ply of paralon NT4 prefabricated membrane bitumen felt for water proofing on
M | Toilet floor lapped on wall | 45 | m2 | 6000 | 270000
Armorthane Coating
Polyurethane coating on floor for water proofing on
N | Terrace and Sit-out floor lapped on wall | 50 | m2 | 13000 | 650000
Vanities and Windows Top
P | Vanities and Windows Top |  | m2 | 12000 | 0
FITTINGS AND FIXTURES
| Carried to Summary |  |  | N | 5480000
Element Nr. 11
WALL FINISHES
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
A | Walls | 878 | m2 | 2500 | 2195000
B | Ditto not exceeding 300mm girth including dressing around that arises. | 491 | m | 750 | 368250
M31: Fibrous Plaster of Paris
POP Wall Floating
Prepare and apply ''aduplan'' or other equal and approved wall floating material on rendered walls
C | Rendered surfaces | 663 | m2 | 1100 | 729300
D | Rendered surfaces, width not exceeding 300mm | 491 | m | 450 | 220950
M60: Painting/Clear finishing
Prepare and apply two finishing coats of emulsion paint on:
E | Walls | 663 | m2 | 1350 | 895050
F | Ditto not exceeding 300mm girth | 491 | m | 550 | 270050
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
Approved ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement.
G | Kitchen walls | 51 | m2 | 4500 | 229500
H | Toilet walls | 164 | m2 | 4500 | 738000
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
J | 15mm screeded backings | 215 | m2 | 1650 | 354750
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:5) smooth rendering to:
K | Walls | 437 | m2 | 2500 | 1092500 | 6076.1958
L | Parapet wall |  | m2 | 2500 | 0
M | Ditto not exceeding 300mm girth including dressing the arrises | 206 | m | 750 | 154500
N | Capping on canopy and outdoor wall | 21 | m | 400 | 8400
P | Dressing of groves on wall | 12 | m | 500 | 6000
| Carried to Collection |  |  | N | 7262250
WALL FINISHES CONT'D
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
Brick tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and well pointed on walls
A | Wall tiles | 62 | m2 | 4500 | 279000
M10: Sand cement beds /Concrete/Screeds/backings
Cement and sand (1:3) in backings
B | 15mm screeded backings | 62 | m2 | 3200 | 198400
POP Wall Floating
Prepare and apply ''aduplan'' or other equal and approved wall floating material on rendered walls
C | Rendered surfaces | 375 | m2 | 1000 | 375000 | 2085.6507
D | Rendered surfaces, width not exceeding 300mm | 206 | m | 300 | 61800
E | Capping on canopy and outdoor wall | 21 | m2 | 300 | 6300
F | Dressing of groves on wall | 12 | m | 300 | 3600
M60: Painting/Clear finishing
Prepare and apply two finishing coats of Dulux weather sheild paint and MC 50 wall screeding on:
G | Walls | 375 | m2 | 1350 | 506250
H | Rendered surfaces, width not exceeding 300mm | 206 | m2 | 700 | 144200
J | Capping on canopy and outdoor dwarf wall | 21 | m | 405 | 8505
K | Groves on wall | 12 | m | 200 | 2400
| Carried to collection |  |  | N | 1585455
COLLECTION
| page /17 |  |  | 7262250
| page /18 |  |  | 1585455
WALL FINISHES
| Carried to summary |  |  | N | 8847705
Element Nr. 12
FLOOR FINISHES
Internal work
M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic
Ceramic floor tiles of approved colour, bedded and jointed in cement and sand (1:3) mix floated bed (measured separately) with and including pointing with matching cement colour
A | 8mm unglazed tiles ( toilets) | 38 | m2 | 5000 | 190000
Fully vitrified ceramic tiles of approved colour bedded and jointed in cement and sand floated bed (measured separately) with and including pointing with matching cement mortar on:
B | 8mm glazed floor tiles (bedrooms) | 106 | m2 | 6000 | 636000
C | Ditto skirting 75mm high | 116.6 | m | 450 | 52470
D | 8mm glazed floor tiles(Maiden room/Guest room) | 20 | m2 | 6000 | 120000
E | Ditto skirting 75mm high | 22 | m | 450 | 9900
F | 8mm unglazed floor tiles (kitchen/store floor & loundry) | 31 | m2 | 6000 | 186000
G | Ditto skirting 75mm high | 34.1 | m | 450 | 15345
Vitrified tiles of approved colour bedded and jointed in cement and sand floated bed (measured separately) with and including pointing with matching cement mortar on:
H | 6mm glazed floor tiles (lounge/dinning /lobby/closet/anti room) | 148 | m2 | 6000 | 888000
J | Ditto skirting 75mm high | 162.8 | m | 450 | 73260
M10: Sand cement beds/Concrete/Screeds/ backings
Cement and sand (1:3) mix
K | 44mm screeded bed | 343 | m2 | 3200 | 1097600
L | 15mm screeded backings | 335.5 | m | 480 | 161040
External work
M50: Rubber/Plastics/Cork/Lino/ Carpet tiling sheeting
Mables finished tiles
M | 8mm unglazed wooden floor tiles | 47 | m2 | 9000 | 423000
N | Ditto skirting 75mm high | 51.7 | m | 1300 | 67210
M10: Sand cement beds/Concrete/Screeds/ backings
Cement and sand (1:3) mix
P | 42mm floated bed to receive floor tiles | 47 | m2 | 3200 | 150400
Q | 15mm screeded backings | 51.7 | m | 1000 | 51700
FLOOR FINISHES
| Carried to Summary |  |  | N | 4121925
Element Nr. 13
CEILING FINISHES
Internal and External works
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick rendering finished fair and smooth on:
A | Soffit of suspended floor slab | 252 | m2 | 2500 | 630000
M31: Fibrous Plaster of Paris
POP Ceiling
B | Skirting and board to ceiling | 102 | m2 | 10500 | 1071000
C | Rendered soffit of suspended slab | 252 | m2 | 1100 | 277200
D | Cornice to soffits of suspended floor slab 600mm girth | 232 | m | 2760 | 640320
G20: Carpentary/Timber framing/ First fixing
Sawn Treated Hardwood
E | 50 x 50mm noggins | 367.2 | m | 400 | 146880
M60: Painting/Clear finishing
Prepare, prime and apply two coats of emulsion paint on:
F | Soffits of suspended POP board | 102 | m2 | 1350 | 137700
G | Soffits of suspended concrete slab | 252 | m2 | 1350 | 340200
H | Surfaces not exceeding 600mm wide | 232 | m | 810 | 98280
CEILING FINISHES
| Carried to Summary |  |  | N | 3341580
Element Nr. 14
MECHANICAL INSTALLATIONS
MATERIALS FOR WASTE PIPE FROM DPC TO FINISHING
1 | 4'' pvc pipe {6 bar} | 14 | length | 7000 | 98000
2 | 3'' pvc pipe {6 bar} | 14 | length | 5500 | 77000
3 | 2'' pvc pipe {6 bar} | 21 | length | 4500 | 94500
4 | 4'' pvc bend | 25 | nr | 2000 | 50000
5 | 4'' pvc tee | 14 | nr | 1500 | 21000
6 | 4x2 tee | 14 | nr | 1500 | 21000
7 | 4x2 socket | 42 | nr | 1200 | 50400
8 | 2'' pvc bend | 42 | nr | 1100 | 46200
9 | 2'' pvc tee | 21 | nr | 1100 | 23100
10 | 2x45 bend | 21 | nr | 1100 | 23100
11 | 4x45 bend | 7 | nr | 1200 | 8400
12 | Vent cap | 7 | nr | 1000 | 7000
13 | Big tin of abro gum | 4 | nr | 7000 | 28000
14 | Gasket gum | 4 | nr | 1200 | 4800
15 | yarn rope | 2 | bundle | 1200 | 2400
MATERIALS FOR WATER SUPPLY PIPING
1 | 1'' Technogreen Pipe with socket | 12 | length | 4500 | 54000
2 | 3/4'' Technogreen pipe with socket | 9 | length | 3500 | 31500
3 | 1/2'' Technogreen pipe with socket | 12 | length | 2500 | 30000
4 | 1'' Technogreen Pipe tee | 7 | nr | 800 | 5600
5 | 1'' Technogreen elbow | 28 | nr | 350 | 9800
6 | 1x3/4'' Technogreen elbow | 15 | nr | 550 | 8250
7 | 1x3/4'' Technogreen tee | 15 | nr | 400 | 6000
8 | 1'' gate valve Technogreen | 14 | nr | 600 | 8400
9 | 1'' union Technogreen | 14 | nr | 700 | 9800
10 | 3/4''x 1/2'' Technogreen tee | 30 | nr | 800 | 24000
11 | 3/4''x 1/2'' Technogreen elbow | 30 | nr | 800 | 24000
12 | 3/4'' Technogreen tee | 16 | nr | 800 | 12800
13 | 3/4'' Technogreen elbow | 56 | nr | 800 | 44800
14 | 3/4'' gate valve Technogreen | 28 | nr | 350 | 9800
15 | 1/2''Technogreen tee | 28 | nr | 500 | 14000
16 | 1/2'' Technogreen elbow | 56 | nr | 500 | 28000
17 | 1/2'' male & female Technogreen elbow | 105 | nr | 500 | 52500
18 | 1/2''male & female G.I socket | 58 | nr | 4400 | 255200
19 | Yarn robe | 1 | boundle | 1200 | 1200
20 | Abrogum | 1 | nr | 7500 | 7500
21 | Abrogum gasket gum | 5 | nr | 1200 | 6000
| To collection |  |  | N | 1198050
PLUMBING FITTINGS
1 | Mini set wc-close coulpe{sweet home} | 7 | nr | 85000 | 595000
2 | 15 litres of water heater{sweet home} | 7 | nr | 35000 | 245000
3 | bath tub | 7 | nr | 220000 | 1540000
4 | jacuzzi bath tub | 1 | nr | 320000 | 320000
5 | Set of Mirror | 7 | nr | 10000 | 70000
6 | Set of Basin mixer tap | 7 | nr | 12500 | 87500
7 | Set of standing shower | 7 | nr | 35000 | 245000
8 | Toilet Roll holder | 7 | nr | 5000 | 35000
9 | Soap Dish | 7 | nr | 5000 | 35000
10 | Towel rail | 7 | nr | 5000 | 35000
11 | 13mm Angle valve | 30 | nr | 1500 | 45000
12 | 13mm brass M/F fitting socket | 28 | nr | 1000 | 28000
13 | 13mm F/F flexible connector | 35 | nr | 1500 | 52500
14 | Coin Robber | 14 | nr | 800 | 11200
15 | Set of kitchen sink | 2 | nr | 35000 | 70000
16 | 100mm Pan connector | 14 | nr | 4500 | 63000
17 | Adjustable waste | 14 | nr | 3500 | 49000
18 | Silicon gum | 11 | nr | 800 | 8800
19 | Wash hand basin screw | 28 | nr | 1000 | 28000
20 | Water heater screw with visher | 28 | nr | 800 | 22400
19 | WC screw with visher | 28 | nr | 800 | 22400
20 | Putty | 7 | nr | 1100 | 7700
21 | Wash hand basin pressing waste | 14 | nr | 2500 | 35000
22 | Kitchen mixer | 2 | nr | 18000 | 36000
23 | Tread tape | 14 | nr | 600 | 8400
24 | 1/2 GI nipple | 35 | nr | 500 | 17500
25 | 50mm PVC Normal floor drain | 14 | nr | 1000 | 14000
26 | Side floor drain | 14 | nr | 2500 | 35000
27 | 1'' White tigre Pipe | 14 | nr | 8500 | 119000
28 | 1'' White tigre tee | 14 | nr | 500 | 7000
29 | 1'' White tigre elbow | 21 | nr | 500 | 10500
30 | 1'' White tigre socket | 21 | nr | 500 | 10500
31 | 1'' PPR Adaptor | 21 | nr | 1200 | 25200
32 | 1'' by 3/4 PPR tee | 12 | nr | 500 | 6000
33 | 1'' White Union connector | 42 | nr | 1000 | 42000
34 | 1'' White tigre nipple | 12 | nr | 500 | 6000
35 | 1'' x 3/4 white elbow | 12 | nr | 500 | 6000
36 | 1'' White plug | 14 | nr | 500 | 7000
37 | 3/4 original tap | 14 | nr | 5500 | 77000
38 | Big Abro gum | 7 | nr | 7000 | 49000
39 | Gasket gum | 7 | nr | 1200 | 8400
40 | Thread tape | 14 | nr | 600 | 8400
41 | 1'' x 3/4 socket | 35 | nr | 600 | 21000
42 | Sundries |  | sum |  | 140000
Fire Fighting Installations
21 | 9kg `Angus' Carbon-dioxide (CO2) fire extinguisher to BS 1382 complete with holder bracket mounted on blockwork or concretework | 2 | nr | 25000 | 50000
Airconditioning Installation
Supply and install the following for airconditioning piping only
22 | Airconditioning piping | 117 | m | 2300 | 269100
23 | Perforated face diffusers/Extractor Fan complete with manual opposed blade balancing dampers, in Toilets |  | nr | 16000 | 0
| Labour/Workmanship |  |  |  | 400000
| To collection |  |  | N | 5023500
Collection
| Page /14 |  |  | 1198050
| Page /14 |  |  | 5023500
PLUMBING & MECHANICAL WORKS
| CARRIED TO SUMMARY |  |  | N | 6221550
Element Nr. 15
ELECTRICAL INSTALLATIONS
Mains Reticulation
ELECTRICAL INSTALLATIONS
MAIN CONNECTIONS
Supply and fix the following PANELS conforming to Engineers specifications:
A | Ditto but Change over switch | 1 | Nr | 85000 | 85000
Supply and install the following cable obtainable from Nexus Kablemetal in connections and cabling works in electrical installations (Provisional)
Supply Cable
Cable to DB
B | 3 x 16mm copper cable | 100 | m | 3400 | 340000
CABLING AND CONDUITS IN FINAL CIRCUITS, RADIAL LIGHTING SUB-CIRCUITS
Copper PVC insulated and colour coded cables drawn into 20mm diameter concealed PVC conduits (rates to include for all cables for lighting points, switches, and other accessories; including conduit, trucking ducting and fittings) necessary for complete
C | Lighting points,1.5mm2 cable | 140 | Nr | 7200 | 1008000
D | Water heater socket outlet point | 7 | Nr | 8500 | 59500
E | 13A single-gang Flushed switch socket outlet points | 0 | Nr | 10850 | 0
F | 13A twin-gang Flushed switch socket outlet points | 26 | Nr | 11850 | 308100
G | 15A twin-gang Flushed switch socket outlet points | 18 | Nr | 17500 | 315000
H | Isolated single coaxial TV outlet point | 10 | Nr | 12850 | 128500
J | Extractor fan socket outlet point | 0 | Nr | 8500 | 0
K | Wall mounted 1 gang,1 way switch | 28 | Nr | 1650 | 46200
L | Wall mounted 1 gang,2 way switch | 3 | Nr | 2150 | 6450
| To collection |  |  | N | 2296750
SWITCHES AND SOCKET OUTLET
A | Wall mounted 3 gang,1 way switch | 1 | Nr | 3500 | 3500
B | Water heater switch socket outlet | 7 | Nr | 4500 | 31500
C | 13A single-gang switch socket outlet | 0 | Nr | 4800 | 0
D | 13A twin-gang switch socket outlet | 26 | Nr | 5200 | 135200
E | 15A single-gang switch socket outlet | 18 | Nr | 5450 | 98100
F | TV switch socket outlet | 10 | Nr | 3500 | 35000
G | Extractor fan socket outlet | 0 | Nr | 3500 | 0
DISTRIBUTION BOARDS AND CONTROLS
H | 100Amp 8-ways TP&N distribution board | 3 | Nr | 115000 | 345000
| 60Amp 4-ways TP&N distribution board | 1 | Nr | 75000 | 75000
J | 100A TP&N ELCB | 4 | Nr | 65000 | 260000
LIGHTING FIXTURES
Supply and fix the following or other equal and approved to engineers specification
K | 1 x 40W RECESS BALL EYE LIGHTING FITTING | 35 | Nr | 7900 | 276500
L | 1 X 40 SCREWNECK LIGHTING FITTING | 36 | Nr | 7050 | 253800
M | 1 x 40w decorative lighting fitting | 5 | Nr | 5500 | 27500
N | 1 x 100W WALL MOUNTED PRISMAL DELTA LIGHTING FITTING | 13 | Nr | 8500 | 110500
P | 1 x 40w Recess Ball eye lighting fitting | 24 | Nr | 8200 | 196800
Q | 3x 20W gold coated Pendant light fitting | 1 | Nr | 75000 | 75000
R | 8 x 20W Chanderlier light fitting | 1 | Nr | 185000 | 185000
S | 2 x 20w, 600mm Popular pack flourescencent fitting | 3 | Nr | 8500 | 25500
T | 4 x 25w Chandelier decorative lighting fitting | 1 | Nr | 85000 | 85000
U | 1 x 150W Gamma six mounted on high single arm Alluminium column l | 17 | Nr | 165000 | 2805000
| To collection |  |  | N | 5023900
Earthling/Thunder Arrestor
Earthling
A | Supply and install earthling system comprising of 1x70mm2 bare copper stranded conductor, 4nr earth pit including earth bar with disconnect links. | 1 | lot | 120000 | 120000
Thunder Arrestor
B | Supply and install Spike mounted with brackets on 6m elevation point including 3mm x 25mm copper tape rising to joint lighting arrestor | 1 | Nr | 75000 | 75000
Builder's work
C | Allow a provisional sum for builder's work in connection with electrical installations | 1 | sum | 150000 | 150000
Testing
D | Allow a provisional sum for testing in connection with electrical installations | 1 | sum | 100000 | 100000
| To collection |  |  | N | 445000
Sundries
A | Allow for the provision of detailed manufacturer's catalogues and specifications, tests, as built drawings and other technical details associated with electrical works | 1 | item | 50000 | 50000
Protection
B | Protect all works in this element |  | item |  | 0
| To collection |  |  | N | 50000
COLLECTION
| Page 16 |  |  |  | 2296750
| Page 17 |  |  |  | 5023900
| Page 18 |  |  |  | 445000
| Page 19 |  |  |  | 50000
ELECTRICAL INSTALLATION
| To collection |  |  | N | 7815650
Element Nr. 16
EXTERNAL WORKS
Green Areas
prepare area to receive Grass,shrubs and flowers including excavations
A | Portharcourt grass | 35 | m2 | 3200 | 112000
B | Cotonou ficus | 31 | Nr | 5500 | 170500
C | Windmill palm | 17 | Nr | 6500 | 110500
D | Royal palm tree | 1 | Nr | 10000 | 10000
Interlocking
150mm thick rendering finished fair and smooth on:
E | Interlock | 44 | m3 | 7000 | 308000
EXTERNAL WORKS
| Carried to Summary |  |  | N | 711000
SUMMARY
| SUBSTRUCTURE |  |  | 6918867
| FRAME |  |  | 6797923.52
| UPPER FLOORS |  |  | 8327050
| STAIRCASES |  |  | 1564850
| ROOF |  |  | 3681750
| EXTERNAL WALLS |  |  | 3330500
| WINDOWS AND EXTERNAL DOORS |  |  | 6158125
| INTERNAL WALLS |  |  | 2706100
| INTERNAL DOORS |  |  | 4590000
| FITTINGS AND FIXTURES |  |  | 5480000
| WALL FINISHES |  |  | 8847705
| FLOOR FINISHES |  |  | 4121925
| CEILING FINISHES |  |  | 3341580
| PLUMBING INSTALLATIONS |  |  | 6221550
| ELECTRICAL INSTALLATIONS |  |  | 7815650
| EXTERNAL WORKS |  |  | 711000
MAIN BUILDING - 6 BEDROOM DUPLEX
| Net construction cost/Blk |  |  |  | 80614575.52
| Prelims @ 3% |  |  |  | 2418437.2656
| Add |  |  |  | 83033012.7856
| Vat @ 7.5% |  |  |  | 6227475.9589
| MAIN BUILDING |  |  | N | 89260488.7445
Carried to General Summary
| GFA | 474 | M2
| COST/M2 |  |  | 188313.2674
fg

## Cover page (2)
GATE HOUSE

## BOQ GATE HOUSE
ELEMENT NR. 1
SITE CLEARANCE AND EARTHWORKS
D20: EXCAVATING AND FILLING
General Site Clearance
A | Excavate oversite to remove vegetable soil average 150mm deep. | 18 | m2 | 100 | 1800
B | Excavate trench to receive foundation starting from stripped level and not exceeding 1.00m deep. |  | m3 | 1200 | 0
C | Excavate pit for column bases starting from stripped level and not exceeding 1.50m deep. | 2 | m3 | 1200 | 2400
E | Level and compact bottom of excavation to receive concrete in foundation. | 24 | m2 | 600 | 14400
F | Remove surplus excavated material from site. | 2 | m3 | 450 | 900
G | Return, fill and consolidate selected excavated material around foundation. | 0 | m3 | 600 | 0
H | Approved laterite earth filling to make up level well rammed and consolidated in layers of 300mm thick. | 4 | m3 | 6800 | 27200
J | 100mm thick approved rock hardcore filling well rammed and consolidated. | 12 | m2 | 3500 | 42000
E10: In situ concrete
Vibrated Concrete 1;3:6 in:
K | Foundation | 1 | m3 | 62000 | 62000
L | 150mm horizontal bed | 2 | m3 | 62000 | 124000
M | Steps |  | m3 | 62000 | 0
| Carried to Collection |  |  | N | 274700
SUBSTRUCTURE CONT'D
BRC Fabric mesh reinforcement to BS 4483 ref.No A.142 weighing 2.22kg/sq.m lapped 200mm at all joints in:
A | Bed | 15 | m2 | 1500 | 22500
E20: Formwork for in situ concrete
Sawn formwork to:
B | Edges of ground floor bed 150mm high | 11 | m | 1500 | 16500
C | Sides of steps | 1 | m2 | 6500 | 6500
F10: Brick/Block walling
Hollow sandcrete blockwork filled solid with vibrated concrete grade 15 and jointed in cement mortar
D | 225mm wall | 17 | m2 | 6800 | 115600
| Carried to collection |  |  | N | 161100
COLLECTION
| page /1 |  |  | 274700
| page /2 |  |  | 161100
SUBSTRUCTURE
| Carried to Summary |  |  | N | 435800
Element Nr. 2
EXTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
A | 230mm wall | 29 | m2 | 6500 | 188500
B | 150mm wall |  | m2 | 5500 | 0
E10: In situ concrete
Vibrated Concrete 1;2:4 in:
C | Lintels | 0.4 | m3 | 62000 | 24800
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars |  | kg | 600 | 0
E | 10mm diameter bars in links and stirrups |  | kg | 600 | 0
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 5 | m2 | 7500 | 37500
EXTERNAL WALLS
| Carried to Summary |  |  | N | 250800
Element Nr. 3
WINDOWS AND EXTERNAL DOORS
L11: Metal windows/rooflights/screens/louvres
L10: Windows/roofing-lights/Screens/ Louvres
SIDE HUNG ALUMINIUM 3 LEAVES CASEMENTWINDOW WITH FLY NET FIXED TO MANUFACTURER'S DETAILS
A | Window size 1200 x 1200mm high | 2 | Nr | 55000 | 110000
B | Ditto 750 x 600mm high window | 1 | Nr | 33000 | 33000
DOUBLE LEAVES SECURITY DOOR FIXED TO MANUFACTURER'S DETAILS
C | Ditto 1200x2100mm high |  | Nr | 120000 | 0
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 110000
Element Nr. 4
INTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
A | 230mm wall | 6 | m2 | 6500 | 39000
B | 150mm wall |  | m2 | 5500 | 0
E10: In situ concrete
Reinforced Vibrated Concrete 1;2:4 in:
C | Lintels | 1 | m3 | 62000 | 62000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars | 33 | kg | 600 | 19800
E | 10mm diameter bars in links and stirrups | 29 | kg | 600 | 17400
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 11 | m2 | 7500 | 82500
INTERNAL WALLS
| Carried to Summary |  |  | N | 220700
Element Nr. 5
INTERNAL DOORS
Wood work - doors/shutters/hatches
SINGLE SECURITY DOOR FIXED TO MANUFACTURER'S DETAILS
A | Ditto 900x2100mm high | 1 | Nr | 230000 | 230000
SINGLE LEAF IDIS DOOR FIXED TO MANUFACTURER'S DETAILS
B | Ditto 750x2100mm high | 1 | Nr | 130000 | 130000
INTERNAL DOORS
| Carried to Summary |  |  | N | 360000
Element Nr. 5
ROOF
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete 1;2:4 in:
A | Fascia/roof beam externally | 1 | m3 | 62000 | 62000
B | Slab and copping | 1.5 | m3 | 62000 | 93000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, facia, slab, & copping.
C | 12mm diameter bars | 85 | kg | 600 | 51000
D | 10mm diameter bars | 62 | kg | 600 | 37200
E | 8mm diameter bars |  | kg | 600 | 0
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of slab,copping | 13 | m2 | 7500 | 97500
| Carried to Collection |  |  | N | 340700
ROOF CONT'D
H72: Stone Coaated roof tiles on timber frame (Measured Seperately) to include all accessories.
A | Aluminium roof covering | 10 | m2 | 5500 | 55000
B | Eave angle 150mm girth | 6 | m | 3400 | 20400
G20: Steel trusses/Timber framing/First fixing
Sawn hardwood roof carcass treated with solignum
C | 100 x 50mm rafter | 20 | m | 550 | 11000
D | 100 x 50mm tie beam | 22 | m | 550 | 12100
E | 100 x 50mm struts | 25 | m | 550 | 13750
F | 50 x 75mm hardwood purlins | 27 | m | 500 | 13500
F10: Brick/Block walling
Hollow sandcrete blockwork jointed in cement mortar
G | 225mm in parapet/Gable wall | 10 | m2 | 6500 | 65000
M20: Plastered/Rendered/Roughcast coatings
12mm Thick cement and sand (1:5) smooth rendering to:
H | Parapet wall | 10 | m2 | 2350 | 23500
J | Sides and soffits of slab, coping | 3 | m2 | 2350 | 7050
M10: Sand cement/Concrete/Screeds/Toppings
Cement and sand (1:3) mix:
K | 50mm thick floated bed (slab) |  | m2 | 2350 | 0
| Carried to Collection |  |  | N | 221300
ROOF CONT'D
M60: Texture Paint
Prepare and apply standard coat of Texture paint on
A | Parapet wall | 10 | m2 | 1350 | 13500
B | Sides and soffits of slab, coping | 3 | m2 | 1350 | 4050
| Carried to Collection |  |  | N | 17550
COLLECTION
| page /5 |  |  | 340700
| page /6 |  |  | 221300
| page /7 |  |  | 17550
ROOF
| Carried to Summary |  |  | N | 579550
Element Nr. 6
WALL FINISHES
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
A | Walls | 41 | m2 | 2500 | 102500
B | Ditto not exceeding 300mm girth including dressing around that arises. | 11 | m | 750 | 8250
M60: Painting/Clear finishing
Prepare and apply two finishing coats of emulsion paint on:
C | Walls | 41 | m2 | 1350 | 55350
D | Ditto not exceeding 300mm girth | 11 | m | 450 | 4950
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
Approved ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement.
E | Toilet walls | 10 | m2 | 6500 | 65000
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
F | 15mm screeded backings | 10 | m2 | 2350 | 23500
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:5) smooth rendering to:
G | Walls | 29 | m2 | 2500 | 72500
H | Ditto not exceeding 300mm girth including dressing the arrises | 13 | m | 750 | 9750
M60: Painting/Clear finishing
Prepare and apply two finishing coats of emulsion paint on:
J | Walls | 29 | m2 | 1500 | 43500
K | Ditto not exceeding 300mm girth | 13 | m | 400 | 5200
WALL FINISHES
| Carried to summary |  |  | N | 479300
Element Nr. 7
FLOOR FINISHES
Internal work
M40: Stone/Concrete Quarry/Ceramic tilling/Mosaic
verified floor tile finish of approved colour, bedded and jointed in cement and sand (1:3) mix floated bed (measured separately) with and including pointing with matching cement colour.
A | 8mm floor tile (toilet) | 1 | m2 | 5000 | 5000
Verified floor tile finish of approved colour, bedded and jointed in cement and sand (1:3) mix floated bed (measured separately) with and including pointing with matching cement colour.
B | bedroom | 8 | m2 | 6000 | 48000
C | Ditto skirting 75mm high | 8.8 | m | 690 | 6072
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) mix
D | 44mm screeded bed | 9 | m2 | 2350 | 21150
E | 15mm screeded backings | 8.8 | m | 300 | 2640
External work
M50: Rubber/Plastics/Cork/Lino/ Carpet tiling sheeting
verified floor tile finish of approved colour, bedded and jointed in cement and sand (1:3) mix floated bed (measured separately) with and including pointing with matching cement colour.
F | Entrance | 1 | m2 | 9000 | 9000
G | Ditto skirting 75mm high | 2 | m | 900 | 1800
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) mix
H | 42mm floated bed to receive floor tiles | 1 | m2 | 2350 | 2350
J | 15mm screeded backings | 2 | m | 180 | 360
FLOOR FINISHES
| Carried to Summary |  |  | N | 96372
Element Nr. 8
CEILING FINISHES
Internal and External works
M31: Fibrous Plaster of Paris
POP Ceiling
A | Skirting and board to ceiling with floating | 11 | m2 | 10500 | 115500
G20: Carpentary/Timber framing/ First fixing
Sawn Treated Hardwood
B | 50 x 50mm noggins | 39.6 | m | 400 | 15840
M60: Painting/Clear finishing
Prepare, prime and apply two coats of emulsion paint on:
C | Soffits of suspended POP board | 11 | m2 | 1400 | 15400
CEILING FINISHES
| Carried to Summary |  |  | N | 146740
Element Nr. 9
MECHANICAL INSTALLATIONS
Plumbing Installations
A | Allow provisional sum for this section of work incuding soakaway |  | SUM |  | 250000
MECHANICAL INSTALLATIONS
| Carried to Collection |  |  | N | 250000
Element Nr. 10
ELECTRICAL INSTALLATIONS
B | Allow provisional sum for this section of work incuding accessories |  | SUM |  | 300000
ELECTRICAL INSTALLATIONS
| Carried to Collection |  |  | N | 300000
SUMMARY
| SUBSTRUCTURE |  |  | 435800
| EXTERNAL WALLS |  |  | 250800
| WINDOWS AND EXTERNAL DOORS |  |  | 110000
| INTERNAL WALLS |  |  | 220700
| INTERNAL DOORS |  |  | 360000
| ROOF |  |  | 579550
| WALL FINISHES |  |  | 479300
| FLOOR FINISHES |  |  | 96372
| CEILING FINISHES |  |  | 146740
| PLUMBING INSTALLATIONS |  |  | 250000
| ELECTRICAL INSTALLATIONS |  |  | 300000
GATE HOUSE
| Carried to General Summary |  |  | N | 3229262
M2
| GFA |  |  |  | 15
| Coat/GFA (Vat % Prelim exclusive) |  |  |  | 215284.1333
| COST/UNIT |  |  |  | 3229262
| Net construction cost |  |  | 3229262
Add
| Prelims @ 5% |  |  | 161463.1
| Estimated total cost |  | N | 3390725.1
Add
| Vat @ 7.5% |  |  | 254304.3825
3645029.4825
| COST/UNIT {_with prelim & vat } |  |  | 1822514.7412
| Cost/GFA {_with prelim & vat } |  |  | 243001.9655

## Sheet1 (hidden)
Allow a provisional sum of 5,120,000 for the construction of 32m2 , Well finished MOSQUE, to be covered using long span aluminium of 0.55mm guage, including complete electrical and mechanical installation. | 5120000
Allow a provisional sum of 5,120,000 for the construction of 32m2 , Well finished MOSQUE, to be covered using long span aluminium of 0.55mm guage, including complete electrical and mechanical installation. | 5120000

## Cover page (3)
FENCE AND GATE

## Fence work
ELEMENT NR. 1
SITE CLEARANCE AND EARTHWORKS
D20: EXCAVATING AND FILLING
General Site Clearance
A | Excavate oversite to remove vegetable soil average 150mm deep. |  | m2 | 100 | 0
B | Excavate trench to receive foundation starting from stripped level and not exceeding 1.00m deep. | 162 | m3 | 1200 | 194400
C | Excavate pit for column bases starting from stripped level and not exceeding 1.50m deep. | 3.6 | m3 | 1200 | 4320
E | Level and compact bottom of excavation to receive concrete in foundation. |  | m2 | 600 | 0
E10: In situ concrete
Vibrated Concrete 1;3:6 in:
F | Foundation | 62 | m3 | 62000 | 3844000
F10: Brick/Block walling
Hollow sandcrete blockwork filled solid with vibrated concrete grade 15 and jointed in cement mortar
G | 225mm wall | 557 | m2 | 6500 | 3620500
H | 150mm wall piers (450 x 450mm) | 405 | m2 | 6500 | 2632500
SUBSTRUCTURE
| Carried to Summary |  |  | N | 10295720
Element Nr. 2
GATE COLUMNS
E10: In situ concrete
Vibrated Concrete 1;2:4 in:
Vibrated Reinforced Concrete (1:2:4 - 19mm aggregate) in columns and base
A | Column and bases | 5 | m3 | 62000 | 310000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
B | 16mm diameter bars | 200 | kg | 600 | 120000
C | 10mm diameter bars in links and stirrups | 58 | kg | 600 | 34800
E20: Formwork for in situ concrete
Sawn formwork to:
D | Sides and soffits of lintels | 23 | m2 | 7500 | 172500
GATE COLUMNS
| Carried to Summary |  |  | N | 637300
Element Nr. 3
FITTINGS AND FIXTURES
L30: Rails /Grills /Gates
A | Purpose made and design steel entrance gate double leaf with strong frame,pedestrian gates,all primed and paint with gloss overall size 5000 x 2500mm high and 1200 x 2100mm high single leaf gate. Painting included. | 1 | Nr | 687500 | 687500
B | Purpose made steel fabricated fence grill overall size 3000 x 1200 mm high including horizontal and vertical hollow pipes welded together and building in concrete work or block work.To include Concertiana barbwire, Y angle iron and painting. | 133 | Nr | 45000 | 5985000
C | Allow provisional sum for electrical works in this section of work incuding accesso | 1 | sum | 532000 | 532000
FITTINGS AND FIXTURES
| Carried to Summary |  |  | N | 7204500
Element Nr. 4
WALL FINISHES
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
A | Walls | 1742 | m2 | 3200 | 5574400
B | Tyrolean finish sprayed onto wall, piers and columns | 343 | m2 | 2800 | 960400
M60: Painting/Clear finishing
Prepare and apply two finishing coats of emulsion paint on:
C | Walls | 1742 | m2 | 1350 | 2351700
D | 2 coats of paint on tyrolean finished wall, piers and columns | 343 | m | 1350 | 463050
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
Approved ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement.
E | Stone tiles | 137 | m2 | 4500 | 616500
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
F | 15mm screeded backings | 137 | m2 | 2350 | 321950
WALL FINISHES
| Carried to summary |  |  | N | 10904500
SUMMARY
| SUBSTRUCTURE |  |  | 10295720
| EXTERNAL WALLS |  |  | 637300
| WALL FINISHES |  |  | 10904500
FENCE WORK
| Carried to General Summary |  |  | N | 21837520
M2
GFA
Coat/GFA (Vat % Prelim exclusive)
| COST/UNIT |  |  |  | 21837520
| Net construction cost |  |  | 21837520
Add
| Prelims @ 5% |  |  | 1091876
| Estimated total cost |  | N | 22929396
Add
| Vat @ 7.5% |  |  | 1719704.7
24649100.7
| COST/UNIT {_with prelim & vat } |  |  | 12324550.35
| Cost/GFA {_with prelim & vat } |  |  | #DIV/0!

## Cover page (4)
EXTERNAL WORKS

## External work
ELEMENT NR. 1
SITE CLEARANCE AND EARTHWORKS
General external work
A | Allow a provisional sum of Six million Naira only (6,000,000.00) for External Works i.e Interlocking, Landscaping,Septic tank, Soakaway to further Architectural/ Structural design details and other external work required as may be directed by Architect and Structure Engineer | sum |  | 6000000
EXTERNAL WORK
| Carried to Summary |  | N | 6000000
Element Nr. 2
UTILITY AREA , GROCERY STORE, MOSQUE
A | Allow a provisional sum of 1,120,000 for the landscaping of 32m2 utility area including all necessary aminities. | Sum |  | 1120000
B | Allow a provisional sum of 9,180,000 for the construction of 54m2 , Well finished grocery store , to be covered using long span aluminium of 0.55mm guage, including complete electrical and mechanical installation. | Sum |  | 9180000
C | Allow a provisional sum of 5,120,000 for the construction of 32m2 , Well finished MOSQUE, to be covered using long span aluminium of 0.55mm guage, including complete electrical and mechanical installation. | Sum |  | 5120000
UTILITY AREA , GROCERY STORE, MOSQUE
| Carried to Summary |  | N | 15420000
SUMMARY
| LANDSCAPING |  | 6000000
| UTILITY AREA , GROCERY STORE, MOSQUE |  | 15420000
EXTERNAL WORK
| Carried to General Summary |  | N | 21420000
| Net construction cost |  | 21420000
Add
| Prelims @ 5% |  | 428400
| Estimated total cost | N | 21848400
Add
| Vat @ 7.5% |  | 1638630
23487030
| COST/UNIT {_with prelim & vat } |  | 11743515
| Cost/GFA {_with prelim & vat } |  | #REF!

## Cover page (5)
CIVIL WORKS (INFRASTRUCTURE)

## civil works
ELEMENT NR. 1
SITE CLEARANCE AND EARTHWORKS
D20: EXCAVATING AND FILLING
General Site Clearance
A | Removing top soil average 150mm deep accordingly including carriageway. | 1825 | m2 | 250 | 456250
B | Shape, scarify and compact to subgrade formation level as specified to 100% B.S. compaction | 1825 | m3 | 150 | 273750
C | Excavate any material except rock in cutting , hual excavated material, distance not exceeding 1km deposite ,spread and compact to 100% BS on embankments, service roads and trim slopes to required cross section | 193 | m3 | 2000 | 386000
D | Excavate laterite from approved borrow pits, haul excavated material any distance, deposit spread in maximum 150mm layers and compact to 100% B.S. compaction at OMC as filling for embarkments and margins, shape formation and trim slopes to required cross section. | 580 | m2 | 2000 | 1160000
SITE CLEARANCE AND EARTHWORKS
| Carried to Summary |  |  | N | 2276000
Element Nr. 2
PAVEMENT AND SURFACING
E10: In situ concrete
A | LAYING OF STONEBASE -layed and compacted to 100% B.S. of maximum density to 150mm | 2269 | m3 | 3200 | 7260800
B | PRIMING AND BLINDING- Priming road area with MC1 cut-back bitumen at 0.9l/m² including blinding sharp sand | 2269 | m3 | 1200 | 2722800
C | Provide and spray colash in preparation to lay asphalt | 2269 | m3 | 750 | 1701750
ASPHALT CONCRETE
D | Provide, Lay and Compact carriageway with asphalt concrete in 40mm thickness | 2269 | m2 | 17000 | 38573000
ROAD WORKS
| Carried to Summary |  |  | N | 50258350
Element Nr. 3
KERBS
L30: Stairs/Walkways/Balustrades
A | provide and install type c kerbs on both side of the carriage way including Excavation , laying and hunching | 220 | Nr | 4200 | 924000
FITTINGS AND FIXTURES
| Carried to Summary |  |  | N | 924000
SUMMARY
| SITE CLEARANCE AND EARTHWORK |  |  | 2276000
| PAVEMENT AND SURFACING |  |  | 50258350
| KERBS |  |  | 924000
FENCE WORK
| Carried to General Summary |  |  | N | 53458350
M2
GFA
Coat/GFA (Vat % Prelim exclusive)
| COST/UNIT |  |  |  | 53458350
| Net construction cost |  |  | 53458350
Add
| Prelims @ 5% |  |  | 2672917.5
| Estimated total cost |  | N | 56131267.5
Add
| Vat @ 7.5% |  |  | 4209845.0625
60341112.5625
| COST/UNIT {_with prelim & vat } |  |  | 30170556.2812
| Cost/GFA {_with prelim & vat } |  |  | #DIV/0!

## General Summary
ITEM | DESCRIPTION | UNIT | AMOUNT | TOTAL AMOUNT
GENERAL SUMMARY
PRELIMINARIES
| MAIN BIULDING | 23 | 89260488.7445 | 2052991241.124
| GATE HOUSE |  |  | 3645029.4825
| FENCE |  |  | 24649100.7
[5 empty] | 2081285371.3065 | 747620000
| GENERAL EXTERNAL WORK |  |  | 23487030
| CIVIL WORK(INFRASTRUCTURE) |  |  | 60341112.5625
| GRAND TOTAL ESTIMATE |  |  | 2165113513.869