## hotel
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
D20: EXCAVATING AND FILLING
General Site Clearance
A | Excavate oversite to remove vegetable soil average 150mm deep. | 457 | m2 | 150 | 68550
B | Excavate trench to receive foundation starting from stripped level and not exceeding 2.00m deep. | 28 | m3 | 1500 | 42000
C | Excavate pit for column bases starting from stripped level and not exceeding 1.50m deep. |  | m3 | 1500 | 0
D | Excavate for working space including back filling arround retaining walls starting from stripped level and not exceeding 1.50m deep. |  | m3 | 1500 | 0
E | Level and compact bottom of excavation to receive concrete in foundation. | 64 | m2 | 250 | 16000
F | Remove surplus excavated material from site. | 12 | m3 | 650 | 7800
G | Return, fill and consolidate selected excavated material around foundation. | 14 | m3 | 500 | 7000
H | Approved laterite earth filling to make up level well rammed and consolidated in layers of 150mm thick. |  | m3 | 7187 | 0
J | 100mm thick approved rock hardcore filling well rammed and consolidated. | 206 | m2 | 6300 | 1297800
K | Dieldrex 20" anti-termites to surfaces of excavation |  | m2 | 150 | 0
E10: In situ concrete
Vibrated Concrete Grade 15 in:
L | 50mm blinding under bases | 68 | m2 | 2200 | 149600
Vibrated Concrete grade 20 in
M | Foundation & steps |  | m3 | 50000 | 0
N | 150mm horizontal bed | 29 | m3 | 50000 | 1450000
| Carried to Collection |  |  | N | 3038750
SUBSTRUCTURE CONT'D
Reinforced insitu concrete
Vibrated Concrete grade 25 in:
A | Ground beam | 21 | m3 | 65000 | 1365000
B | 250mm horizontal bed | 85 | m3 | 65000 | 5525000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in column bases, columns & retaining walls etc
C | 16mm diameter bar in ground beam | 1564 | kg | 600 | 938400
D | 8mm diameter ground beam | 756 | kg | 600 | 453600
E | 12mm diameter bar in slab | 4250 | kg | 600 | 2550000
BRC Fabric mesh reinforcement to BS 4483 ref.No A.142 weighing 2.22kg/sq.m lapped 200mm at all joints in:
F | Bed |  | m2 | 1500 | 0
E20: Formwork for in situ concrete
Sawn formwork to:
G | Sides of ground beam | 91 | m2 | 5500 | 500500
H | Edges of ground floor bed 350mm high | 22 | m2 | 5500 | 121000
Expansion Joints
J | Particle board set vertically between raft wall |  | m2 | 4500 | 0
K | Ditto between concrete bed, 350mm high |  | m2 | 4500 | 0
| Carried to collection |  |  | N | 11453500
SUBSTRUCTURE CONT'D
Sawn formwork to:
A | Edges of ground floor bed 150mm high |  | m | 800 | 0
F10: Brick/Block walling
Hollow sandcrete blockwork filled solid with vibrated concrete grade 15 and jointed in cement mortar
B | 225mm wall |  | m2 | 7500 | 0
Damp Proofing
Damp proof membrane
C | 0.26mm polythene damp proof membrane lapped 450mm at all welted joints, laid on hardcore | 254 | m2 | 350 | 88900
| Carried to collection |  |  | N | 88900
COLLECTION
| page /1 |  |  | 3038750
| page /2 |  |  | 11453500
| page /3 |  |  | 88900
SUBSTRUCTURE
| Carried to Summary |  |  | N | 14581150
Element Nr. 2
FRAME
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
A | Columns | 17 | m3 | 65000 | 1105000
B | Beams | 56 | m3 | 65000 | 3640000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, columns etc
C | 25mm diameter bar | 1370 | kg | 600 | 0
D | 20mm diameter bar | 1081 | kg | 600 | 648600
E | 16mm diameter bar | 4469 | kg | 600 | 2681400
F | 12mm diameter bar | 172 | kg | 600 | 103200
G | 10mm diameter links and stirrups | 2632 | kg | 600 | 1579200
E20: Formwork for in situ concrete
Sawn formwork to:
H | Vertical sides of columns | 291 | m2 | 5500 | 1600500
J | sides and soffits of beams | 583 | m2 | 5500 | 3206500
FRAME
| carried to Summary |  |  | N | 14564400
Element Nr. 3
UPPER FLOOR
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
53.1
A | Suspended floor slabs | 124 | m3 | 65000 | 8060000 | 826.6667
B | Lift shaft | 50 | m3 | 65000 | 3250000 | 333.3333
| E30: Reinforcement for in situ concrete | [5 empty] | 10951.68
High yield deformed bars to BS 4449 in concrete floor slabs ,lift bases and wall.
C | 12-10mm diameter bars | 14866 | kg | 600 | 8919600
D | 12mm diameter bars | 1682 | kg | 600 | 1009200
E20: Formwork for in situ concrete
Sawn formwork to:
E | Horizontal soffit of suspended floor slab | 743 | m2 | 5500 | 4086500
F | Edge of slab 150mm wide | 240 | m | 825 | 198000
G | Vertical sides of lift shaft | 216 | m2 | 5500 | 1188000
UPPER FLOORS
| Carried to Summary |  |  | N | 26711300
Element Nr. 4
STAIRCASES
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
A | Staircases including landings and beams | 12 | m3 | 65000 | 780000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, staircases and landing
B | 12mm diameter bar | 789 | kg | 600 | 473400
E20: Formwork for in situ concrete
Sawn formwork to:
C | Sloping soffit of staircases / ramps | 47 | m2 | 5500 | 258500
D | Soffits of landing | 13 | m2 | 5500 | 71500
E | Sides and soffits of beam |  | m | 5500 | 0
F | Sides of staircases / ramps including cutting and fitting to risers. | 14 | m2 | 5500 | 77000
G | Risers of steps 150mm high | 148 | m | 825 | 122100
H | Sides of Landing | 51 | m | 825 | 42075
| Carried to Collection |  |  | N | 1824575
Element Nr. 5
ROOF
E10: In situ concrete
Reinforced Insitu Concrete
Vibrated Concrete Grade 20
[7 empty] | 0.83 | 60.424
A | Beams | 11 | m3 | 65000 | 715000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in beams, facia, slab, & copping.
B | 16-10mm diameter bars | 1781 | kg | 600 | 1068600
E20: Formwork for in situ concrete
Sawn formwork to:
C | Sides and soffits of roof beams | 98 | m2 | 5500 | 539000
| Carried to Collection |  |  | N | 2322600
Element Nr. 6
EXTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
647
A | 230mm wall | 769 | m2 | 6900 | 5306100 |  | 647
B | 150mm wall |  | m2 | 6500 | 0
E10: In situ concrete
Reinforced Vibrated Insitu Concrete Grade 20
C | Lintels | 6 | m3 | 65000 | 390000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars | 383 | kg | 600 | 229800
E | 10mm diameter bars in links and stirrups | 234 | kg | 600 | 140400
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 73 | m2 | 5500 | 401500
Expansion Joints
G | Particle board set vertically between blockwall |  | m2 | 5000 | 0 |  |  |  | 0
EXTERNAL WALLS
| Carried to Summary |  |  | N | 6467800
Element Nr. 7
WINDOWS AND EXTERNAL DOORS
L11: Metal windows/rooflights/screens/louvres
L10: Windows/roofing-lights/Screens/ Louvres
Single openable pannel aluminium casement window coupled with top and bottom fixed light, super skylum HDC system (mini), flyscreen, powder coated aluminium section and glazed with 5mm thick bronze tinted.
A | Window size 5800 x 2500mm high | 3 | Nr | 870000 | 2610000
B | Window size 1500 x 6500mm high | 1 | Nr | 585000 | 585000
C | Ditto 1200 x 1500mm high | 45 | Nr | 108000 | 4860000
D | Ditto 600 x 900mm high | 23 | Nr | 32400 | 745200
Window Subframe
E | Window size 5800 x 2500mm high | 3 | Nr | 108750 | 326250
F | Window size 1500 x 6500mm high | 1 | Nr | 73125 | 73125
G | Ditto 1200 x 1500mm high | 45 | Nr | 13500 | 607500
| Ditto 600 x 900mm high | 23 | Nr | 4050 | 93150
Supply and fix 2 track , 5mm thick guage single leaf decorative aluminium sound panel door security doors externally.
H | Door size 1500 x 2400mm high | 2 | Nr | 432000 | 864000
J | Door size 900 x 2100mm high | 2 | Nr | 226800 | 453600
Supply and fix 3 track and sliding door complete with frame, architrave and accessories from approved manufacturers.
K | Ditto 1800x2100mm high | 6 | Nr | 378000 | 2268000
WINDOWS AND EXTERNAL DOORS
| Carried to Summary |  |  | N | 13485825
Element Nr. 8
INTERNAL WALLS
F10: Brick/Block walling
Hollow sandcrete blockwork laid and jointed in cement mortar (1:3) mix:
A | 230mm wall | 924 | m2 | 6900 | 6375600
B | 150mm wall | 13 | m2 | 6500 | 84500
E10: In situ concrete
Reinforced Vibrated Insitu Concrete Grade 20
C | Lintels | 3 | m3 | 65000 | 195000
E30: Reinforcement for in situ concrete
High yield deformed bars to BS 4449 in lintels
D | 12mm diameter bars | 214 | kg | 600 | 128400
E | 10mm diameter bars in links and stirrups | 160 | kg | 600 | 96000
E20: Formwork for in situ concrete
Sawn formwork to:
F | Sides and soffits of lintels | 41 | m2 | 5500 | 225500
INTERNAL WALLS
| Carried to Summary |  |  | N | 7105000
Element Nr. 9
INTERNAL DOORS
Wood work - doors/shutters/hatches
Supply and fix Single leaf Decorative sound panel door complete with frame, architrave and accessories from approved manufacturers.
A | Door size 1200x2100mm high | 2 | Nr | 100000 | 200000
B | Door size 900x2100mm high | 19 | Nr | 100000 | 1900000
C | Ditto 750x2100mm high | 17 | Nr | 95000 | 1615000
Wood work - doors/shutters/hatches
Supply and fix Single leaf Decorative sound panel swing door complete with frame, architrave and accessories from approved manufacturers.
D | Door size 1800x2100mm high | 2 | Nr | 100000 | 200000
E | Door size 900x2100mm high | 6 | Nr | 100000 | 600000
F | Ditto 750x2100mm high | 2 | Nr | 95000 | 190000
INTERNAL DOORS
| Carried to Summary |  |  | N | 4705000
Element Nr. 10
WALL FINISHES
Internal work
M20: Plastered/Randered/Roughcast coatings
15mm thick cement and sand (1:4) smooth rendering to:
A | Walls | 1719 | m2 | 2650 | 4555350
B | Ditto not exceeding 300mm girth including dressing around that arises. | 282 | m | 1300 | 366600
M31: Fibrous Plaster of Paris
POP Wall Floating
Prepare and apply ''aduplan'' or other equal and approved wall floating material on rendered walls
C | Rendered surfaces |  | m2 | 1100 | 0
D | Rendered surfaces, width not exceeding 300mm |  | m | 450 | 0
M60: Painting/Clear finishing
Prepare and apply two finishing coats of emulsion paint on:
E | Walls | 0 | m2 | 1450 | 0
F | Ditto not exceeding 300mm girth |  | m | 550 | 0
M40: Stone/Concrete/Quarry/Ceramic/ Mosaic tiling
Approved ceramic wall tiles bedded and jointed in cement and sand (1:3) screeded backing (measured separately) and pointed in matching coloured cement.
G | Kitchen walls |  | m2 | 4500 | 0
H | Toilet walls |  | m2 | 4500 | 0
M10: Sand cement beds /Concrete/Screeds/ backings
Cement and sand (1:3) in backings
J | 15mm screeded backings | 0 | m2 | 1650 | 0
External work
M20: Plastered/Rendered/Roughcast/ Coatings
15mm thick cement and sand (1:5) smooth rendering to:
K | Walls | 769 | m2 | 2650 | 2037850
L | Parapet wall |  | m2 | 2650 | 0
M | Ditto not exceeding 300mm girth including dressing the arrises | 302 | m | 1300 | 392600
N | Capping on canopy and outdoor wall |  | m | 400 | 0
P | Dressing of groves on wall |  | m | 500 | 0
| Carried to Collection |  |  | N | 7352400
Element Nr. 10
MECHANICAL INSTALLATIONS
Plumbing Installations
A | Allow provisional sum for this section for waste and water pipes incuding soakaway |  | SUM |  | 1750000
MECHANICAL INSTALLATIONS
| Carried to Collection |  |  | N | 1750000
Element Nr. 11
ELECTRICAL INSTALLATIONS
B | Allow provisional sum for this section for cables and conduits incuding accessories |  | SUM |  | 4284000
ELECTRICAL INSTALLATIONS
| Carried to Collection |  |  | N | 4284000
SUMMARY
| SUBSTRUCTURE |  |  | 14581150
| FRAME |  |  | 14564400
| UPPER FLOORS |  |  | 26711300
| STAIRCASES |  |  | 1824575
| ROOF |  |  | 2322600
| EXTERNAL WALLS |  |  | 6467800
| WINDOWS AND EXTERNAL DOORS |  |  | 13485825
| INTERNAL WALLS |  |  | 7105000
| INTERNAL DOORS |  |  | 4705000
| WALL FINISHES |  |  | 7352400
| PLUMBING INSTALLATIONS |  |  | 1750000
| ELECTRICAL INSTALLATIONS |  |  | 4284000
MAIN BUILDING - HOTEL
| Net construction cost/Blk |  |  |  | 105154050
| Prelims @ 3% |  |  |  | 3154621.5
| Add |  |  |  | 108308671.5
| Vat @ 7.5% |  |  |  | 8123150.3625
| MAIN BUILDING |  |  | N | 116431821.8625
Carried to General Summary
| GFA | 1071 | M2
| COST/M2 |  |  | 108713.1857
| COST/UNIT |  |  | 29107955.4656
fg