## Cover page
BILL OF QUANTITIES
FOR
PROPOSED RESIDENTIAL DEVELOMENT 5 BEDROOM TERRACE (4 UNITS)
PROJECT:
PROPOSED RESIDENTIAL, AT PLOT 332, CADASTRAL ZONE B11 KAURA DISTRICT, ABUJA - F.C.T.
Architects | Quantity Surveyors
COST & TENDER LIMITED
JULY, 2024

## 5 bd Terrace detatch
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 1
SUBSTRUCTURE (All Provisional)
GROUNDWORK
A | site clearance | 484 | m2 | 500 | 242000
B | Topsoil excavation |  | m2 |  | 0
C | Pit excavation for raft foundation | 629 | m3 | 1900 | 1195100
D | Leveling and compacting | 483.8778 | m3 | 250 | 120969.45
E | Disposal of excessive material off-site | 629 | m3 | 1400 | 880600
HARDCORE: ROCK LATERITE AS SPECIFIED
Filling to make up level
F | Approved laterite filling; exceeding 250mm-750mm thick;obtained off site; deposited in layers 150mm maximum thicknes;well compacted and consolidated under bed | 256 | m3 | 6500 | 1664000
G | 150-300mm Hardcore filling laid under floor bed. | 341 | m2 | 4500 | 1534500
IN SITU CONCRETE/LARGE PRECAST CONCRETE
Mixing/Casting/Curing in situ concrete
Plain; Concrete Grade 15; developing minimum 20N/mm2 working strengh in 28days
H | Blinding beds, not exceeding 50mm thick; poured on earth surfaces under bed | 484 | m2 | 6500 | 3146000
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
K | Beds, not exceeding 150 - 300mm thick | 60 | m3 | 80000 | 4800000
L | Ground Beam | 51 | m3 | 85000 | 4335000
N | Raft Slab | 120 | m3 | 85000 | 10200000
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
P | Edges of beds; not exceeding 250mm high | 90 | m | 1500 | 135000
Q | Sides of Ground Beam | 443 | m2 | 8500 | 3765500
R | Sides of isolated column |  | m2 | 8500 | 0
R | Sides of Raft slab | 29 | m2 | 8500 | 246500
| Carried to Collection |  |  |  | 32265169.45
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
REINFORCEMENT FOR IN SITU CONCRETE (All provisional)
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 8mm to 16mm nominal size in:
Basement slab
Raft slab
A | 12mm | 7506 | kg | 1450 | 10883700
Column
A | 16mm | 581 | kg | 1450 | 842450
A | 10mm | 251 | kg | 1450 | 363950
Ground Beam
A | 20mm | 828 | kg | 1450 | 1200600
A | 16mm | 2946 | kg | 1450 | 4271700
A | 10mm | 1164 | kg | 1450 | 1687800
BRC Fabric mesh reinforcement to BS 4483 ref.No A.142 weighing 2.22kg/sq.m lapped 200mm at all joints in:
M | Bed | 376 | m2 | 2000 | 752000
WATERPROOFING
Mastic asphalt tanking / Damp proofing membranes
K | 1200 gauge polythene sheet single layer with 150mm side and end laps; laid; horizontally over 300mm wide | 398 | m2 | 650 | 258700
L | Allow a provisional sum for setting-out |  | sum
| Carried to collection |  |  |  | 20260900
COLLECTION
| page/1 |  |  |  | 32265169.45
| page/2 |  |  |  | 20260900
| GROUNDWORK (SUBSTRUCTURE) Carried to Summary |  |  |  | 52526069.45
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 2
GROUND FLOOR
IN SITU CONCRETE/LARGE PRECAST CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Columns | 5.4 | m3 | 85000 | 459000
B | Staircase and Landing | 6.5 | m3 | 85000 | 552500
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
C | Column Isolated regular shape | 94 | m2 | 8500 | 799000
D | Ditto: Staircase, landing and short columns | 40 | m2 | 8500 | 340000
E | Ditto: Risers and treads | 87 | m | 1500 | 130500
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 25mm nominal size in:
Columns
F | 10mm reinforcement bar | 420 | kg | 1450 | 609000
G | 16mm reinforcement bar | 947 | kg | 1450 | 1373150
Staircase
H | 12mm - 12mm reinforcement bar | 718 | kg | 1450 | 1041100
| Carried to collection |  |  |  | 5304250
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Ground floor continuos;
INTERNAL AND EXTERNAL WALLS
IN SITU CONCRETE/LARGE PRECAST CONCRETE
MIXING/CASTING/CURING IN SITU CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Lintels/Arches | 2 | m3 | 85000 | 170000
B | Coping |  | m3 |  | 0
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
C | Sides and soffits of lintel not exceeding 250mm high | 20 | m2 | 8500 | 170000
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 16mm nominal size in:
E | 10mm reinforcement bar | 77 | kg | 1450 | 111650
F | 12mm reinforcement bar | 103 | kg | 1450 | 149350
MASONRY
BRICK/CEMENT BLOCK WALLING
Blockwork;Sandcrete; 225 x 450mm nominal; laid strecher bond on cement and sand mortar mix (1:3) flush pointed
Walls
G | 230mm; thick hollow block | 552.9 | m2 | 10300 | 5694870
G | 150mm; thick hollow block | 45 | m2 | 9500 | 427500
| Carried to collection |  |  |  | 6723370
COLLECTION
| page/3 |  |  |  | 5304250
| page/4 |  |  |  | 6723370
| GROUND FLOOR Carried to Summary |  |  |  | 12027620
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 3
FIRST FLOOR
IN SITU CONCRETE/LARGE PRECAST CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Columns | 8 | m3 | 85000 | 680000
B | Beams | 21.7 | m3 | 85000 | 1844500
C | Slab | 61.5 | m3 | 85000 | 5227500
D | Staircase and Landing | 6.5 | m3 | 85000 | 552500
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
E | Column Isolated regular shape | 141 | m2 | 8500 | 1198500
F | Beam Attached to slab regular shape | 262 | m2 | 8500 | 2227000
G | Soffit of suspended slab | 383 | m2 | 8500 | 3255500
H | Ditto: Staircase and Landing | 40 | m2 | 8500 | 340000
J | Ditto: Risers and treads | 87 | m | 8500 | 739500
J | Ditto: Edge of slab 150mm wide | 99 | m | 1500 | 148500
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 25mm nominal size in:
Columns
K | 10mm reinforcement bar | 629 | kg | 1450 | 912050
L | 16mm reinforcement bar | 1421 | kg | 1450 | 2060450
Beams
M | 10mm reinforcement bar | 1018 | kg | 1450 | 1476100
N | 16mm reinforcement bar | 3492 | kg | 1450 | 5063400
P | 20mm reinforcement bar | 1172 | kg | 1450 | 1699400
Slab
Q | 12mm reinforcement bar | 4195 | kg | 1450 | 6082750
Staircase
R | 10mm - 12mm reinforcement bar | 718 | kg | 1450 | 1041100
| Carried to collection |  |  |  | 34548750
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
First floor continuos;
INTERNAL AND EXTERNAL WALLS
IN SITU CONCRETE/LARGE PRECAST CONCRETE
MIXING/CASTING/CURING IN SITU CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Lintels/Arches | 2 | m3 | 85000 | 170000
B | Coping |  | m3 |  | 0
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
C | Sides and soffits of lintel not exceeding 250mm high | 20 | m2 | 8500 | 170000
D | Sides of coping |  | m |  | 0
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 16mm nominal size in:
E | 10mm reinforcement bar | 77 | kg | 1450 | 111650
F | 12mm reinforcement bar | 103 | kg | 1450 | 149350
MASONRY
BRICK/CEMENT BLOCK WALLING
Blockwork;Sandcrete; 225 x 450mm nominal; laid strecher bond on cement and sand mortar mix (1:3) flush pointed
Walls
G | 230mm; thick hollow block | 645 | m2 | 10300 | 6643500
G | 150mm; thick hollow block | 45 | m2 | 9500 | 427500
H | Expansion joint |  | m |  | 0
| Carried to collection |  |  |  | 7672000
COLLECTION
| page/5 |  |  |  | 34548750
| page/6 |  |  |  | 7672000
| FIRST FLOOR Carried to Summary |  |  |  | 42220750
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 4
SECOND FLOOR
IN SITU CONCRETE/LARGE PRECAST CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Columns | 8 | m3 | 8500 | 68000
B | Beams | 19.91 | m3 | 8500 | 169235
C | Slab | 64.8 | m3 | 8500 | 550800
D | Staircase and Landing | 0 | m3 | 8500 | 0
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
E | Column Isolated regular shape | 141 | m2 | 8500 | 1198500
F | Beam Attached to slab regular shape | 240 | m2 | 8500 | 2040000
G | Soffit of suspended slab | 410 | m2 | 8500 | 3485000
H | Ditto: Staircase and Landing |  | m2 | 8500 | 0
J | Ditto: Risers and treads |  | m | 8500 | 0
J | Ditto: Edge of slab 150mm wide | 106 | m | 1500 | 159000
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 25mm nominal size in:
Columns
K | 10mm reinforcement bar | 629 | kg | 1450 | 912050
L | 16mm reinforcement bar | 1421 | kg | 1450 | 2060450
Beams
M | 10mm reinforcement bar | 856 | kg | 1450 | 1241200
N | 16mm reinforcement bar | 2674 | kg | 1450 | 3877300
P | 20mm reinforcement bar | 90 | kg | 1450 | 130500
Slab
Q | 12mm reinforcement bar | 3928 | kg | 1450 | 5695600
Staircase
R | 10mm - 12mm reinforcement bar |  | kg | 1450 | 0
| Carried to collection |  |  |  | 21587635
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
First floor continuos;
INTERNAL AND EXTERNAL WALLS
IN SITU CONCRETE/LARGE PRECAST CONCRETE
MIXING/CASTING/CURING IN SITU CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Lintels/Arches | 2 | m3 | 8500 | 17000
B | Coping |  | m3 |  | 0
FORMWORK FOR IN SITU CONCRETE
Plain vertical sawn formwork
C | Sides and soffits of lintel not exceeding 250mm high | 20 | m2 | 8500 | 170000
D | Sides of coping |  | m |  | 0
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 16mm nominal size in:
E | 10mm reinforcement bar | 77 | kg | 1450 | 111650
F | 12mm reinforcement bar | 103 | kg | 1450 | 149350
MASONRY
BRICK/CEMENT BLOCK WALLING
Blockwork;Sandcrete; 225 x 450mm nominal; laid strecher bond on cement and sand mortar mix (1:3) flush pointed
Walls
G | 230mm; thick hollow block | 645 | m2 | 10300 | 6643500
G | 150mm; thick hollow block | 45 | m2 | 9500 | 427500
H | Expansion joint |  | m |  | 0
| Carried to collection |  |  |  | 7519000
COLLECTION
| page/5 |  |  |  | 21587635
| page/6 |  |  |  | 7519000
| FIRST FLOOR Carried to Summary |  |  |  | 29106635
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 5
ROOF
IN SITU CONCRETE/LARGE PRECAST CONCRETE
IN SITU CONCRETE
Reinfoced; Concrete Grade 25; developing minimum 20N/mm2 working strengh in 28days
A | Roof beams and fascia | 11 | m3 | 85000 | 935000
B | Roof deck | 3 | m3 | 85000 | 255000
C | coping |  | m3 | 85000 | 0
D | Short columns in paraphet wall | 3 | m3 | 85000 | 255000
FORMWORK FOR IN SITU CONCRETE
Beams Recesses;regular shape; straight; 1.50 - 3.00m high to soffit
E | Sides of roof beams not exceeding 250 - 500mm high | 116 | m2 | 8500 | 986000
F | Sides and soffit of roof deck exceeding 0.50m -1.00m high | 20 | m2 | 8500 | 170000
G | Sides and soffit of fascia exceeding 0.50m -1.00m high |  | m |  | 0
H | Sides of short columns exceeding 0.50m -1.00m high | 51 | m2 | 8500 | 433500
REINFORCEMENT FOR IN SITU CONCRETE
High tensile bar to BS 4449, straight and bent Horizontal length 12.0m
Bars; 10 - 25mm nominal size in:
Roof beams
J | 10mm reinforcement bar | 556 | kg | 1450 | 806200
K | 16mm reinforcement bar | 1050 | kg | 1450 | 1522500
Roof deck
L | 12mm reinforcement bar | 192 | kg | 1450 | 278400
Short column
M | 10mm reinforcement bar |  | kg |  | 0
N | 12mm reinforcement bar |  | kg |  | 0
| To collection |  |  |  | 5641600
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
STRUCTURAL/CARCASSING METAL/TIMBER
Sawn 'Mahogany' hardwood; well seasoned; treated timber with anti-termite treatment:
A | 50x150mm hardwood timber; Rafters | 424 | m | 550 | 233200
B | 50x150mm hardwood timber ;Tie beams | 405 | m | 550 | 222750
C | 50x150mm hardwood timber ; Kingposts | 60 | m | 550 | 33000
D | 50x100mm hardwood timber; Struts | 414 | m | 550 | 227700
E | 50x75mm hardwood timber; Purlins | 586 | m | 450 | 263700
F | 50x50mm hardwood timber; noggings | 1440 | m | 400 | 576000
CLADDING/COVERING
Aluminium strip/sheet coverings/flashing
0.55mm coloured Long span Aluminium roofing sheet with 150mm end lapped and fixed in accordance with manufacturer's instruction with drive screw nut and washer where required (measured net) on hardwood timber trusses (measured separately):
G | Roofing | 481 | m2 | 9000 | 4329000
H | Angle ridge/capping |  | m |  | 0
J | flashing |  | m | 2700 | 0
K | Eave angle |  | m |  | 0
L | Extra over for trimming edges |  | item
Bars; 10 - 25mm nominal size in:
Short columns in paraphet wall
M | 10mm reinforcement bar | 143 | kg | 1450 | 207350
N | 12mm reinforcement bar | 198 | kg | 1450 | 287100
MASONRY
BRICK/CEMENT BLOCK WALLING
Blockwork;Sandcrete; 225 x 450mm nominal; laid strecher bond on cement and sand mortar mix (1:3) flush pointed
Parapet
G | 230mm; thick hollow block | 101 | m2 | 10300 | 1040300
Supply and lay 4mm thick SMB elastometric feltmembrane with granular topping laid in accordance with manufacturer's instructions
P | Gutter slab and paraphet wall | 75 | m2 | 4500 | 337500
| To collection |  |  |  | 7757600
COLLECTION
| page/9 |  |  |  | 5641600
| page/10 |  |  |  | 7757600
| ROOF Carried to summary |  |  |  | 13399200
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 6
WINDOWS
WINDOWS/ROOFLIGHTS/SCREENS/LOUVRES
Supply and fix aluminium sub-frame including plugging to concrete or blockwork and point all round with mastics and weather sills:
Casement Windows, sub-frames
A | Size; 2400 X 1800mm high overall | 8 | nr | 25920 | 207360
B | Size; 1200 X 1800mm high overall | 25 | nr | 86400 | 2160000
C | Size; 750 X 1800mm high overall | 34 | nr | 25920 | 881280
D | Size; 600 X 1200mm high overall | 20 | nr | 12960 | 259200
| WINDOWS Carried to summary |  |  |  | 3507840
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 7
FITTINGS AND FIXTURES
HEATING, VENTILATION AND AIR-CONDITIONING
A | AC Conduiting works to be expended as directed |  | sum |  | 250000
102000
| FITTINGS AND FIXTURES Carried to summary |  |  |  | 250000
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 8
WALL FINISHES
SURFACE FINISHES
PLASTERED/RENDERED/ROUGHCAST COATINGS
15mm cement and sand (1:3) rendering and finish fair and smooth on:
Walls
A | Surfaces over 300mm wide; internal | 2113 | m2 | 3500 | 7395500
B | Surfaces over 300mm wide; external | 956 | m2 | 3500 | 3346000
B | Surfaces over 300mm wide; parapet | 202 | m2 | 3500 | 707000
C | Surfaces to received doors and windows not exceeding 300mm wide; | 924 | m | 1050 | 970200
D | Surfaces to coping not exceeding 300mm wide; |  | m |  | 0
15000
E | Surfaces 100mm wide plaster impression |  | m |  | 0
F | Tyrolean over 300mmwide |  | m2 |  | 0
| WALL FINISHES Carried to summary |  |  |  | 12418700
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 9
ELECTRICAL SERVICE INSTALLATION
A | Allow a provisional sum for all electrical installations work to be expended as directed |  |  |  | 3650000
| ELECTRICAL SERVICES INSTALLATION Carried to summary |  |  |  | 3650000
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NR. 10
PLUMBING SERVICES INSTALLATION
Provisional Sum
A | Supply and install UPVC, pipes and all other necessary accessories associated with Plumbing installations |  | sum |  | 1870000
| PLUMBING SERVICES INSTALLATION Carried to summary |  |  |  | 1870000
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUMMARY
1 | GROUND WORK (SUBSTRUCTURE) |  |  |  | 52526069.45
2 | GROUND FLOOR |  |  |  | 12027620
3 | FIRST FLOOR |  |  |  | 42220750
5 | ROOF |  |  |  | 13399200
6 | WINDOWS |  |  |  | 3507840
7 | FITTINGS AND FIXTURES |  |  |  | 250000
8 | WALL FINISHES |  |  |  | 12418700
9 | ELECTRICAL SERVICE INSTALLATIONS |  |  |  | 3650000
10 | PLUMBING SERVICES INSTALLATIONS |  |  |  | 1870000
4 UNITS TERRACE;
| ESTIMATED TOTAL COST OF THE BUILDING |  |  |  | 141870179.45