## Cover Page
BILL OF QUANTITIES
FOR
RECONSTRUCTION/REHABILITATION OF BUILDING FACILITIES
FOR
POLICE DETECTIVE COLLEGE ENUGU, ENUGU STATE
BENEFICIARY
POLICE DETECTIVE COLLEGE, ENUGU SOUTH LGA, ENUGU STATE
CLIENT
UNDP NIGERIA
NOVEMBER, 2023

## Table of Content
RECONSTRUCTION/REHABILITATION OF BUILDING FACILITIES AT POLICE DETECTIVE COLLEGE, ENUGU SOUTH LGA - ENUGU STATE
TABLE OF CONTENTS
S/No. | Documents | No. of Pages
1 | Cover Page | 1
2 | Summary | 1
3 | Prelimnaries | 1
4 | BOQ No. 1: Library Building | 6
5 | BOQ No. 2: Forensic Laboratory Building | 4
6 | BOQ No. 3: Medical Health Building | 4
7 | BOQ No. 4: Visibility signboard and signages | 1

## Summary
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE,ENUGU, ENUGU SOUTH LGA - ENUGU STATE
SUMMARY
S/No. | Name | No. of Units | Amount (NGN) | Total Amount (NGN)
1 | BoQ No. 1: Preliminaries
2 | BoQ No. 2: Library Building | 1 | 581850
3 | BoQ No. 3: Forensic Laboratory Building | 1 | 0
4 | BoQ No. 4: Medical Health Building | 1 | 0
5 | BOQ No.6- Visibility Signboard and signages | 1 | 0
TOTAL COST OF RECONSTRUCTION/REHABILITATION OF BUILDING FACILITIES |  |  | NGN
USD

## Preliminaries
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE, EHUGU,ENUGU SOUTH LGA -ENUGU STATE
PRELIMNARIES AND GENERAL WORKS
Item | Description | Unit | Quantity | Unit Rate (NGN) | Amount (NGN)
1 | Test and Samples of Materials | LS | 1
2 | Transportation of Major materials from source / manufacturers / dealers | LS | 1
3 | Site Clearing/Maintenance | LS | 1
4 | Setting out | LS | 1
5 | Trial Mixes and testing of reinforcement | LS | 1
6 | Progress photograph on weekly basis with site progress report on weekly | LS | 1
7 | Protection of work in all sections | LS | 1
8 | Offices - site offices for use by the contractor for the project duration including running/maintenance of the office. | LS | 1
9 | Sanitary Conveniences for Male & Female Workers | LS | 1
10 | Temporary fences/Caution Tapes, hoardings, sheds, buildings, screens and roofs | LS | 1
11 | Name boards | LS | 1
12 | Temporary Power including standby generator for general use by main contractor and subcontractors for the duration of the contract. | LS | 1
13 | Temporary Water for the works including for general use by main contractor and sub - contractors for the duration of the contract. | LS | 1
14 | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication | LS | 1
15 | Storage of materials including lock-up spaces for use by contractor and sub-contractors. | LS | 1
16 | Rubbish disposal and general cleaning | LS | 1
17 | Exterminate and prevent pests/Fumigations | LS | 1
18 | Scaffolding and requisite plants/equipment | LS | 1
19 | Watching & Lighting - Site Security including day and night security staff (If permitted to work at Night) | LS | 1
Total Prelimnaries

## Boq No.1 - Library
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE, ENUGU, ENUGU SOUTH LGA - ENUGU STATE
BOQ NO. 1: RECONSTRUCTION/REHABILITATION OF LIBRARY BUILDING
BILL OF QUANTITIES
S/N | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SCOPE OF WORK
Removal completely the roof covering and timber trusses, existing Ceiling and Floor tiles.Remove all plywood partition between the toilet and the office.Errection of blockwork partition between toilet and office. Internal and External Painting work. Total surface rewiring for electrical appliances and repiping of the reticulating pipes internal and external and replacement of the sanitary fittings inside the toilets. Provision of 5Kva Solar panel inverter to illuminate the building.
1 | DEMOLITION
1.a.1 | The waste arising from demolitions should be transported and disposed in a way to meet the guidelines of local authority, with the prior approval of Site Engineer’s representative. Sort out all Re-useable materials arising from demolition and hand over the same officially to the institution.
1.a.2 | Alterations, repairs and conservation
1.a.3 | Removal of Windows
1.a.4 | Carefully remove existing Critall hope windows 2no. windows including frame only; size 600 x 600mm high; 2No sliding windows deposit aside as directed by the engineer | no. | 2 | 7000 | 14000
1.a.5 | Removal of Doors
1.a.6 | Carefully remove all Americal Steel door complete with frame and lock sets 8no. 900 x 2100mm high; 2no. single leaf door size 750 x 2100mm high, deposit aside as directed by the engineer | no. | 10 | 7000 | 70000
1.a.7 | Removal of failed damaged roof
1.a.8 | Completely remove entire aluminium roofing sheets approximately 192m² including timber roof members and remove from site as directed by engineer. | m2 | 192 | 1050 | 201600
1.a.9 | Removal of plumbing fittings and fixtures
1.a.10 | Carefully remove existing damaged high level and low level WC 2no. including all water supply and waste disposal pipes; accessories and installations deposit aside as directed by the engineer. | no. | 2 | 2500 | 5000
1.a.11 | Removal of electrical fittings and fixtures
1.a.12 | Carefully remove all existing damaged electrical fittings and fixtures, including all distribution boards, switches, sockets, lighting fittings, and electrical wiring both supply and distribution lines; accessories and installations deposit aside as directed by the engineer | no. | 1 | 50000 | 50000
1.a.13 | Removal of Defective Plastering
1.a.14 | Hack out all defective plastering on walls externally and internally around the building and prepare surface to receive new plastering works (measured seperately); remove debris from site as directed by engineer. | Ls |  |  | 78750
1.a.15 | Treating the Cracks
1.a.16 | Hack out all cracks on walls exceeding 300mm and treat with stainless steel expanded wire mesh holding the mesh in place with copper nails to receive cement sand 1:4 rendering (measured seperately) and remove debris from site as directed by engineer. | Ls |  |  | 50000
1.a.17 | Removal of Ceremic floor Tile finish
1.a.18 | Removing; Finishes, completely hack out all cement and sand screeded finish including floor bed 50mm thick; approximately 225m² prepare surface to receive new floor finishing works (measured seperately) and remove debris from site as directed by engineer. | m2 | 225 | 500 | 112500
1.a.19 | Removal of Ceremic Wall Tile finish
1.a.20 | Removing; Finishes, completely hack out all cement and sand screeded finish including floor bed 50mm thick; approximately 350m² prepare surface to receive new floor finishing works (measured seperately) and remove debris from site as directed by engineer. | m2 | 350 |  | 0
1.a.21 | Removal of wooden partion
1.a.22 | Carefully remove wooden partioning between the office and toilet and cart away to distance as directed by the engineer. | m2 | 12 |  | 0
| Demolition and Alteration works carried to summary |  |  |  | 581850
2 | REINFORCED CONCRETE AND MASONRY WORKS
2.a.1 | Concrete
2.a.2 | Provide and Cast Reinforced Concrete Grade C25. Mix ratio 1:2:4 and minimum crushing strength after 28 days not less than 25 N/mm2. The water to cement should not be more than 55%. The price should include the cost of formwork, additives, labour and all what needs to complete the works according to specifications, drawings and the instruction of the Engineer.
2.a.3 | Concrete lintel | m3 | 1 |  | 0
2.a.4 | Reinforcing Steel
| Supply and install Reinforcing steel (high tensile) BS 4449 Grade 4No of 12mm diameter (4 Y12) in concrete lintel according to the details shown in the drawings and directions of the Engineer. | kg | 60 |  | 0
2.a.5 | Supply and install Reinforcing steel BS 4449 Gade 250 of diameter 10mm (@200 c/c) stirrups in concrete lintel according to the details shown in the drawaings and directions of the Engineer. | kg | 35 |  | 0
2.a.6 | Formwork; Provide marine plywood formwork with plain smooth finish including props and bracings to;
2.a.7 | Sides and soffit of lintels 230 x 230mm thick | m2 | 4 |  | 0
2.a.8 | Sandcrete block walling
2.a.9 | Supply and lay Precast Solid filled sandcrete blocks to BS 6073 made from natural aggregate, with compressive strength of 3.5N/mm2 and size 450mm x 230mm; in cement and sand ( 1:6 ) morta (Demarcation wall betwee office/ toilet and blocking of AC holes) | m2 | 17 |  | 0
| Reinforced Concrete and Masonary Works Carries to Summary |  |  |  | 0
3 | ROOFING
3.a.1 | 0.33 guage long span corrugated aluzinc roofing sheet in approved colour fixed to hardwood timber purlins at 900mm centres (measured separately) with two (2) corrugation side laps with screw roofing nails
3.a.2 | Roof covering | m2 | 192 |  | 0
3.a.3 | 600mm wide Ridge Cap | m | 25 |  | 0
3.a.4 | 450mm Eave Angle | m | 55 |  | 0
3.a.5 | Mastic asphalt tanking/damp proof membranes
3.a.6 | Waterproof Cement and Sand (1:3) Beds and Backings; To Receive Subsequent Finishing
3.a.7 | horizontal; 30 thick; over 300 wide; to falls and crossfalls and to slopes not exceeding 15 degrees from horizontal; screeded to receive membrane roofing | m2 | 8 |  | 0
3.a.8 | Felting
3.a.9 | Prepare,Prime and apply three Coats of polyurethane membrane 5mm 'Armorseal 250' to smoothly screeded roof slab surfaces
3.a.10 | Roof slab covering to falls and cross fall not exceeding 15 degrees from horizontal | m2 | 8 |  | 0
| Roofing carried to summary |  |  |  | 0
4.a.1 | WOOD, CARPENTARY AND JOINERY WORKS
4.a.2 | Sawn hard well seasoned and treated with anti-termite solution in;
4.a.3 | 50 x 150mm rafters | m | 182 |  | 0
4.a.4 | 50 x 150mm tie beams | m | 165 |  | 0
4.a.5 | 50 x 100mm king post/struts | m | 147 |  | 0
4.a.6 | 50 x 75mm purlins | m | 196 |  | 0
4.a.7 | Wrought Hard Wood
4.a.8 | 25mm x 300mm fascia board | m | 55 |  | 0
| Wood, Carpentary and Joinery carried to Summary |  |  |  | 0
5 | DOOR & WINDOW
5.a.1 | Supply and Installation of high quality american steel doors and windows to include cutting and pinning lugs to blockwork or concrete bedding and pointing frame in cement mortar (1:3)
5.a.2 | Single leaf hinged door size 900 x 2100mm high complete with locks | No | 8 |  | 0
5.a.3 | Single leaf hinged door size 750 x 2100mm high complete with locks | No | 2 |  | 0
5.a.4 | BURGLAR PROOF TO WINDOWS
5.a.5 | Approved pattern metal 25mm x 25mm hollow square black pipe burglar proofing to window size 600 x 600mm high | No | 2 |  | 0
| Door and Window carried to summary |  |  |  | 0
6 | FINISHES
6.a.1 | WALL (INTERNALLY AND EXTERNALLY)
6.a.2 | 12mm thick cement and sand (1:6) rendered fair and smooth on;
6.a.3 | Walls generally including narrow with not exceeding 300mm wide | m2 | 34 |  | 0
6.a.4 | Prepare and apply 5mm thick Plaster of Paris (POP) and Emulsion paint (1:5) Plain wall Floating; Finishing steel Trowelled smooth to receive painting as described to;
6.a.5 | walls surfaces; over 300mm girth; internally | m2 | 386 |  | 0
6.a.6 | Reveals of openings; internally | m2 | 15 |  | 0
6.a.7 | walls surfaces; over 300mm girth; externally | m2 | 472 |  | 0
6.a.8 | Reveals of openings; externally | m2 | 15 |  | 0
6.a.9 | Supply and fix 300mm x 150mm x 8mm thick Slip matt surfaced vitrified wall tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
6.a.10 | Wall; for toilets | m2 | 35 |  | 0
7.a.1 | FLOOR
7.a.2 | Floor Finish
7.a.3 | Supply and fix 400mm x 400mm x 8mm thick Non-Slip vitrified floor tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
7.a.4 | Floors; offices; corridors internally | m2 | 184 |  | 0
7.a.5 | Floors; steps & externally | m2 | 32 |  | 0
7.a.6 | Skirting on floors, 6mm thick 100mm high internally | m | 145 |  | 0
7.a.8 | Supply and fix 300mm x 300mm x 8mm thick Non-Slip matt surfaced vitrified floor tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
7.a.9 | Floors; for toilets | m2 | 10 |  | 0
8.a.1 | CEILING
8.a.2 | Demountable suspended ceilings
8.a.3 | Provide; mould and install Plaster of Paris Suspended Ceilings or Approved Equivalent; 600mm x 600mm x7mm Thick PlainTiles; Fixed to roof members in Accordance with Architect's details as directed by the engineer. Rates to including moulding and installtion
8.a.4 | Suspension 600 to 900 deep; on soffits of timber roof trusses internally | m2 | 95 |  | 0
8.a.5 | Ditto; cornices 600mm wide internally, entire building | m | 60 |  | 0
| Finishes carried to summary |  |  |  | 0
9 | PAINTING AND CLEAR FINISHES
9.a.1 | Painting and decorating to walls, ceilings, burglar proofing and the like shall be measured in meter square. Colour is as specified by the Engineer. Paints shall be supplied to site in sealed containers and approved by the Engineer. Site mixing shall not be permitted.The contractor's rates shall include supply of all materials, workmanship, samples, surface preparation by applying 3mm thick of plaster of paris screed on walls, protection of painted surfaces, application to all heights as required of works, and all other requirements as directed by the engineer. All paint shall be 'Berger' or approved equivalent. The price shall include all narrow widths and reveals of opening, sides of columns and window sills |  |  |  | 0
Painting to general surfaces of
9.a.2 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for wall surfaces; internally | m2 | 386 |  | 0
9.a.3 | Ditto; reveals of openings internally | m | 88 |  | 0
9.a.4 | One white Undercoat and Coloured Finishing Coat of Emulsion Paint for wall surfaces externally | m2 | 472 | 0 | 0
9.a.5 | Ditto; reveals of openings externally | m | 88 | 0 | 0
| Ditto; screen wall externally | m2 | 85 |  | 0
9.a.6 | one under coat and two finishing coat of gloss paint for metal grill and burglar proof | m2 | 20 |  | 0
9.a.7 | Demountable suspended ceilings
9.a.8 | Provide; mould and install Plaster of Paris Suspended Ceilings or Approved Equivalent; 600mm x 600mm x7mm Thick PlainTiles; Fixed to roof members in Accordance with Architect's details as directed by the engineer. Rates to including moulding and installtion
9.a.11 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for ceilings; depth of suspension 100 deep; internal | m2 | 190 |  | 0
9.a.12 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for Cornices 600mm wide | m | 60 |  | 0
| Painting and Clear Finishes carried to summary |  |  |  | 0
10 | ELECTRICAL INSTALLTIONS
10.a.1 | Supply, fix, test and commission 1 No. Three phase, wall mounted 60A 8way Distribution Board including complete 30A stablocks and spare, Earth Leakage Circuit Breakers and change over. Price includes making good all places disturbed as directed by the engineer | LS | 1 |  | 0
10.a.2 | Supply, fix, test and commision PVC insulated and seathed colour coded copper cables for voltage up to 450/750V (BS6004:2000) and 600/100V (BS 6231), for electric power, lightening and wiring of various sizes (1.5mm2 2.5mm2, 4mm2, 6mm2, 16mm2 etc) drawn into PVC conduit pipes ( BS 6346). Price shall cost of full conduiting through ceiling to all lighting points and also full conduiting through walls to all sockets, switches. | LS | 1 |  | 0
10.a.3 | Supply,install, test and commission 'AKT" or approved equivalent electrical fittings installed according to manufacturer's instructions and as directed by the engineer. All lighting shall be LED with rating of 20watt and below. Internal LED fixtures shall be flush- mounted including in corridors. External lights shall be wall mounted.
10.a.4 | 10A one gang one way switch | No | 6 |  | 0
10.a.5 | 10A two gang two way switch | No | 8 |  | 0
10.a.6 | 13 A Double switched socket outlet | No | 8 |  | 0
10.a.7 | 15 A Double switched socket outlet | No | 6 |  | 0
10.a.8 | 12watt surface or panel LED | No | 15 |  | 0
10.a.9 | 15 watt bulkhead outdoor lights | No | 8 |  | 0
10.b.1 | Supply and install 5kv off-grid solar power system
10.b.2 | Supply, assemble and install 5KVA/48V Sine-wave Inverter luminous or its equivalent | No | 1 |  | 0
10.b.3 | Supply, assemble and install 200AH/12V battery luminous or its equivalent | No | 8 |  | 0
10.b.4 | Supply, Fabricate and install Angle Iron battery rack complete with fixing accessories and scaffoldings | Set | 1 |  | 0
10.b.5 | Supply, assemble and install 330Watts/24V Polycrystalline solar panel(Poly Blue Colour) or its equivalent. | No | 16 |  | 0
10.b.6 | Supply, assemble and install power plus sme MPPT 60A/48V solar charge controller or its equivalent | No | 1 |  | 0
10.b.7 | Supply, assemble and install 16mm2 x 1core flexible cable (Nigerchin or equivalent) complete with cable lugs and accessories | m | 75 |  | 0
10.b.8 | 10mm2 x 2core flexible cable for interconnections | m | 40 |  | 0
10.b.9 | Supply, Fabricate and install Solar panel rack (2'' angle iron fabricated) complete with all civil works | No | 1 |  | 0
10.b.10 | Supply, assemble and install PV connect/disconnect/protect device complete with accessories | LS | 1
10.b.11 | supply and install trunking pipe or flexible hose to receive cables and associated works fixed to walls and or concrete. | LS | 1
10.b.12 | Supply, assemble and install earthing system with thunder Arrestor | Set | 1 |  | 0
10.b.13 | Supply and Install MCB Auntomatic Transfer Switch (ATS) (Auto Change Over or its equivalent) | No | 1 |  | 0
10.c.1 | FIRE DETECTION AND ALARM SYSTEM
10.c.2 | Supply to site install, test and commission the following items and fittings complete with all necessary accessories
10.c.3 | Addressable breaking-glass manual fire alarm initiators (call) point LEGRAND or other equal and approved type | no. | 4 |  | 0
10.c.4 | Optical smoke detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 4 |  | 0
10.c.5 | Fixed temperature heat detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 4 |  | 0
10.c.6 | 24V D.C 152mm diameter fire alarm dome shaped bells complete with micro-motor as the operating part strikers fixing screws, etc | no. | 4 |  | 0
10.c.7 | Angus brand fire distinguisher (Carbon Dioxide-CO2) | no. | 2 |  | 0
| ELECTRICAL INSTALLATION Carried to Summary |  |  |  | 0
11 | MECHANICAL INSTALLATIONS
11.a.1 | Mechanical fittings
11.a.2 | Supply , install and test Water closet (W.C.) suite in white vitreous china, comprising Squatting Type W.C. pan, high level cistern and fittings, 6.0 litres, including chrome lever and cover clip, and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Sweet Homes' or approved equivalent | No | 2 |  | 0
11.a.3 | Supply , install and test washing hand basin "sweethomes" or approved equivalent, complete with pedestal, mixers and all other acessories. | No | 2 |  | 0
11.a.4 | Supply and fix trapped floor drains; 50 nominal size; stainless steel; drawn S-trap; with domed grating; mounting in prepared openings in floor screed; pointing all round with polysulphide sealant | No | 2 |  | 0
11.a.5 | Towel Rail: Single anti-rust 900mm long towel rail fixing with galvanised steel screws to hardwood in blockwork or concrete. | No | 2 |  | 0
11.a.6 | Toilet Roll Holder: Stainless steel 305mm long,208mm width, 130mm high toilet roll holler fixing with galvinised steel screws to hardwood in blockwork or concrete. | No | 2 |  | 0
11.a.7 | Wall Mirror: 900mm x 600mm Wall Mirror Armitage shank ESCO or approved equivalent,6mmthick silver coated glasses white matt. | No | 2 |  | 0
11.b.1 | Plumbing
11.b.2 | Supply and install concealed UPVC service pipework to cold water and sanitary installations including joints and support to the running length of all WCs, wash hand basin, floor drains and showers, from water supply source. Price includes cost of providing fetching points (taps) in each toilet and office as directed by the engineer | Ls | 1 |  | 0
11.b.3 | GEE-PEE TANK
11.b.4 | Procure and install well fitted 1,000 litres Gee-Pee plastic PVC tank with inlet and outlet discharge holes and cover; connect to the building and reticulation of the pipes from the overhead Geepee water Pvc tank( rate include all associated works) | No | 1 |  | 0
| Mechanical Installation Carried to Summary |  |  |  | 0
| TOTAL AMOUNT FOR RECONSTRUCTION/REHABILITATION WORK |  |  |  | 581850

## Boq No. 2 - Forensic Laboratory
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE, ENUGU, ENUGU SOUTH LGA - ENUGU STATE
BOQ NO. 2: RECONSTRUCTION/REHABILITATION OF FORENSIC LABORATORY BUILDING
BILL OF QUANTITIES
S/N | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SCOPE OF WORK
Removal completely the existing Ceiling and Floor tiles at the commissioner's temporary office, forensic Laboratory and the corridor along the building.Remove completely all the steel panel casement windows around the building. Internal painting at the commissioner's temporary office, forensic laboratory and along the corridor of the building.External Painting to the building. Total surface rewiring for electrical appliances at the commissioner's temporary office and forensic Laboratory. Provision of 5Kva Solar panel inverter to illuminate the building.
1 | DEMOLITION
1.a.1 | The waste arising from demolitions should be transported and disposed in a way to meet the guidelines of local authority, with the prior approval of Site Engineer’s representative. Sort out all Re-useable materials arising from demolition and hand over the same officially to the institution.
1.a.2 | Alterations, repairs and conservation
1.a.3 | Removal of Windows
1.a.4 | Carefully remove existing Critall hope windows 2no. windows including frame only; size 1460 x 1200mm high; 13No sliding windows deposit aside as directed by the engineer | no. | 13 |  | 0
1.a.5 | Removal of electrical fittings and fixtures
1.a.6 | Carefully remove all existing damaged electrical fittings and fixtures, including all distribution boards, switches, sockets, lighting fittings, and electrical wiring both supply and distribution lines; accessories and installations deposit aside as directed by the engineer | no. | 1 |  | 0
1.a.7 | Treating the Cracks
1.a.8 | Hack out all cracks on walls exceeding 300mm and treat with stainless steel expanded wire mesh holding the mesh in place with copper nails to receive cement sand 1:4 rendering (measured seperately) and remove debris from site as directed by engineer. | Ls
1.a.9 | Removal of Ceremic floor Tile finish
1.a.10 | Removing; Finishes, completely hack out all cement and sand screeded finish including floor bed 50mm thick; approximately 102m² prepare surface to receive new floor finishing works (measured seperately) and remove debris from site as directed by engineer. | m2 | 102 |  | 0
1.a.11 | Removal of wooden partion
1.a.12 | Carefully remove wooden partioning within the forensic laboratory and cart away to distance as directed by the engineer. | m2 | 9 |  | 0
| Demolition and Alteration works carried to summary |  |  |  | 0
2 | REINFORCED CONCRETE AND MASONRY WORKS
2.a.1 | Concrete
2.a.2 | Provide and Cast Reinforced Concrete Grade C25. Mix ratio 1:2:4 and minimum crushing strength after 28 days not less than 25 N/mm2. The water to cement should not be more than 55%. The price should include the cost of formwork, additives, labour and all what needs to complete the works according to specifications, drawings and the instruction of the Engineer.
2.a.3 | Concrete lintel | m3 | 1 |  | 0
2.a.4 | Reinforcing Steel
| Supply and install Reinforcing steel (high tensile) BS 4449 Grade 4No of 12mm diameter (4 Y12) in concrete lintel according to the details shown in the drawings and directions of the Engineer. | kg | 60 |  | 0
2.a.5 | Supply and install Reinforcing steel BS 4449 Gade 250 of diameter 10mm (@200 c/c) stirrups in concrete lintel according to the details shown in the drawaings and directions of the Engineer. | kg | 35
2.a.6 | Formwork; Provide marine plywood formwork with plain smooth finish including props and bracings to;
2.a.7 | Sides and soffit of lintels 230 x 230mm thick | m2 | 4 |  | 0
2.a.8 | Sandcrete block walling
2.a.9 | Supply and lay Precast Solid filled sandcrete blocks to BS 6073 made from natural aggregate, with compressive strength of 3.5N/mm2 and size 450mm x 230mm; in cement and sand ( 1:6 ) morta (Demarcation wall inside forensic laboratory and blocking of AC holes) | m2 | 15 |  | 0
| Reinforced Concrete and Masonary Works Carries to Summary |  |  |  | 0
3 | DOOR & WINDOW
3.a.1 | Supply and Installation of high quality american steel doors and windows to include cutting and pinning lugs to blockwork or concrete bedding and pointing frame in cement mortar (1:3)
3.a.2 | Single leaf hinged door size 900 x 2100mm high complete with locks | No | 3 |  | 0
3.a.3 | WINDOWS
3.a.4 | Supply and Fix Powder coated Aluminium profile side hung slinding opening window and window frame, "Tower" grade or equivalent; complete with 6mm thick glazing, ironmongery; sliding mosquito netting , neoprenegasket system and all necessary fittings and accessories; including lugging, pinning and pointing in lugs to blockwork as specifiied in the schedule on the drawings and as directed by the engineer. Price includes preparation of window openings befeore installation
3.a.5 | Window panel overall size 1460mm x 1200mm high | no. | 13 |  | 0
| Door and Window carried to summary |  |  |  | 0
4 | FINISHES
4.a.1 | WALL (INTERNALLY AND EXTERNALLY)
4.a.2 | 12mm thick cement and sand (1:6) rendered fair and smooth on;
4.a.3 | Walls generally including narrow with not exceeding 300mm wide | m2 | 30 |  | 0
4.a.4 | Prepare and apply 5mm thick Plaster of Paris (POP) and Emulsion paint (1:5) Plain wall Floating; Finishing steel Trowelled smooth to receive painting as described to;
4.a.5 | walls surfaces; over 300mm girth; internally | m2 | 345 |  | 0
4.a.6 | Reveals of openings; internally | m2 | 10 |  | 0
4.a.7 | walls surfaces; over 300mm girth; externally | m2 | 250 |  | 0
4.a.8 | Reveals of openings; external | m2 | 15 |  | 0
5.a.1 | FLOOR
5.a.2 | Floor Finish
5.a.3 | Supply and fix 400mm x 400mm x 8mm thick Non-Slip vitrified floor tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
5.a.4 | Floors; offices; corridors internally | m2 | 102 |  | 0
5.a.5 | Floors; steps & externally | m2 | 7 |  | 0
5.a.6 | Skirting on floors, 6mm thick 100mm high internally | m | 70 |  | 0
6.a.1 | CEILING
6.a.2 | Demountable suspended ceilings
6.a.3 | Provide; mould and install Plaster of Paris Suspended Ceilings or Approved Equivalent; 600mm x 600mm x7mm Thick PlainTiles; Fixed to roof members in Accordance with Architect's details as directed by the engineer. Rates to including moulding and installtion
6.a.4 | Suspension 600 to 900 deep; on soffits of timber roof trusses internally; temporary office of the commissioner | m2 | 28 |  | 0
6.a.5 | Ditto; cornices 600mm wide internally, entire building | m | 21 |  | 0
6.a.6 | Supply and fix approved pattern PVC Ceiling material with linning nail to ceiling noggings.
6.a.7 | 300mm wide; internally corridor | m2 | 60 |  | 0
6.a.8 | Ditto; internally forensic laboratory | m2 | 28 |  | 0
| Finishes carried to summary |  |  |  | 0
7 | PAINTING AND CLEAR FINISHES
7.a.1 | Painting and decorating to walls, ceilings, burglar proofing and the like shall be measured in meter square. Colour is as specified by the Engineer. Paints shall be supplied to site in sealed containers and approved by the Engineer. Site mixing shall not be permitted.The contractor's rates shall include supply of all materials, workmanship, samples, surface preparation by applying 3mm thick of plaster of paris screed on walls, protection of painted surfaces, application to all heights as required of works, and all other requirements as directed by the engineer. All paint shall be 'Berger' or approved equivalent. The price shall include all narrow widths and reveals of opening, sides of columns and window sills |  |  |  | 0
7.a.2 | Painting to general surfaces of
7.a.3 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for wall surfaces; internally | m2 | 345 |  | 0
7.a.4 | Ditto; reveals of openings internally | m | 10 |  | 0
7.a.5 | One white Undercoat and Coloured Finishing Coat of Emulsion Paint for wall surfaces externally | m2 | 250 | 0 | 0
7.a.6 | Ditto; reveals of openings externally | m | 15 | 0 | 0
7.a.7 | one under coat and two finishing coat of gloss paint for metal grill and burglar proof | m2 | 15 |  | 0
7.a.8 | Demountable suspended ceilings
7.a.9 | Provide; mould and install Plaster of Paris Suspended Ceilings or Approved Equivalent; 600mm x 600mm x7mm Thick PlainTiles; Fixed to roof members in Accordance with Architect's details as directed by the engineer. Rates to including moulding and installtion
7.a.10 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for ceilings; depth of suspension 100 deep; internal | m2 | 28 |  | 0
7.a.11 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for Cornices 600mm wide | m | 21 |  | 0
| Painting and Decorating carried to summary |  |  |  | 0
8 | ELECTRICAL INSTALLTIONS
8.a.1 | Supply,install, test and commission 'AKT" or approved equivalent electrical fittings installed according to manufacturer's instructions and as directed by the engineer. All lighting shall be LED with rating of 20watt and below. Internal LED fixtures shall be flush- mounted including in corridors. External lights shall be wall mounted.
8.a.2 | 10A one gang one way switch | No | 3 |  | 0
8.a.3 | 10A two gang two way switch | No | 3 |  | 0
8.a.4 | 13 A Double switched socket outlet | No | 8 |  | 0
8.a.5 | 15 A Double switched socket outlet | No | 6 |  | 0
8.a.6 | 12watt surface or panel LED | No | 8 |  | 0
8.a.7 | 15 watt bulkhead outdoor lights | No | 6 |  | 0
8.a.8 | "SMC" or approved equivalent, 16 inch, 160 V, 35, 3-Leaf ceiling fan complete with 5 speeds regulator | No | 1 |  | 0
8.b.1 | Supply and install 5kv off-grid solar power system
8.b.2 | Supply, assemble and install 5KVA/48V Sine-wave Inverter luminous or its equivalent | No | 1 |  | 0
8.b.3 | Supply, assemble and install 200AH/12V battery luminous or its equivalent | No | 8 |  | 0
8.b.4 | Supply, Fabricate and install Angle Iron battery rack complete with fixing accessories and scaffoldings | Set | 1 |  | 0
8.b.5 | Supply, assemble and install 330Watts/24V Polycrystalline solar panel(Poly Blue Colour) or its equivalent. | No | 16 |  | 0
8.b.6 | Supply, assemble and install power plus sme MPPT 60A/48V solar charge controller or its equivalent | No | 1 |  | 0
8.b.7 | Supply, assemble and install 16mm2 x 1core flexible cable (Nigerchin or equivalent) complete with cable lugs and accessories | m | 75 |  | 0
8.b.8 | 10mm2 x 2core flexible cable for interconnections | m | 40 |  | 0
8.b.9 | Supply, Fabricate and install Solar panel rack (2'' angle iron fabricated) complete with all civil works | No | 1 |  | 0
8.b.10 | Supply, assemble and install PV connect/disconnect/protect device complete with accessories | LS | 1
8.b.11 | supply and install trunking pipe or flexible hose to receive cables and associated works fixed to walls and or concrete. | LS | 1
8.b.12 | Supply, assemble and install earthing system with thunder Arrestor | Set | 1 |  | 0
8.b.13 | Supply and Install MCB Auntomatic Transfer Switch (ATS) (Auto Change Over or its equivalent) | No | 1 |  | 0
8.c.1 | FIRE DETECTION AND ALARM SYSTEM
8.c.2 | Supply to site install, test and commission the following items and fittings complete with all necessary accessories
8.c.3 | Addressable breaking-glass manual fire alarm initiators (call) point LEGRAND or other equal and approved type | no. | 4 |  | 0
8.c.4 | Optical smoke detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 4 |  | 0
8.c.5 | Fixed temperature heat detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 4 |  | 0
8.c.6 | 24V D.C 152mm diameter fire alarm dome shaped bells complete with micro-motor as the operating part strikers fixing screws, etc | no. | 4 |  | 0
8.c.7 | Angus brand fire distinguisher (Carbon Dioxide-CO2) | no. | 1 |  | 0
| ELECTRICAL INSTALLATION Carried to Summary |  |  |  | 0
| TOTAL AMOUNT FOR RECONSTRUCTION/REHABILITATION WORK |  |  |  | 0

## Boq No. 3 - Medical Health
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE, ENUGU, ENUGU SOUTH LGA - ENUGU STATE
BOQ NO. 3: RECONSTRUCTION/EXPANSION OF MEDICAL HEALTH BUILDING
BILL OF QUANTITIES
S/N | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
SCOPE OF WORK
Extension of the existing Medical Health Facility by creating additional 3 wards and 2 toilets, electrifying them and reticulating the same with existing structure. Also provision of structural steel overhead tank with 1No 2,000 litres water storage Geepee tank. Provision of 5Kva Solar Panel inverter to illuminate the building.
1 | DEMOLITION
1.a.1 | The waste arising from demolitions should be transported and disposed in a way to meet the guidelines of local authority, with the prior approval of Site Engineer’s representative. Sort out all Re-useable materials arising from demolition and hand over the same officially to the institution.
1.a.2 | Alterations, repairs and conservation
1.a.3 | Door opening on block wall
1.a.4 | Carefully break and provide opening on the existing block wall to accommodate 1No 900mm x 2100mm Americal steel door including frame; deposit the rubbles aside as directed by the engineer | no. | 1 |  | 0
1.a.17 | Removal of Ceremic floor Tile finish
1.a.18 | Removing; Finishes, completely hack out all cement and sand screeded finish including floor bed 50mm thick; approximately 60.00m length and 0.23m wide prepare surface to receive new block works (measured seperately) and remove debris from site as directed by engineer. | m | 60 |  | 0
| Demolition and Alteration works carried to summary |  |  |  | 0
2 | REINFORCED CONCRETE AND MASONRY WORKS
2.a.1 | Concrete
2.a.2 | Provide and Cast Reinforced Concrete Grade C25. Mix ratio 1:2:4 and minimum crushing strength after 28 days not less than 25 N/mm2. The water to cement should not be more than 55%. The price should include the cost of formwork, additives, labour and all what needs to complete the works according to specifications, drawings and the instruction of the Engineer.
2.a.3 | Concrete lintel | m3 | 3 |  | 0
2.a.4 | Reinforcing Steel
| Supply and install Reinforcing steel (high tensile) BS 4449 Grade 4No of 12mm diameter (4 Y12) in concrete lintel according to the details shown in the drawings and directions of the Engineer. | kg | 100 |  | 0
2.a.5 | Supply and install Reinforcing steel BS 4449 Gade 250 of diameter 10mm (@200 c/c) stirrups in concrete lintel according to the details shown in the drawaings and directions of the Engineer. | kg | 50 |  | 0
Formwork; Provide marine plywood formwork with plain smooth finish including props and bracings to;
| Sides and soffit of lintels 230 x 230mm thick | m2 | 29 |  | 0
2.a.6 | Sandcrete block walling
2.a.7 | Supply and lay Precast Solid filled sandcrete blocks to BS 6073 made from natural aggregate, with compressive strength of 3.5N/mm2 and size 450mm x 230mm; in cement and sand ( 1:6 ) morta. | m2 | 90 |  | 0
| Reinforced Concrete and Masonary Works Carries to Summary |  |  |  | 0
3 | DOOR & WINDOW
3.a.1 | Supply and Installation of high quality american steel doors and windows to include cutting and pinning lugs to blockwork or concrete bedding and pointing frame in cement mortar (1:3)
3.a.2 | Single leaf hinged door size 900 x 2100mm high complete with locks | No | 4 |  | 0
3.a.3 | Single leaf hinged door size 750 x 2100mm high complete with locks | No | 2 |  | 0
3.a.4 | BURGLAR PROOF TO WINDOWS
3.a.5 | Approved pattern metal 25mm x 25mm hollow square black pipe burglar proofing to window size 600 x 600mm high | No | 2 |  | 0
| Door and Window carried to summary |  |  |  | 0
4 | FINISHES
4.a.1 | WALL (INTERNALLY AND EXTERNALLY)
4.a.2 | 12mm thick cement and sand (1:6) rendered fair and smooth on;
4.a.3 | Walls generally including narrow with not exceeding 300mm wide | m2 | 132 |  | 0
4.a.4 | Prepare and apply 5mm thick Plaster of Paris (POP) and Emulsion paint (1:5) Plain wall Floating; Finishing steel Trowelled smooth to receive painting as described to;
4.a.5 | walls surfaces; over 300mm girth; internally | m2 | 132 |  | 0
4.a.6 | Reveals of openings; internally | m2 | 4 |  | 0
4.a.7 | Supply and fix 300mm x 150mm x 8mm thick Slip matt surfaced vitrified wall tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
4.a.8 | Wall; for toilets | m2 | 35 |  | 0
5.a.1 | FLOOR
5.a.2 | Floor Finish
5.a.3 | Supply and fix 400mm x 400mm x 8mm thick Non-Slip vitrified floor tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
5.a.4 | Floors; offices; corridors internally | m2 | 20 |  | 0
5.a.5 | Skirting on floors, 6mm thick 100mm high internally | m | 70 |  | 0
5.a.6 | Skirting on floors & steps, 6mm thick 100mm high externally
5.a.7 | Supply and fix 300mm x 300mm x 8mm thick Non-Slip matt surfaced vitrified floor tiles "Royal" or approved equal equivalent, including fixing with Adhesive; Straight Butt Joints; Flush Pointing with White Grout.The color, shall be approved by the Engineer.
5.a.8 | Floors; for toilets | m2 | 5 |  | 0
| Finishes carried to summary |  |  |  | 0
6 | PAINTING AND CLEAR FINISHES
6.a.1 | Painting and decorating to walls, ceilings, burglar proofing and the like shall be measured in meter square. Colour is as specified by the Engineer. Paints shall be supplied to site in sealed containers and approved by the Engineer. Site mixing shall not be permitted.The contractor's rates shall include supply of all materials, workmanship, samples, surface preparation by applying 3mm thick of plaster of paris screed on walls, protection of painted surfaces, application to all heights as required of works, and all other requirements as directed by the engineer. All paint shall be 'Berger' or approved equivalent. The price shall include all narrow widths and reveals of opening, sides of columns and window sills |  |  |  | 0
Painting to general surfaces of
6.a.2 | One white Undercoat and Two Coloured Finishing Coats of emulsion Paint for wall surfaces; internally | m2 | 132 |  | 0
6.a.3 | Ditto; reveals of openings internally | m | 4 |  | 0
6.a.4 | one under coat and two finishing coat of gloss paint for metal grill and burglar proof | m2 | 4 |  | 0
| Painting and Decorating carried to summary |  |  |  | 0
7 | ELECTRICAL INSTALLTIONS
7.a.1 | Supply,install, test and commission 'AKT" or approved equivalent electrical fittings installed according to manufacturer's instructions and as directed by the engineer. All lighting shall be LED with rating of 20watt and below. Internal LED fixtures shall be flush- mounted including in corridors. External lights shall be wall mounted.
7.a.2 | 10A one gang one way switch | No | 6 |  | 0
7.a.3 | 10A two gang two way switch | No | 3 |  | 0
7.a.4 | 13 A Double switched socket outlet | No | 6 |  | 0
7.a.5 | 15 A Double switched socket outlet | No | 6 |  | 0
7.a.6 | 12watt surface or panel LED | No | 8 |  | 0
7.a.7 | "SMC" or approved equivalent, 16 inch, 160 V, 35, 3-Leaf ceiling fan complete with 5 speeds regulator | No | 3 |  | 0
7.b.1 | Supply and install 5kv off-grid solar power system
7.b.2 | Supply, assemble and install 5KVA/48V Sine-wave Inverter luminous or its equivalent | No | 1 |  | 0
7.b.3 | Supply, assemble and install 200AH/12V battery luminous or its equivalent | No | 8 |  | 0
7.b.4 | Supply, Fabricate and install Angle Iron battery rack complete with fixing accessories and scaffoldings | Set | 1 |  | 0
7.b.5 | Supply, assemble and install 330Watts/24V Polycrystalline solar panel(Poly Blue Colour) or its equivalent. | No | 16 |  | 0
7.b.6 | Supply, assemble and install power plus sme MPPT 60A/48V solar charge controller or its equivalent | No | 1 |  | 0
7.b.7 | Supply, assemble and install 16mm2 x 1core flexible cable (Nigerchin or equivalent) complete with cable lugs and accessories | m | 75 |  | 0
7.b.8 | 10mm2 x 2core flexible cable for interconnections | m | 40 |  | 0
7.b.9 | Supply, Fabricate and install Solar panel rack (2'' angle iron fabricated) complete with all civil works | No | 1 |  | 0
7.b.10 | Supply, assemble and install PV connect/disconnect/protect device complete with accessories | LS | 1
7.b.11 | supply and install trunking pipe or flexible hose to receive cables and associated works fixed to walls and or concrete. | LS | 1
7.b.12 | Supply, assemble and install earthing system with thunder Arrestor | Set | 1 |  | 0
7.b.13 | Supply and Install MCB Auntomatic Transfer Switch (ATS) (Auto Change Over or its equivalent) | No | 1 |  | 0
7.b.14 | FIRE DETECTION AND ALARM SYSTEM
7.b.15 | Supply to site install, test and commission the following items and fittings complete with all necessary accessories
7.b.16 | Addressable breaking-glass manual fire alarm initiators (call) point LEGRAND or other equal and approved type | no. | 6 |  | 0
7.b.17 | Optical smoke detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 6 |  | 0
7.b.18 | Fixed temperature heat detectors complete with base, red LED indicator on grill fixed screws, etc. | no. | 6 |  | 0
7.b.19 | 24V D.C 152mm diameter fire alarm dome shaped bells complete with micro-motor as the operating part strikers fixing screws, etc | no. | 6 |  | 0
7.b.20 | Angus brand fire distinguisher (Carbon Dioxide-CO2) | no. | 1 |  | 0
| ELECTRICAL INSTALLATION Carried to Summary |  |  |  | 0
8 | MECHANICAL INSTALLATIONS
8.a.1 | Mechanical fittings
8.a.2 | Supply , install and test Water closet (W.C.) suite in white vitreous china, comprising Squatting Type W.C. pan, high level cistern and fittings, 6.0 litres, including chrome lever and cover clip, and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Sweet Homes' or approved equivalent | No | 2 |  | 0
8.a.3 | Supply , install and test washing hand basin "sweethomes" or approved equivalent, complete with pedestal, mixers and all other acessories. | No | 2 |  | 0
8.a.4 | Supply and fix trapped floor drains; 50 nominal size; stainless steel; drawn S-trap; with domed grating; mounting in prepared openings in floor screed; pointing all round with polysulphide sealant | No | 2 |  | 0
8.a.5 | Towel Rail: Single anti-rust 900mm long towel rail fixing with galvanised steel screws to hardwood in blockwork or concrete. | No | 2 |  | 0
8.a.6 | Toilet Roll Holder: Stainless steel 305mm long,208mm width, 130mm high toilet roll holler fixing with galvinised steel screws to hardwood in blockwork or concrete. | No | 2 |  | 0
8.a.7 | Wall Mirror: 900mm x 600mm Wall Mirror Armitage shank ESCO or approved equivalent,6mmthick silver coated glasses white matt. | No | 2 |  | 0
8.a.8 | Plumbing
8.a.9 | Supply and install concealed UPVC service pipework to cold water and sanitary installations including joints and support to the running length of all WCs, wash hand basin, floor drains and showers, from water supply source. Price includes cost of providing fetching points (taps) in each toilet and office as directed by the engineer | Ls | 1 |  | 0
8.a.10 | GEE-PEE TANK
8.a.11 | Procure and install well fitted 2,000 litres Gee-Pee plastic PVC tank with inlet and outlet discharge holes and cover; connect to the building and reticulation of the pipes( rate include excavation, back filling, Concrete platform for Geepee Plastic Pvc tank and all associated works) | No | 1 |  | 0
| Mechanical Installation Carried to Summary |  |  |  | 0
| TOTAL AMOUNT FOR RECONSTRUCTION/EXPANSION WORK |  |  |  | 0

## BOQ No. 4 - Visibiliies Sinages
RECONSTRUCTION/REHABILITATION OF POLICE DETECTIVE COLLEGE, ENUGU,ENUGU SOUTH LGA -ENUGU STATE
VISIBILITY SIGNBOARDS AND SIGNAGES
BILL OF QUANTITIES No. 4
Item | Description | Unit | Qty | Unit Rate (NGN | Amount (NGN)
1 | VISIBILITY SIGNBOARDS AND SIGNAGES
1.a | Fabricate, assemble and instal approved pattern visibility signboard constructed with 2mm steel plate overall size 1800mm x 1200mm high framed with 25mm thick square pipe supported with 2 No. 50mm thick round pipe (filled solid), 2100mm long complete with and including white colour gloss painting, sign writing inscription on both faces of the steel plates, installed in locations approved by the supervising engineer. Price includes all civil works and making good all works disturbed. | No. | 3 |  | 0
1.b | Inscribe UNDP logo and other information on painted buildings as directed by the UNDP Engineer | LS | 1 |  | 0
| Total Visibility Signboards and Signages |  |  |  | 0